## nyscc_hinckleyres_2010
Date | Hinckley Reservoir Elevation | Hinckley Reservoir Comparison to Elevation Trigger1 | Hinckley Reservoir Comparison to Normal Elevation2 | Hinckley Reservoir Discharge | 1920 Operating Diagram Release4 | Hinckley Reservoir Inflow | Hinckley Reservoir 30-Day Running Average Inflow5 | Wilmurt Streamgage Flow | Mohawk Valley Water Authority Withdrawal | Delta Reservoir Elevation | Delta Reservoir Discharge | Nine Mile Feeder Discharge
| (ft) | (ft) | (ft) | (cfs)3 | (cfs) | (cfs) | (cfs) | (cfs) | (cfs) | (ft) | (cfs) | (cfs)
2010-12-31 | 1218.15 | 20.15 | 5.65 | 1030 | 1030 | 356 | 1019 | 262 | 28.04 | #N/A | #N/A | #N/A
2010-12-30 | 1218.72 | 20.72 | 6.32 | 1073 | 1070 | 449 | 1106 | 266 | 28.61 | 535.8 | 220 | 0
2010-12-29 | 1219.25 | 21.25 | 6.75 | 1074 | 1070 | 431 | 1123 | 271 | 28.65 | 535.8 | 223 | 0
2010-12-28 | 1219.79 | 21.79 | 7.09 | 1068 | 1070 | 370 | 1139 | 338 | 24.62 | 535.9 | 223 | 0
2010-12-27 | 1220.37 | 22.37 | 7.37 | 1074 | 1070 | 417 | 1159 | 283 | 27.42 | 536 | 223 | 0
2010-12-26 | 1220.9 | 22.9 | 7.8 | 1073 | 1070 | 485 | 1187 | 293 | 28.29 | #N/A | #N/A | #N/A
2010-12-25 | 1221.38 | 23.38 | 8.08 | 1065 | 1070 | 497 | 1214 | 298 | 28.35 | #N/A | #N/A | #N/A
2010-12-24 | 1221.84 | 23.84 | 8.34 | 1070 | 1070 | 547 | 1244 | 308 | 28.51 | #N/A | #N/A | #N/A
2010-12-23 | 1222.26 | 24.26 | 8.76 | 1052 | 1050 | 576 | 1295 | 333 | 29.62 | 535.95 | 240 | 0
2010-12-22 | 1222.64 | 24.64 | 9.04 | 1054 | 1050 | 575 | 1339 | 355 | 29.87 | 535.95 | 240 | 0
2010-12-21 | 1223.02 | 25.02 | 9.52 | 1051 | 1050 | 569 | 1347 | 376 | 29.75 | 536.05 | 243 | 0
2010-12-20 | 1223.41 | 25.41 | 9.81 | 1191 | 1050 | 592 | 1356 | 383 | 29.81 | 536.25 | 353 | 0
2010-12-19 | 1223.73 | 25.73 | 9.83 | 1055 | 1050 | 619 | 1370 | 394 | 29.85 | #N/A | #N/A | #N/A
2010-12-18 | 1224.07 | 26.07 | 10.07 | 1053 | 1050 | 798 | 1392 | 497 | 29.64 | #N/A | #N/A | #N/A
2010-12-17 | 1224.27 | 26.27 | 10.07 | 1054 | 1050 | 824 | 1420 | 556 | 29.6 | 537.55 | 356 | 0
2010-12-16 | 1224.46 | 26.46 | 10.16 | 1049 | 1040 | 951 | 1424 | 635 | 29.52 | 536.55 | 356 | 0
2010-12-15 | 1224.55 | 26.55 | 10.15 | 1047 | 1040 | 1041 | 1411 | 755 | 29.56 | 536.6 | 356 | 0
2010-12-14 | 1224.57 | 26.57 | 10.07 | 1047 | 1040 | 1608 | 1396 | 1125 | 29.65 | 536.7 | 359 | 0
2010-12-13 | 1224.17 | 26.17 | 9.67 | 1044 | 1040 | 1888 | 1360 | 1443 | 29.44 | 536.45 | 376 | 0
2010-12-12 | 1223.55 | 25.55 | 9.25 | 1038 | 1040 | 708 | 1317 | 472 | 29.14 | #N/A | #N/A | #N/A
2010-12-11 | 1223.82 | 25.82 | 9.72 | 1047 | 1040 | 676 | 1314 | 431 | 28.8 | #N/A | #N/A | #N/A
2010-12-10 | 1224.11 | 26.11 | 10.11 | 1043 | 1040 | 564 | 1314 | 388 | 28.22 | 537.5 | 949 | 0
2010-12-09 | 1224.48 | 26.48 | 10.48 | 1006 | 1000 | 604 | 1319 | 406 | 27.66 | 538.3 | 965 | 0
2010-12-08 | 1224.79 | 26.79 | 10.89 | 1005 | 1000 | 760 | 1324 | 500 | 27.8 | #N/A | #N/A | #N/A
2010-12-07 | 1224.99 | 26.99 | 11.19 | 1034 | 1000 | 802 | 1324 | 589 | 27.99 | 539.7 | 954 | 0
2010-12-06 | 1225.17 | 27.17 | 11.47 | 1222 | 1000 | 895 | 1327 | 708 | 27.58 | 540.2 | 486 | 0
2010-12-05 | 1225.43 | 27.43 | 11.83 | 1588 | 1000 | 1192 | 1333 | 922 | 28.03 | #N/A | #N/A | #N/A
2010-12-04 | 1225.73 | 27.73 | 11.93 | 2316 | 1000 | 1619 | 1324 | 1352 | 28.09 | #N/A | #N/A | #N/A
2010-12-03 | 1226.25 | 28.25 | 12.25 | 3372 | 1000 | 3025 | 1296 | 2256 | 27.58 | 540.15 | 497 | 0
The Jarvis turbine discharge was reduced from full output (about 1850 cfs) back down to the Operating Diagram discharge of 1000 cfs at 6:12 PM as directed by the Canal Corporation because the flood risk declined.
2010-12-02 | 1226.51 | 28.51 | 12.41 | 3864 | 1000 | 6136 | 1219 | 4502 | 28.66 | 539.7 | 520 | 0
2010-12-01 | 1224.88 | 26.88 | 10.88 | 1573 | 1000 | 2977 | 1041 | 2770 | 28.58 | 536.5 | 505 | 0
The Jarvis turbine release was increased to its capability (1850 cfs) at 6:30 pm to help reduce the flood potential.
2010-11-30 | 1223.85 | 25.85 | 10.05 | 1198 | 1000 | 965 | 969 | 552 | 28.9 | 535.6 | 465 | 0
2010-11-29 | 1224.04 | 26.04 | 10.44 | 1003 | 1000 | 892 | 967 | 593 | 29.26 | 535.65 | 472 | 0
2010-11-28 | 1224.14 | 26.14 | 10.74 | 1001 | 1000 | 982 | 974 | 638 | 28.09 | #N/A | #N/A | #N/A
2010-11-27 | 1224.17 | 26.17 | 11.07 | 1003 | 1000 | 1260 | 984 | 840 | 28.89 | #N/A | #N/A | #N/A
2010-11-26 | 1223.99 | 25.99 | 10.99 | 1004 | 1000 | 1300 | 994 | 909 | 28.72 | 537.2 | 970 | 0
2010-11-25 | 1223.79 | 25.79 | 10.99 | 995 | 990 | 1381 | 1013 | 1006 | 28.72 | #N/A | #N/A | #N/A
2010-11-24 | 1223.51 | 25.51 | 10.81 | 996 | 990 | 2086 | 1005 | 1551 | 29.01 | 538.2 | 970 | 0
2010-11-23 | 1222.7 | 24.7 | 10 | 991 | 990 | 1889 | 966 | 1559 | 28.77 | 537.65 | 986 | 0
2010-11-22 | 1222.03 | 24.03 | 9.53 | 995 | 990 | 826 | 934 | 579 | 28.49 | 537.35 | 938 | 0
2010-11-21 | 1222.17 | 24.17 | 9.87 | 988 | 990 | 831 | 938 | #N/A | 28.76 | #N/A | #N/A | #N/A
2010-11-20 | 1222.31 | 24.31 | 10.31 | 994 | 990 | 1015 | 943 | #N/A | 28.74 | #N/A | #N/A | #N/A
2010-11-19 | 1222.31 | 24.31 | 10.41 | 998 | 990 | 1272 | 937 | #N/A | 28.63 | #N/A | #N/A | #N/A
2010-11-18 | 1222.12 | 24.12 | 10.32 | 1009 | 1000 | 1635 | 918 | #N/A | 28.67 | #N/A | #N/A | #N/A
2010-11-17 | 1221.65 | 23.65 | 9.85 | 1006 | 1000 | 952 | 890 | #N/A | 28.86 | #N/A | #N/A | #N/A
2010-11-16 | 1221.7 | 23.7 | 10.1 | 994 | 1000 | 562 | 889 | 341 | 28.64 | 540.25 | 965 | 0
2010-11-15 | 1222.06 | 24.06 | 10.56 | 1001 | 1000 | 604 | 912 | 344 | 29.17 | 541 | 970 | 0
2010-11-14 | 1222.38 | 24.38 | 10.88 | 1004 | 1000 | 527 | 941 | 356 | 28.7 | #N/A | #N/A | #N/A
2010-11-13 | 1222.76 | 24.76 | 11.16 | 1004 | 1000 | 575 | 950 | 376 | 28.74 | #N/A | #N/A | #N/A
2010-11-12 | 1223.1 | 25.1 | 11.6 | 1007 | 1000 | 627 | 952 | 403 | 28.79 | 543.25 | 986 | 0
2010-11-11 | 1223.41 | 25.41 | 12.01 | 1007 | 1000 | 677 | 953 | 438 | 28.5 | #N/A | #N/A | #N/A
2010-11-10 | 1223.67 | 25.67 | 12.37 | 1004 | 1000 | 725 | 954 | 474 | 28.6 | 544.6 | 996 | 0
2010-11-09 | 1223.89 | 25.89 | 12.79 | 1002 | 1000 | 748 | 955 | 496 | 28.57 | 545.25 | 1000 | 0
2010-11-08 | 1224.1 | 26.1 | 13.4 | 1000 | 1000 | 771 | 961 | 507 | 28.88 | 545.9 | 1010 | 0
2010-11-07 | 1224.28 | 26.28 | 13.48 | 1006 | 1000 | 888 | 989 | 575 | 28.8 | #N/A | #N/A | #N/A
2010-11-06 | 1224.39 | 26.39 | 13.79 | 1004 | 1000 | 1051 | 1057 | 674 | 28.64 | #N/A | #N/A | #N/A
2010-11-05 | 1224.37 | 26.37 | 13.87 | 992 | 1000 | 947 | 1139 | 656 | 28.94 | 547.5 | 1020 | 18
2010-11-04 | 1224.42 | 26.42 | 13.92 | 981 | 980 | 765 | 1158 | 464 | 29.03 | 548.05 | 1020 | 18
2010-11-03 | 1224.6 | 26.6 | 14.3 | 991 | 980 | 720 | 1172 | 482 | 28.86 | 548.55 | 399 | 18
2010-11-02 | 1224.81 | 26.81 | 14.41 | 985 | 980 | 807 | 1191 | 541 | 29.4 | 548.65 | 409 | 18
2010-11-01 | 1224.96 | 26.96 | 14.56 | 993 | 980 | 801 | 1251 | 620 | 28.78 | 548.7 | 409 | 18
2010-10-31 | 1225.11 | 27.11 | 14.61 | 1078 | 980 | 916 | 1433 | 726 | 28.33 | #N/A | #N/A | #N/A
2010-10-30 | 1225.25 | 27.25 | 14.65 | 1229 | 980 | 1093 | 1802 | 867 | 29.68 | #N/A | #N/A | #N/A
2010-10-29 | 1225.37 | 27.37 | 14.67 | 1366 | 980 | 1271 | 1830 | 1014 | 30.23 | 548.65 | 413 | 18
2010-10-28 | 1225.46 | 27.46 | 14.66 | 1370 | 940 | 1583 | 1818 | 1379 | 30.48 | 548.6 | 416 | 18
2010-10-27 | 1225.32 | 27.32 | 14.62 | 997 | 940 | 1861 | 1780 | 1501 | 30.52 | 548.3 | 447 | 18
2010-10-26 | 1224.7 | 26.7 | 14.1 | 948 | 940 | 1145 | 1727 | 880 | 30.07 | 548 | 366 | 18
2010-10-25 | 1224.58 | 26.58 | 13.98 | 944 | 940 | 903 | 1697 | 681 | 29.83 | 547.9 | 260 | 18
2010-10-24 | 1224.63 | 26.63 | 14.13 | 946 | 940 | 931 | 1674 | 629 | 29.6 | #N/A | #N/A | #N/A
2010-10-23 | 1224.66 | 26.66 | 14.16 | 944 | 940 | 956 | 1652 | 657 | 29.21 | #N/A | #N/A | #N/A
2010-10-22 | 1224.67 | 26.67 | 14.17 | 952 | 940 | 990 | 1629 | 765 | 28.64 | 547.75 | 246 | 18
2010-10-21 | 1224.66 | 26.66 | 14.26 | 917 | 910 | 836 | 1606 | 591 | 27.76 | 547.6 | 240 | 18
2010-10-20 | 1224.73 | 26.73 | 14.53 | 911 | 910 | 697 | 1589 | 566 | 27.45 | 547.6 | 240 | 18
2010-10-19 | 1224.91 | 26.91 | 14.81 | 910 | 910 | 788 | 1579 | 677 | 27.29 | 547.6 | 240 | 18
2010-10-18 | 1225.02 | 27.02 | 15.02 | 920 | 910 | 905 | 1570 | 869 | 27.46 | 547.6 | 275 | 18
2010-10-17 | 1225.05 | 27.05 | 15.25 | 910 | 910 | 1281 | 1565 | 1152 | 27.19 | #N/A | #N/A | #N/A
2010-10-16 | 1224.79 | 26.79 | 14.99 | 919 | 910 | 1473 | 1548 | 1241 | 27.57 | #N/A | #N/A | #N/A
2010-10-15 | 1224.4 | 26.4 | 14.6 | 916 | 910 | 783 | 1515 | 591 | 27.14 | 548.65 | 1220 | 18
2010-10-14 | 1224.52 | 26.32 | 14.82 | 908 | 900 | 642 | 1503 | 440 | 30.16 | 549.3 | 1040 | 18
2010-10-13 | 1224.73 | 26.33 | 14.93 | 898 | 900 | 644 | 1495 | 500 | 28.12 | 549.85 | 1050 | 18
2010-10-12 | 1224.94 | 26.44 | 15.04 | 918 | 900 | 703 | 1486 | 588 | 27.81 | 550.35 | 726 | 18
2010-10-11 | 1225.11 | 26.41 | 15.11 | 1075 | 900 | 779 | 1473 | 716 | 27.83 | 550.7 | 454 | 18
2010-10-10 | 1225.35 | 26.45 | 15.35 | 1446 | 900 | 920 | 1458 | 932 | 27.89 | #N/A | #N/A | #N/A
2010-10-09 | 1225.75 | 26.65 | 15.75 | 2251 | 900 | 1612 | 1441 | 1375 | 27.98 | #N/A | #N/A | #N/A
2010-10-08 | 1226.23 | 27.03 | 16.23 | 3329 | 900 | 2917 | 1400 | 2322 | 27.85 | 551.3 | 1420 | 18
2010-10-07 | 1226.54 | 27.14 | 16.54 | 2269 | 750 | 3515 | 1314 | 3421 | 28.02 | 551.45 | 1630 | 18
2010-10-06 | 1225.66 | 26.06 | 15.66 | 1315 | 750 | 1529 | 1205 | 1376 | 27.88 | 551.2 | 1150 | 18
2010-10-05 | 1225.53 | 25.73 | 15.33 | 1373 | 750 | 1169 | 1164 | #N/A | 27.67 | 550.9 | 783 | 18
2010-10-04 | 1225.69 | 25.79 | 15.39 | 1969 | 750 | 1290 | 1137 | 1172 | 29.29 | 550.9 | 676 | 18
2010-10-03 | 1226.2 | 26.1 | 15.8 | 3285 | 750 | 2614 | 1102 | 2011 | 29.4 | #N/A | #N/A | #N/A
2010-10-02 | 1226.7 | 26.4 | 16.2 | 2510 | 750 | 6260 | 1023 | 4430 | 29.36 | #N/A | #N/A | #N/A
2010-10-01 | 1223.98 | 23.48 | 13.48 | 758 | 750 | 11999 | 805 | 10239 | 29.09 | #N/A | #N/A | #N/A
2010-09-30 | 1214.89 | 14.29 | 4.29 | 765 | 760 | 1915 | 433 | 1819 | 29.84 | #N/A | #N/A | #N/A
2010-09-29 | 1213.88 | 13.08 | 3.18 | 765 | 760 | 911 | 383 | 902 | 29.22 | #N/A | #N/A | #N/A
2010-09-28 | 1213.77 | 12.77 | 3.17 | 778 | 760 | 450 | 366 | 454 | 28.88 | 547.4 | 220 | 18
2010-09-27 | 1214.09 | 12.89 | 3.59 | 766 | 760 | 271 | 368 | 172 | 29.95 | #N/A | #N/A | #N/A
2010-09-26 | 1214.56 | 13.16 | 4.06 | 764 | 760 | 232 | 375 | 164 | 28.98 | #N/A | #N/A | #N/A
2010-09-25 | 1215.06 | 13.56 | 4.46 | 765 | 760 | 227 | 387 | 177 | 29.05 | #N/A | #N/A | #N/A
2010-09-24 | 1215.56 | 13.86 | 4.86 | 765 | 760 | 254 | 407 | 193 | 29.66 | 547.5 | 220 | 18
2010-09-23 | 1216.03 | 14.13 | 5.23 | 747 | 750 | 266 | 452 | 206 | 30.05 | 547.55 | 220 | 18
2010-09-22 | 1216.47 | 14.37 | 5.77 | 752 | 750 | 301 | 568 | 218 | 29.4 | 547.65 | 220 | 18
2010-09-21 | 1216.88 | 14.68 | 6.18 | 752 | 750 | 331 | 807 | 249 | 29.87 | 547.7 | 330 | 18
2010-09-20 | 1217.26 | 14.86 | 6.56 | 757 | 750 | 391 | 839 | 307 | 29.98 | 547.9 | 413 | 18
2010-09-19 | 1217.59 | 14.99 | 6.99 | 750 | 750 | 533 | 834 | 394 | 29.34 | #N/A | #N/A | #N/A
2010-09-18 | 1217.8 | 15 | 7.2 | 756 | 750 | 761 | 826 | 536 | 29.76 | #N/A | #N/A | #N/A
2010-09-17 | 1217.82 | 14.92 | 7.12 | 758 | 750 | 774 | 812 | 664 | 30 | 548 | 296 | 18
2010-09-16 | 1217.83 | 14.73 | 7.13 | 785 | 780 | 462 | 799 | 297 | 30.22 | 547.75 | 212 | 18
2010-09-15 | 1218.12 | 14.82 | 7.32 | 785 | 780 | 424 | 800 | 311 | 30.38 | 547.75 | 212 | 18
2010-09-14 | 1218.44 | 14.94 | 7.54 | 788 | 780 | 425 | 803 | 306 | 30.35 | 547.7 | 237 | 18
2010-09-13 | 1218.76 | 15.16 | 7.86 | 780 | 780 | 354 | 799 | 256 | 30.16 | 547.7 | 266 | 18
2010-09-12 | 1219.14 | 15.34 | 8.24 | 783 | 780 | 330 | 795 | 204 | 29.86 | #N/A | #N/A | #N/A
2010-09-11 | 1219.53 | 15.53 | 8.43 | 791 | 780 | 323 | 797 | 233 | 29.73 | #N/A | #N/A | #N/A
2010-09-10 | 1219.93 | 15.73 | 8.63 | 784 | 780 | 398 | 800 | 268 | 30.18 | 548.35 | 587 | 18
2010-09-09 | 1220.26 | 15.86 | 8.76 | 808 | 800 | 394 | 801 | 275 | 30.33 | 548.55 | 587 | 18
2010-09-08 | 1220.61 | 16.11 | 8.81 | 811 | 800 | 344 | 801 | 217 | 30.18 | 548.8 | 528 | 18
2010-09-07 | 1221 | 16.3 | 9 | 767 | 800 | 247 | 802 | 183 | 30.45 | 549.05 | 528 | 18
2010-09-06 | 1221.43 | 16.53 | 9.23 | 808 | 800 | 296 | 807 | 199 | 30.16 | #N/A | #N/A | #N/A
2010-09-05 | 1221.85 | 16.75 | 9.45 | 800 | 800 | 348 | 815 | 177 | 30.37 | #N/A | #N/A | #N/A
2010-09-04 | 1222.22 | 17.02 | 9.62 | 802 | 800 | 244 | 826 | 165 | 30.78 | #N/A | #N/A | #N/A
2010-09-03 | 1222.67 | 17.27 | 9.97 | 814 | 800 | 238 | 841 | 183 | 30.96 | 550.15 | 553 | 18
2010-09-02 | 1223.13 | 17.53 | 10.23 | 805 | 800 | -271 | 856 | 204 | 30.57 | 550.35 | 201 | 18
2010-09-01 | 1223.96 | 18.16 | 10.96 | 805 | 800 | 833 | 879 | 233 | 29.25 | #N/A | #N/A | #N/A
2010-08-31 | 1223.96 | 18.06 | 10.96 | 801 | 800 | 402 | 856 | 266 | 29.04 | #N/A | #N/A | #N/A
2010-08-30 | 1224.28 | 18.18 | 11.18 | 813 | 800 | 425 | 856 | 317 | 29.05 | 550.45 | 275 | 18
2010-08-29 | 1224.6 | 18.3 | 11.4 | 800 | 800 | 489 | 861 | 396 | 28.83 | #N/A | #N/A | #N/A
2010-08-28 | 1224.85 | 18.35 | 11.55 | 771 | 800 | 485 | 873 | 503 | 29.12 | #N/A | #N/A | #N/A
2010-08-27 | 1225.09 | 18.49 | 11.49 | 976 | 800 | 582 | 897 | 691 | 28.89 | 550.75 | 532 | 18
2010-08-26 | 1225.4 | 18.6 | 11.6 | 1296 | 680 | 845 | 899 | 997 | 28.99 | 550.9 | 783 | 18
2010-08-25 | 1225.75 | 18.75 | 11.65 | 1806 | 680 | 1597 | 894 | 1624 | 28.96 | 551.2 | 1150 | 18
2010-08-24 | 1225.93 | 18.73 | 11.63 | 1364 | 680 | 3758 | 876 | #N/A | 28.35 | #N/A | #N/A | #N/A
2010-08-23 | 1224.2 | 16.8 | 9.8 | 687 | 680 | 7477 | 797 | 7309 | 28.52 | 552.6 | 4350 | 18
2010-08-22 | 1218.93 | 11.43 | 4.43 | 675 | 680 | 1279 | 596 | #N/A | 28.88 | #N/A | #N/A | #N/A
2010-08-21 | 1218.46 | 10.76 | 3.76 | 680 | 680 | 252 | 579 | #N/A | 28.52 | #N/A | #N/A | #N/A
2010-08-20 | 1218.84 | 10.94 | 3.94 | 683 | 680 | 287 | 581 | 177 | 28.47 | 549.7 | 196 | 18
2010-08-19 | 1219.19 | 11.09 | 4.09 | 685 | 680 | 322 | 583 | 210 | 28.62 | 549.75 | 196 | 18
2010-08-18 | 1219.52 | 11.32 | 4.22 | 685 | 680 | 392 | 582 | 258 | 28.54 | 549.8 | 196 | 18
2010-08-17 | 1219.78 | 11.38 | 4.28 | 582 | 680 | 495 | 581 | 342 | 28.94 | 549.85 | 193 | 18
2010-08-16 | 1219.88 | 11.28 | 4.18 | 695 | 680 | 522 | 577 | 336 | 28.66 | 549.9 | 193 | 18
2010-08-15 | 1220.04 | 11.24 | 4.14 | 630 | 680 | 285 | 576 | 178 | 28.87 | #N/A | #N/A | #N/A
2010-08-14 | 1220.35 | 11.45 | 4.35 | 685 | 680 | 252 | 580 | 187 | 29.27 | #N/A | #N/A | #N/A
2010-08-13 | 1220.72 | 11.62 | 4.62 | 690 | 680 | 378 | 581 | 221 | 28.54 | 550.05 | 196 | 18
2010-08-12 | 1220.99 | 11.69 | 4.69 | 681 | 690 | 405 | 577 | 272 | 28.95 | 550.1 | 206 | 18
2010-08-11 | 1221.24 | 11.74 | 4.94 | 683 | 690 | 430 | 574 | 329 | 28.78 | 550.15 | 220 | 18
2010-08-10 | 1221.46 | 11.86 | 5.06 | 684 | 690 | 405 | 569 | 304 | 28.66 | 550.15 | 217 | 18
2010-08-09 | 1221.7 | 11.9 | 5.2 | 686 | 690 | 380 | 567 | #N/A | 29.13 | 550.1 | 198 | 18
2010-08-08 | 1221.97 | 11.97 | 5.27 | 688 | 690 | 392 | 567 | 280 | 28.98 | #N/A | #N/A | #N/A
2010-08-07 | 1222.22 | 12.02 | 5.42 | 689 | 690 | 532 | 562 | 369 | 28.16 | #N/A | #N/A | #N/A
2010-08-06 | 1222.37 | 11.97 | 5.37 | 689 | 690 | 685 | 554 | 446 | 28.97 | 550.25 | 251 | 18
2010-08-05 | 1222.4 | 11.9 | 5.3 | 634 | 600 | 706 | 542 | 467 | 29.31 | 550.25 | 337 | 18
2010-08-04 | 1222.37 | 11.67 | 5.17 | 601 | 600 | 673 | 531 | 555 | 29.01 | 550.3 | 223 | 18
2010-08-03 | 1222.34 | 11.44 | 4.94 | 601 | 600 | 432 | 523 | 229 | 28.69 | 550.3 | 206 | 18
2010-08-02 | 1222.5 | 11.4 | 5 | 585 | 600 | 133 | 522 | 247 | 29.19 | 550.35 | 234 | 18
2010-08-01 | 1222.87 | 11.67 | 5.17 | 605 | 600 | 395 | 531 | 306 | 29.15 | #N/A | #N/A | #N/A
2010-07-31 | 1223.05 | 11.65 | 5.35 | 598 | 600 | 568 | 536 | 417 | 29.15 | #N/A | #N/A | #N/A
2010-07-30 | 1223.1 | 11.5 | 5.2 | 601 | 600 | 866 | 545 | 642 | 28.75 | #N/A | #N/A | #N/A
2010-07-29 | 1222.93 | 11.13 | 4.93 | 588 | 590 | 1185 | 569 | 934 | #N/A | 550.6 | 399 | 18
2010-07-28 | 1222.5 | 10.6 | 4.4 | 595 | 590 | 642 | 627 | 381 | 29.75 | 550.5 | 290 | 18
2010-07-27 | 1222.49 | 10.39 | 4.19 | 589 | 590 | 700 | 699 | 521 | 30.13 | 550.65 | 399 | 18
2010-07-26 | 1222.43 | 10.13 | 4.03 | 590 | 590 | 1068 | 697 | 775 | #N/A | 550.75 | 596 | 18
2010-07-25 | 1222.09 | 9.59 | 3.49 | 595 | 590 | 1396 | 688 | #N/A | 30.3 | #N/A | #N/A | #N/A
2010-07-24 | 1221.49 | 8.89 | 2.79 | 593 | 590 | 1448 | 676 | #N/A | #N/A | #N/A | #N/A | #N/A
2010-07-23 | 1220.85 | 8.05 | 1.95 | 593 | 590 | 751 | 668 | #N/A | #N/A | 550.1 | 191 | 18
2010-07-22 | 1220.75 | 7.75 | 1.75 | 602 | 600 | 327 | 685 | 191 | #N/A | 550.15 | 198 | 18
2010-07-21 | 1220.99 | 7.79 | 1.89 | 605 | 600 | 341 | 704 | 167 | 31.99 | 550.15 | 201 | 18
2010-07-20 | 1221.23 | 7.83 | 2.03 | 605 | 600 | 302 | 741 | 197 | #N/A | 550.2 | 217 | 18
2010-07-19 | 1221.49 | 7.99 | 2.09 | 603 | 600 | 336 | 793 | 214 | 33.09 | 550.25 | 240 | 18
2010-07-18 | 1221.72 | 8.02 | 2.12 | 604 | 600 | 399 | 804 | 282 | #N/A | #N/A | #N/A | #N/A
2010-07-17 | 1221.91 | 8.01 | 2.11 | 606 | 600 | 489 | 824 | 322 | #N/A | #N/A | #N/A | #N/A
2010-07-16 | 1222.03 | 7.93 | 2.13 | 603 | 600 | 409 | 850 | 176 | #N/A | #N/A | #N/A | #N/A
2010-07-15 | 1222.2 | 8 | 2.2 | 604 | 600 | 270 | 861 | 132 | #N/A | #N/A | #N/A | #N/A
2010-07-14 | 1222.49 | 8.09 | 2.39 | 595 | 600 | 272 | 882 | 138 | 35.28 | 550.1 | 183 | 18
2010-07-13 | 1222.76 | 8.16 | 2.56 | 605 | 600 | 293 | 919 | 152 | #N/A | 550.15 | 188 | 18
2010-07-12 | 1223.02 | 8.22 | 2.82 | 599 | 600 | 285 | 971 | 185 | 35.5 | 550.2 | 206 | 18
2010-07-11 | 1223.29 | 8.39 | 2.99 | 602 | 600 | 338 | 991 | 195 | 35.71 | #N/A | #N/A | #N/A
2010-07-10 | 1223.51 | 8.41 | 3.01 | 597 | 600 | 385 | 1004 | 174 | 35.45 | #N/A | #N/A | #N/A
2010-07-09 | 1223.7 | 8.4 | 3.1 | 605 | 600 | 247 | 1014 | 151 | 34.65 | 550.25 | 209 | 18
2010-07-08 | 1223.99 | 8.49 | 3.19 | 605 | 600 | 284 | 1025 | 166 | #N/A | 550.3 | 246 | 18
2010-07-07 | 1224.26 | 8.66 | 3.26 | 605 | 600 | 323 | 1045 | 202 | 30.99 | 550.35 | 166 | 18
2010-07-06 | 1224.49 | 8.69 | 3.39 | 603 | 600 | 398 | 1083 | 238 | 29.12 | 550.4 | 183 | 18
2010-07-05 | 1224.67 | 8.67 | 3.47 | 599 | 600 | 421 | 1116 | 283 | 29.26 | #N/A | #N/A | #N/A
2010-07-04 | 1224.82 | 8.62 | 3.52 | 602 | 600 | 396 | 1123 | 353 | 28.75 | #N/A | #N/A | #N/A
2010-07-03 | 1225 | 8.6 | 3.6 | 649 | 600 | 403 | 1123 | 445 | 29.28 | #N/A | #N/A | #N/A
2010-07-02 | 1225.2 | 8.7 | 3.6 | 863 | 600 | 549 | 1126 | 589 | 28.51 | 550.65 | 420 | 18
2010-07-01 | 1225.46 | 8.76 | 3.76 | 1294 | 560 | 829 | 1122 | 840 | 28.12 | 550.8 | 631 | 18
2010-06-30 | 1225.82 | 8.92 | 3.92 | 1961 | 560 | 1589 | 1105 | 1401 | 28.33 | 551.25 | 1130 | 18
2010-06-29 | 1226.11 | 9.01 | 4.11 | 1770 | 560 | 2937 | 1059 | 2672 | 28.4 | 551.7 | 2030 | 18
2010-06-28 | 1225.29 | 8.09 | 3.09 | 575 | 560 | 2802 | 967 | 2618 | #N/A | 550.8 | 832 | 18
2010-06-27 | 1223.67 | 6.27 | 1.47 | 560 | 560 | 647 | 881 | 468 | 28.44 | #N/A | #N/A | #N/A
2010-06-26 | 1223.63 | 6.03 | 1.33 | 560 | 560 | 790 | 867 | 572 | 28.13 | #N/A | #N/A | #N/A
2010-06-25 | 1223.48 | 5.68 | 1.08 | 566 | 560 | 1028 | 849 | 814 | #N/A | 550.6 | 315 | 18
2010-06-24 | 1223.16 | 5.26 | 0.66 | 458 | 450 | 1224 | 824 | 850 | 27.57 | 550.6 | 366 | 18
2010-06-23 | 1222.6 | 4.5 | -0.1 | 453 | 450 | 1238 | 793 | 925 | #N/A | 550.55 | 340 | 18
2010-06-22 | 1222.03 | 3.73 | -0.67 | 453 | 450 | 904 | 762 | 683 | 27.42 | 550.45 | 209 | 18
2010-06-21 | 1221.7 | 3.2 | -1 | 460 | 450 | 1469 | 743 | 1282 | 27.56 | 550.5 | 251 | 18
2010-06-20 | 1220.94 | 2.34 | -1.96 | 457 | 450 | 1842 | 707 | 1945 | 27.93 | #N/A | #N/A | #N/A
2010-06-19 | 1219.87 | 1.07 | -3.13 | 458 | 450 | 675 | 659 | 382 | 27.5 | #N/A | #N/A | #N/A
2010-06-18 | 1219.72 | 0.72 | -3.48 | 466 | 450 | 996 | 654 | 545 | 27.48 | #N/A | #N/A | #N/A
2010-06-17 | 1219.32 | 0.12 | -3.98 | 405 | 400 | 1276 | 638 | 644 | 28.22 | 550.6 | 372 | 18
2010-06-16 | 1218.64 | -0.76 | -4.66 | 405 | 400 | 724 | 617 | 387 | 27.61 | 550.5 | 254 | 18
2010-06-15 | 1218.4 | -1.1 | -4.9 | 410 | 400 | 904 | 617 | 498 | #N/A | 550.55 | 302 | 18
2010-06-14 | 1218.02 | -1.68 | -5.28 | 406 | 400 | 1383 | 615 | 737 | 28.26 | 550.6 | 349 | 18
2010-06-13 | 1217.23 | -2.67 | -6.17 | 407 | 400 | 1856 | 605 | 967 | 28.93 | #N/A | #N/A | #N/A
2010-06-12 | 1216.02 | -4.08 | -7.48 | 403 | 400 | 876 | 576 | 430 | 28.58 | #N/A | #N/A | #N/A
2010-06-11 | 1215.64 | -4.56 | -7.96 | 406 | 400 | 731 | 573 | 415 | 28.72 | 550.2 | 212 | 18
2010-06-10 | 1215.38 | -5.02 | -8.32 | 404 | 400 | 705 | 582 | 384 | #N/A | 550.15 | 204 | 18
2010-06-09 | 1215.15 | -5.45 | -8.65 | 410 | 400 | 555 | 597 | 330 | 31.05 | 550.15 | 188 | 18
2010-06-08 | 1215.05 | -5.75 | -8.75 | 410 | 400 | 896 | 635 | 464 | #N/A | 550.15 | 206 | 18
2010-06-07 | 1214.65 | -6.25 | -9.25 | 406 | 400 | 1450 | 682 | 781 | 31.36 | 550.2 | 212 | 18
2010-06-06 | 1213.74 | -7.36 | -10.26 | 403 | 400 | 1386 | 677 | 624 | 31.5 | #N/A | #N/A | #N/A
2010-06-05 | 1212.87 | -8.43 | -11.23 | 405 | 400 | 630 | 658 | 339 | #N/A | #N/A | #N/A | #N/A
2010-06-04 | 1212.7 | -8.8 | -11.5 | 408 | 400 | 411 | 661 | 209 | #N/A | 549.95 | 176 | 18
2010-06-03 | 1212.73 | -8.87 | -11.57 | 520 | 520 | 482 | 664 | 209 | 31.76 | 549.95 | 178 | 18
2010-06-02 | 1212.79 | -9.01 | -11.41 | 525 | 520 | 444 | 662 | 178 | #N/A | 549.95 | 171 | 18
2010-06-01 | 1212.9 | -9.1 | -11.3 | 522 | 520 | 324 | 659 | 151 | #N/A | 550 | 171 | 18
2010-05-31 | 1213.12 | -8.88 | -11.08 | 519 | 520 | 199 | 660 | 113 | 30.58 | #N/A | #N/A | #N/A
2010-05-30 | 1213.44 | -8.56 | -10.76 | 524 | 520 | 170 | 671 | 120 | 30.65 | #N/A | #N/A | #N/A
2010-05-29 | 1213.79 | -8.21 | -10.41 | 527 | 520 | 224 | 682 | 129 | #N/A | #N/A | #N/A | #N/A
2010-05-28 | 1214.09 | -7.91 | -10.21 | 525 | 520 | 231 | 690 | 141 | 29.16 | 550.2 | 201 | 18
2010-05-27 | 1214.39 | -7.61 | -9.91 | 639 | 630 | 244 | 699 | 157 | 29.38 | 550.25 | 196 | 18
2010-05-26 | 1214.77 | -7.23 | -9.53 | 630 | 630 | 298 | 705 | 177 | 29.22 | 550.3 | 223 | 18
2010-05-25 | 1215.09 | -6.91 | -9.31 | 633 | 630 | 276 | 713 | 236 | 29.11 | 550.4 | 251 | 18
2010-05-24 | 1215.43 | -6.57 | -8.97 | 634 | 630 | 320 | 721 | 256 | 29.2 | 550.4 | 181 | 18
2010-05-23 | 1215.74 | -6.26 | -8.66 | 637 | 630 | 332 | 727 | 281 | 29.28 | #N/A | #N/A | #N/A
2010-05-22 | 1216.03 | -5.97 | -8.37 | 626 | 630 | 398 | 738 | 318 | 28.86 | #N/A | #N/A | #N/A
2010-05-21 | 1216.25 | -5.75 | -8.25 | 635 | 630 | 395 | 746 | 362 | 28.99 | 550.4 | 206 | 18
2010-05-20 | 1216.49 | -5.51 | -8.01 | 807 | 800 | 523 | 756 | 409 | #N/A | 550.45 | 217 | 18
2010-05-19 | 1216.76 | -5.24 | -7.74 | 803 | 800 | 526 | 766 | 421 | 28.82 | #N/A | #N/A | #N/A
2010-05-18 | 1217.02 | -4.98 | -7.48 | 804 | 800 | 617 | 782 | 460 | #N/A | 550.45 | 223 | 18
2010-05-17 | 1217.21 | -4.79 | -7.29 | 802 | 800 | 742 | 806 | 532 | 29.24 | 550.45 | 223 | 18
2010-05-16 | 1217.29 | -4.71 | -7.21 | 807 | 800 | 839 | 822 | 648 | 28.08 | #N/A | #N/A | #N/A
2010-05-15 | 1217.29 | -4.71 | -7.31 | 817 | 800 | 1091 | 819 | 810 | 28.56 | #N/A | #N/A | #N/A
2010-05-14 | 1217.08 | -4.92 | -7.52 | 807 | 800 | 966 | 803 | 803 | 27.83 | 550.05 | 215 | 18
2010-05-13 | 1216.98 | -5.02 | -7.52 | 945 | 950 | 804 | 792 | 567 | 27.57 | 549.85 | 193 | 18
2010-05-12 | 1217.12 | -4.88 | -7.28 | 948 | 950 | 992 | 791 | 652 | 28.03 | 549.8 | 193 | 18
2010-05-11 | 1217.11 | -4.89 | -7.29 | 951 | 950 | 1156 | 785 | 821 | 27.86 | 549.75 | 193 | 18
2010-05-10 | 1216.97 | -5.03 | -7.33 | 958 | 950 | 1709 | 779 | 1167 | #N/A | 549.6 | 198 | 18
The Mohawk Valley Water Authority estimated withdrawal for May 9 is 28 cfs.
2010-05-09 | 1216.35 | -5.65 | -7.85 | 956 | 950 | 2300 | 756 | 1734 | 40.18 | #N/A | #N/A | #N/A
2010-05-08 | 1215.21 | -6.79 | -9.09 | 935 | 950 | 1309 | 716 | 1116 | #N/A | #N/A | #N/A | #N/A
2010-05-07 | 1214.9 | -7.1 | -9.4 | 958 | 950 | 814 | 705 | 564 | 28.31 | 548.55 | 191 | 18
2010-05-06 | 1215.06 | -6.94 | -9.34 | 1108 | 1100 | 708 | 713 | 534 | #N/A | 548.4 | 191 | 18
2010-05-05 | 1215.44 | -6.56 | -8.96 | 1104 | 1100 | 498 | 726 | 404 | #N/A | 548.25 | 188 | 18
2010-05-04 | 1216 | -6 | -8.4 | 1105 | 1100 | 434 | 761 | 286 | 27.86 | 548.2 | 188 | 18
2010-05-03 | 1216.6 | -5.4 | -7.8 | 1106 | 1100 | 357 | 818 | 258 | 28.32 | 548.2 | 186 | 18
2010-05-02 | 1217.27 | -4.73 | -7.03 | 1108 | 1100 | 350 | 885 | 258 | 27.77 | #N/A | #N/A | #N/A
As of May 1 the elevation trigger became ACTIVATED and Routine Communications Protocols have been utilized.
2010-05-01 | 1217.93 | -4.07 | -6.17 | 1105 | 1100 | 525 | 953 | 266 | 28.4 | #N/A | #N/A | #N/A
2010-04-30 | 1218.44 | #N/A | -5.46 | 1107 | 1100 | 492 | 1040 | 288 | 27.75 | 548.2 | 186 | 18
2010-04-29 | 1218.97 | #N/A | -4.83 | 1104 | 1100 | 459 | 1143 | 321 | 28.1 | 548.25 | 186 | 0
2010-04-28 | 1219.52 | #N/A | -4.08 | 1099 | 1100 | 508 | 1210 | 302 | 28.08 | 548.3 | 186 | 0
2010-04-27 | 1220.01 | #N/A | -3.39 | 1107 | 1100 | 436 | 1253 | 286 | 28.43 | 548.3 | 188 | 0
2010-04-26 | 1220.57 | #N/A | -2.63 | 1108 | 1100 | 529 | 1284 | 300 | 28.35 | 548.3 | 188 | 0
2010-04-25 | 1221.05 | #N/A | -1.75 | 1106 | 1100 | 522 | 1321 | 319 | 28.62 | #N/A | #N/A | #N/A
2010-04-24 | 1221.53 | #N/A | -0.87 | 1107 | 1100 | 505 | 1380 | 345 | #N/A | #N/A | #N/A | #N/A
2010-04-23 | 1222.02 | #N/A | 0.22 | 1105 | 1100 | 637 | 1474 | 384 | 28.66 | 548.3 | 188 | 0
2010-04-22 | 1222.4 | #N/A | 1.4 | 1104 | 1100 | 658 | 1641 | 428 | 28.21 | 548.3 | 191 | 0
2010-04-21 | 1222.76 | #N/A | 2.46 | 1112 | 1100 | 676 | 1840 | 482 | 28.68 | 548.3 | 243 | 0
2010-04-20 | 1223.11 | #N/A | 3.31 | 1114 | 1100 | 831 | 1910 | 558 | 28.26 | 548.4 | 260 | 0
2010-04-19 | 1223.35 | #N/A | 4.15 | 1113 | 1100 | 1023 | 1979 | 672 | 28.27 | 548.4 | 263 | 0
2010-04-18 | 1223.43 | #N/A | 4.63 | 1107 | 1100 | 1328 | 2035 | 836 | 28.27 | #N/A | #N/A | #N/A
2010-04-17 | 1223.29 | #N/A | 5.09 | 1107 | 1100 | 1224 | 2074 | 834 | 28.57 | #N/A | #N/A | #N/A
2010-04-16 | 1223.22 | #N/A | 5.92 | 1112 | 1100 | 751 | 2110 | 411 | 28.38 | 548.2 | 257 | 0
2010-04-15 | 1223.51 | #N/A | 7.11 | 1108 | 1100 | 614 | 2158 | 412 | 28.68 | 548.3 | 257 | 0
2010-04-14 | 1223.9 | #N/A | 8.3 | 1104 | 1100 | 633 | 2217 | 461 | 28.47 | 548.3 | 257 | 0
2010-04-13 | 1224.27 | #N/A | 9.37 | 1106 | 1100 | 764 | 2256 | 525 | 28.21 | 548.4 | 260 | 0
2010-04-12 | 1224.55 | #N/A | 10.35 | 1104 | 1100 | 800 | 2275 | 617 | #N/A | 548.5 | 257 | 0
2010-04-11 | 1224.79 | #N/A | 11.29 | 1110 | 1100 | 977 | 2286 | 753 | 28.93 | #N/A | #N/A | #N/A
2010-04-10 | 1224.91 | #N/A | 12.11 | 1107 | 1100 | 1028 | 2273 | 917 | #N/A | #N/A | #N/A | #N/A
2010-04-09 | 1224.99 | #N/A | 12.69 | 1105 | 1100 | 1119 | 2252 | 1011 | #N/A | 548.5 | 266 | 0
2010-04-08 | 1225 | #N/A | 13.3 | 1132 | 1100 | 959 | 2226 | 950 | #N/A | 548.4 | 260 | 0
2010-04-07 | 1225.14 | #N/A | 14.24 | 1260 | 1100 | 1060 | 2205 | 1067 | 28.2 | 548.4 | 483 | 0
2010-04-06 | 1225.31 | #N/A | 15.21 | 1649 | 1100 | 1106 | 2180 | 1295 | #N/A | 548.6 | 483 | 0
2010-04-05 | 1225.55 | #N/A | 16.35 | 1883 | 1100 | 1546 | 2152 | 1775 | #N/A | 548.9 | 483 | 0
2010-04-04 | 1225.82 | #N/A | 17.62 | 2192 | 1100 | 2138 | 2111 | 2377 | 28.37 | #N/A | #N/A | #N/A
2010-04-03 | 1225.88 | #N/A | 18.78 | 2213 | 1100 | 2362 | 2050 | 2652 | 28.57 | #N/A | #N/A | #N/A
2010-04-02 | 1225.79 | #N/A | 19.59 | 1878 | 1100 | 2403 | 1982 | 2554 | 28.17 | 549.3 | 486 | 0
2010-04-01 | 1225.43 | #N/A | 20.13 | 1185 | 1100 | 3137 | 1912 | #N/A | #N/A | 549.4 | 490 | 0
2010-03-31 | 1224.01 | #N/A | 19.61 | 1108 | 1100 | 3565 | 1819 | 3119 | 28.28 | 549.3 | 505 | 0
2010-03-30 | 1222.16 | #N/A | 18.66 | 1105 | 1100 | 2474 | 1715 | 2044 | #N/A | 549.05 | 504 | 0
2010-03-29 | 1221.12 | #N/A | 18.42 | 1102 | 1100 | 1805 | 1647 | 1504 | 28.86 | 549.1 | 685 | 0
2010-03-28 | 1220.58 | #N/A | 18.78 | 1111 | 1100 | 1355 | 1602 | 967 | 28.75 | #N/A | #N/A | #N/A
2010-03-27 | 1220.41 | #N/A | 19.41 | 1107 | 1100 | 1656 | 1567 | 1251 | 28.55 | #N/A | #N/A | #N/A
2010-03-26 | 1219.99 | #N/A | 19.39 | 1111 | 1100 | 2280 | 1521 | 1791 | #N/A | 549.7 | 681 | 0
2010-03-25 | 1219.06 | #N/A | 18.86 | 989 | 980 | 3313 | 1454 | 2342 | 27.78 | 549.8 | 676 | 0
2010-03-24 | 1217.14 | #N/A | 17.14 | 993 | 980 | 5670 | 1353 | 3869 | #N/A | 549.9 | 694 | 0
2010-03-23 | 1213.03 | #N/A | 13.13 | 995 | 980 | 6617 | 1172 | 5647 | 27.61 | 549.2 | 286 | 0
2010-03-22 | 1207.54 | #N/A | 7.84 | 986 | 980 | 2780 | 961 | 2253 | 27.94 | #N/A | #N/A | #N/A
2010-03-21 | 1205.64 | #N/A | 6.04 | 987 | 980 | 2900 | 879 | 2337 | 27.51 | #N/A | #N/A | #N/A
2010-03-20 | 1203.51 | #N/A | 4.11 | 987 | 980 | 2691 | 789 | 2239 | 28.73 | #N/A | #N/A | #N/A
2010-03-19 | 1201.51 | #N/A | 2.01 | 985 | 980 | 2499 | 708 | 2006 | 29.68 | #N/A | #N/A | #N/A
2010-03-18 | 1199.63 | #N/A | 0.33 | 545 | 540 | 2311 | 634 | 1706 | 29.96 | 548.8 | 190 | 0
2010-03-17 | 1197.3 | #N/A | -1.8 | 545 | 540 | 2205 | 565 | 1565 | 30.38 | 546 | 202 | 0
2010-03-16 | 1194.93 | #N/A | -4.17 | 524 | 540 | 2375 | 500 | 1585 | 30.71 | 546 | 210 | 0
2010-03-15 | 1192.04 | #N/A | -6.96 | 525 | 540 | 1809 | 431 | 1261 | 31.89 | 544.85 | 224 | 0
2010-03-14 | 1189.84 | #N/A | -8.96 | 528 | 540 | 1312 | 380 | #N/A | 33.47 | #N/A | #N/A | #N/A
2010-03-13 | 1188.48 | #N/A | -10.22 | 529 | 540 | 1143 | 346 | #N/A | #N/A | #N/A | #N/A | #N/A
2010-03-12 | 1187.3 | #N/A | -11.3 | 543 | 540 | 580 | 318 | 428 | 33.31 | 542 | 216 | 0
2010-03-11 | 1187.27 | #N/A | -11.43 | 587 | 600 | 402 | 309 | 316 | 33.07 | 541.6 | 193 | 0
2010-03-10 | 1187.69 | #N/A | -11.01 | 594 | 600 | 340 | 306 | 267 | 32.86 | 541.3 | 188 | 0
2010-03-09 | 1188.24 | #N/A | -10.46 | 598 | 600 | 342 | 306 | 262 | 31.97 | 541.3 | 185 | 0
2010-03-08 | 1188.78 | #N/A | -9.82 | 594 | 600 | 301 | 307 | 241 | 31.99 | 541.3 | 182 | 0
2010-03-07 | 1189.37 | #N/A | -9.33 | 599 | 600 | 270 | 312 | 234 | 32.41 | #N/A | #N/A | #N/A
2010-03-06 | 1190.02 | #N/A | -8.48 | 600 | 600 | 317 | 317 | 235 | 30.88 | #N/A | #N/A | #N/A
2010-03-05 | 1190.57 | #N/A | -7.93 | 604 | 600 | 303 | 324 | 241 | 29.94 | 541.35 | 180 | 0
2010-03-04 | 1191.13 | #N/A | -7.67 | 713 | 670 | 306 | 333 | 248 | 29.54 | 541.35 | 180 | 0
2010-03-03 | 1191.87 | #N/A | -7.23 | 719 | 670 | 330 | 343 | 257 | 28.87 | #N/A | #N/A | #N/A
2010-03-02 | 1192.55 | #N/A | -6.85 | 714 | 670 | 345 | 353 | 263 | 29.01 | 541.45 | 180 | 0
Jarvis under discharged 157 cfsd on Feb 26 & 27 as a result of a weather related transmission constraint. This water is being made up by increasing the Jarvis Operating Diagram release of 670 cfs to 716 cfs for the 82 hours beginning 2pm Mar 1 until midnight on Mar 4.
2010-03-01 | 1193.19 | #N/A | -6.41 | 685 | 670 | 421 | 363 | 281 | 28.98 | 541.45 | 182 | 0
2010-02-28 | 1193.64 | #N/A | -6.16 | 666 | 670 | 450 | 375 | 326 | 29.88 | #N/A | #N/A | #N/A
2010-02-27 | 1194.02 | #N/A | -5.88 | 672 | 670 | 437 | 395 | 379 | #N/A | #N/A | #N/A | #N/A
2010-02-26 | 1194.42 | #N/A | -5.68 | 547 | 670 | 305 | 442 | 277 | #N/A | 541.7 | 224 | 0
2010-02-25 | 1194.82 | #N/A | -5.58 | 776 | 810 | 290 | 539 | #N/A | 28.76 | 541.6 | 227 | 0
2010-02-24 | 1195.58 | #N/A | -5.02 | 821 | 810 | 279 | 700 | #N/A | 28.18 | 542 | 227 | 0
2010-02-23 | 1196.4 | #N/A | -4.3 | 809 | 810 | 273 | 731 | #N/A | 28.53 | 542 | 227 | 0
2010-02-22 | 1197.19 | #N/A | -3.61 | 803 | 810 | 252 | 731 | #N/A | #N/A | 542 | 227 | 0
2010-02-21 | 1197.98 | #N/A | -3.12 | 805 | 810 | 284 | 733 | #N/A | 30.98 | #N/A | #N/A | #N/A
2010-02-20 | 1198.72 | #N/A | -2.78 | 841 | 810 | 300 | 733 | #N/A | #N/A | #N/A | #N/A | #N/A
2010-02-19 | 1199.46 | #N/A | -2.34 | 811 | 810 | 227 | 737 | #N/A | #N/A | 542 | 227 | 0
2010-02-18 | 1200.24 | #N/A | -1.76 | 900 | 900 | 246 | 740 | #N/A | #N/A | 542.1 | 230 | 0
2010-02-17 | 1201.09 | #N/A | -1.01 | 902 | 900 | 281 | 743 | #N/A | #N/A | 542.2 | 230 | 0
2010-02-16 | 1201.88 | #N/A | -0.52 | 903 | 900 | 243 | 744 | #N/A | #N/A | 542.3 | 230 | 0
2010-02-15 | 1202.7 | #N/A | 0 | 900 | 900 | 265 | 747 | #N/A | 30.87 | 542.3 | 230 | 0
2010-02-14 | 1203.47 | #N/A | 0.37 | 900 | 900 | 304 | 750 | #N/A | 30.8 | #N/A | #N/A | #N/A
2010-02-13 | 1204.19 | #N/A | 0.69 | 900 | 900 | 256 | 750 | #N/A | #N/A | #N/A | #N/A | #N/A
2010-02-12 | 1204.94 | #N/A | 1.14 | 911 | 900 | 299 | 752 | #N/A | 30.69 | 542.8 | 230 | 0
2010-02-11 | 1205.64 | #N/A | 1.44 | 942 | 940 | 310 | 751 | 295 | #N/A | 542.9 | 233 | 0
2010-02-10 | 1206.36 | #N/A | 1.76 | 944 | 940 | 300 | 739 | 295 | #N/A | 542.8 | 233 | 0
2010-02-09 | 1207.07 | #N/A | 2.07 | 948 | 940 | 329 | 739 | 302 | #N/A | 542.9 | 233 | 0
2010-02-08 | 1207.74 | #N/A | 2.34 | 941 | 940 | 341 | 739 | 316 | #N/A | 542.9 | 233 | 0
2010-02-07 | 1208.39 | #N/A | 2.59 | 937 | 940 | 366 | 739 | 319 | #N/A | #N/A | #N/A | #N/A
2010-02-06 | 1208.99 | #N/A | 2.89 | 943 | 940 | 432 | 740 | 334 | #N/A | #N/A | #N/A | #N/A
2010-02-05 | 1209.53 | #N/A | 3.03 | 944 | 940 | 436 | 738 | 349 | #N/A | 543.2 | 236 | 0
2010-02-04 | 1210.06 | #N/A | 3.36 | 880 | 880 | 516 | 737 | 371 | 30.95 | 543.2 | 236 | 0
2010-02-03 | 1210.44 | #N/A | 3.54 | 877 | 880 | 590 | 750 | 421 | 29.29 | 543.3 | 236 | 0
2010-02-02 | 1210.74 | #N/A | 3.64 | 887 | 880 | 588 | 748 | 459 | 29.29 | 543.3 | 236 | 0
2010-02-01 | 1211.06 | #N/A | 3.66 | 886 | 880 | 625 | 746 | 481 | 29.29 | 543.3 | 236 | 0
2010-01-31 | 1211.56 | #N/A | 3.96 | 884 | 880 | 661 | 746 | 491 | 29.29 | #N/A | #N/A | #N/A
2010-01-30 | 1211.56 | #N/A | 3.66 | 880 | 880 | 779 | 745 | 522 | 29.29 | #N/A | #N/A | #N/A
2010-01-29 | 1211.68 | #N/A | 3.58 | 881 | 880 | 1058 | 745 | 768 | 29.29 | 543.3 | 236 | 0
2010-01-28 | 1211.53 | #N/A | 3.23 | 785 | 780 | 1852 | 740 | 1281 | 29.29 | #N/A | #N/A | #N/A
2010-01-27 | 1210.53 | #N/A | 2.13 | 792 | 780 | 3213 | 716 | 2212 | 29.29 | 543.3 | 251 | 0
2010-01-26 | 1208.12 | #N/A | -0.38 | 792 | 780 | 5099 | 658 | 3900 | 29.29 | 542.3 | 296 | 0
2010-01-25 | 1203.44 | #N/A | -5.16 | 786 | 780 | 1211 | 507 | #N/A | #N/A | 537.2 | 264 | 0
2010-01-24 | 1202.98 | #N/A | -5.72 | 781 | 780 | 293 | 481 | #N/A | 29.29 | #N/A | #N/A | #N/A
2010-01-23 | 1203.57 | #N/A | -5.03 | 784 | 780 | 297 | 486 | #N/A | #N/A | #N/A | #N/A | #N/A
2010-01-22 | 1204.16 | #N/A | -4.44 | 787 | 780 | 300 | 490 | #N/A | 29.29 | 537.3 | 224 | 0
2010-01-21 | 1204.73 | #N/A | -4.17 | 881 | 840 | 396 | 491 | #N/A | 29.29 | 537.4 | 227 | 0
2010-01-20 | 1205.3 | #N/A | -3.8 | 851 | 840 | 340 | 493 | #N/A | 29.29 | 537.5 | 227 | 0
2010-01-19 | 1205.89 | #N/A | -3.41 | 844 | 840 | 325 | 497 | #N/A | 29.29 | 537.4 | 230 | 0
2010-01-18 | 1206.47 | #N/A | -2.93 | 843 | 840 | 307 | 501 | #N/A | 29.29 | #N/A | #N/A | #N/A
2010-01-17 | 1207.07 | #N/A | -2.63 | 838 | 840 | 340 | 504 | #N/A | 29.29 | #N/A | #N/A | #N/A
2010-01-16 | 1207.62 | #N/A | -2.28 | 837 | 840 | 341 | 510 | #N/A | 29.29 | #N/A | #N/A | #N/A
2010-01-15 | 1208.15 | #N/A | -1.95 | 846 | 840 | 306 | 520 | #N/A | 29.29 | 537.8 | 224 | 0
2010-01-14 | 1208.73 | #N/A | -1.67 | 917 | 920 | 321 | 536 | #N/A | 29.29 | 537.9 | 224 | 0
2010-01-13 | 1209.36 | #N/A | -1.34 | 917 | 920 | 282 | 551 | #N/A | 29.29 | 538 | 224 | 0
2010-01-12 | 1210.01 | #N/A | -0.89 | 921 | 920 | -68 | 566 | #N/A | 31.86 | 538.2 | 224 | 0
2010-01-11 | 1211 | #N/A | -0.2 | 912 | 920 | 323 | 588 | #N/A | 31.86 | 538.3 | 224 | 0
2010-01-10 | 1211.58 | #N/A | 0.08 | 921 | 920 | 325 | 598 | #N/A | 31.86 | #N/A | #N/A | #N/A
2010-01-09 | 1212.17 | #N/A | 0.47 | 925 | 920 | 341 | 609 | #N/A | 31.86 | #N/A | #N/A | #N/A
2010-01-08 | 1212.74 | #N/A | 0.84 | 925 | 920 | 377 | 626 | #N/A | 31.86 | 538.6 | 224 | 0
2010-01-07 | 1213.26 | #N/A | 1.26 | 934 | 940 | 369 | 639 | #N/A | 31.86 | 538.6 | 227 | 0
2010-01-06 | 1213.8 | #N/A | 1.6 | 936 | 940 | 418 | 655 | #N/A | 31.86 | 538.7 | 227 | 0
2010-01-05 | 1214.29 | #N/A | 1.99 | 941 | 940 | 920 | 673 | #N/A | #N/A | 538.8 | 227 | 0
2010-01-04 | 1214.33 | #N/A | 2.03 | 942 | 940 | 506 | 684 | #N/A | 31.86 | 536.05 | 226 | 0
2010-01-03 | 1214.74 | #N/A | 2.44 | 934 | 940 | 527 | 724 | #N/A | 31.86 | 536.05 | 226 | 0
2010-01-02 | 1215.12 | #N/A | 2.82 | 940 | 940 | 641 | 797 | #N/A | 31.86 | #N/A | #N/A | #N/A
2010-01-01 | 1215.4 | #N/A | 3.1 | 937 | 940 | 625 | 836 | #N/A | 31.86 | #N/A | #N/A | #N/A