## nyscc_hinckleyres_2013
Date | Hinckley Reservoir Elevation | Hinckley Reservoir Comparison to Elevation Trigger1 | Hinckley Reservoir Comparison to Normal Elevation2 | Hinckley Reservoir Discharge | 1920 Operating Diagram Release4 | Hinckley Reservoir Inflow | Hinckley Reservoir 30-Day Running Average Inflow5 | Wilmurt Streamgage Flow | Mohawk Valley Water Authority Withdrawal | Delta Reservoir Elevation | Delta Reservoir Discharge | Nine Mile Feeder Discharge
| (ft) | (ft) | (ft) | (cfs)3 | (cfs) | (cfs) | (cfs) | (cfs) | (cfs) | (ft) | (cfs) | (cfs)
2013-12-31 | 1219.13 | 21.13 | 6.63 | 1404 | 1200 | 465 | 1066 | 412 | 33.99
2013-12-30 | 1219.91 | 21.91 | 7.51 | 1373 | 1200 | 507 | 1083 | 501 | 35.59
2013-12-29 | 1220.62 | 22.62 | 8.12 | 1376 | 1060 | 685 | 1094 | 555 | 36.42
2013-12-28 | 1221.18 | 23.18 | 8.48 | 845 | 1060 | 210 | 1112 | 630 | 36.88
2013-12-27 | 1221.69 | 23.69 | 8.69 | 848 | 1060 | 270 | 1187 | 736 | 34.19
2013-12-26 | 1222.15 | 24.15 | 9.05 | 849 | 1060 | 552 | 1243 | 912 | 36.41
2013-12-25 | 1222.4 | 24.4 | 9.1 | 849 | 870 | 838 | 1251 | 1200 | 37.51
2013-12-24 | 1222.42 | 24.42 | 8.92 | 1416 | 870 | 3042 | 1245 | 2190 | 37.33
2013-12-23 | 1221.18 | 23.18 | 7.68 | 1079 | 870 | 5987 | 1172 | 4200 | 33.77
2013-12-22 | 1217.2 | 19.2 | 3.6 | 719 | 940 | 6025 | 1012 | 4870 | 35.5
2013-12-21 | 1212.51 | 14.51 | -0.99 | 711 | 940 | 1253 | 844 |  | 37.01
2013-12-20 | 1212.02 | 14.02 | -1.58 | 1150 | 940 | 414 | 840 | 363 | 34.35
2013-12-19 | 1212.73 | 14.73 | -1.17 | 1425 | 940 | 302 | 877 | 373 | 36.57
2013-12-18 | 1213.78 | 15.78 | -0.22 | 1433 | 1370 | 258 | 956 | 465 | 35.23
2013-12-17 | 1214.85 | 16.85 | 0.65 | 1436 | 1370 | 262 | 1032 | 424 | 34 | 544.3 | 1100 | 0
2013-12-16 | 1215.9 | 17.9 | 1.6 | 1544 | 1370 | 372 | 1046 | 395 | 33.89 | 544.1 | 1090 | 0
2013-12-15 | 1216.93 | 18.93 | 2.53 | 1604 | 1400 | 378 | 1055 | 390 | 34.68
2013-12-14 | 1217.98 | 19.98 | 3.48 | 1615 | 1400 | 424 | 1064 |  | 35.18
2013-12-13 | 1218.98 | 20.98 | 4.48 | 1590 | 1400 | 436 | 1077 | 363 | 34.53 | 545.9 | 1020 | 0
2013-12-12 | 1219.93 | 21.93 | 5.63 | 1122 | 1400 | 471 | 1089 | 368 | 33.6 | 546.5 | 1030 | 0
2013-12-11 | 1220.47 | 22.47 | 6.37 | 692 | 1400 | 590 | 1107 | 422 | 32.8 | 547.1 | 1040 | 0
2013-12-10 | 1220.57 | 22.57 | 6.57 | 692 | 1400 | 682 | 1123 | 516 | 34.65 | 547.6 | 1050 | 0
2013-12-09 | 1220.59 | 22.59 | 6.59 | 1224 | 1400 | 844 | 1138 | 585 | 32.9 | 548.1 | 1050 | 0
2013-12-08 | 1220.91 | 22.91 | 7.01 | 1592 | 1400 | 991 | 1154 | 716 | 33.46
2013-12-07 | 1221.4 | 23.4 | 7.6 | 1595 | 1400 | 1366 | 1182 |  | 33.45
2013-12-06 | 1221.59 | 23.59 | 7.89 | 1596 | 1400 | 1271 | 1188 | 917 | 33.79 | 549.1 | 1100 | 0
2013-12-05 | 1221.86 | 23.86 | 8.26 | 1423 | 1400 | 684 | 1175 | 483 | 34.56 | 549.4 | 1070 | 0
2013-12-04 | 1222.45 | 24.45 | 8.65 | 1596 | 1400 | 688 | 1185 | 501 | 34.22 | 549.9 | 479 | 0
2013-12-03 | 1223.16 | 25.16 | 9.16 | 1588 | 1400 | 766 | 1201 | 580 | 35.56 | 550 | 479 | 0
2013-12-02 | 1223.79 | 25.79 | 9.69 | 1594 | 1400 | 960 | 1254 | 667 | 32.28 | 550.1 | 489 | 0
2013-12-01 | 1224.28 | 26.28 | 10.28 | 1601 | 1400 | 962 | 1405 | 756 | 33.75
2013-11-30 | 1224.77 | 26.77 | 10.97 | 1675 | 1400 | 863 | 1625 | 775 | 32.46
2013-11-29 | 1225.38 | 27.38 | 11.78 | 2098 | 1400 | 1202 | 1618 | 1110 | 33.54 | 550.7 | 932 | 0
2013-11-28 | 1226.04 | 28.04 | 12.64 | 2159 | 1400 | 2485 | 1595 | 1830 | 33.73
2013-11-27 | 1225.82 | 27.82 | 12.72 | 1104 | 1400 | 1935 | 1532 | 1680 | 34.44 | 550.2 | 749 | 0
2013-11-26 | 1225.13 | 27.13 | 12.13 | 753 | 1400 | 807 | 1491 | 605 | 35.08 | 549.9 | 474 | 0
2013-11-25 | 1225.11 | 27.11 | 12.31 | 813 | 1400 | 633 | 1485 | 613 | 30.51 | 550.1 | 474 | 0
2013-11-24 | 1225.26 | 27.26 | 12.56 | 947 | 1400 | 867 | 1488 | 808 | 33.79
2013-11-23 | 1225.33 | 27.33 | 12.63 | 863 | 1400 | 1185 | 1484 | 1020 | 33.72
2013-11-22 | 1225.11 | 27.11 | 12.61 | 771 | 1400 | 992 | 1468 | 834 | 33.18 | 550.2 | 533 | 0
2013-11-21 | 1224.96 | 26.96 | 12.66 | 708 | 1400 | 1127 | 1459 | 923 | 33.33 | 550.4 | 645 | 0
2013-11-20 | 1224.67 | 26.67 | 12.67 | 715 | 1400 | 1527 | 1450 | 1290 | 33.98 | 550.6 | 817 | 0
2013-11-19 | 1224.08 | 26.08 | 12.18 | 1015 | 1400 | 2658 | 1437 | 2070 | 33.1 | 550.7 | 1040 | 0
2013-11-18 | 1222.86 | 24.86 | 11.06 | 1612 | 1400 | 2558 | 1382 | 2150 | 33.61 | 550.2 | 630 | 0
2013-11-17 | 1222.15 | 24.15 | 10.35 | 1096 | 1400 | 672 | 1330 | 461 | 33.25
2013-11-16 | 1222.5 | 24.5 | 10.9 | 710 | 1400 | 635 | 1337 | 442 | 33.6
2013-11-15 | 1222.57 | 24.57 | 11.07 | 710 | 1400 | 667 | 1329 | 477 | 34.33 | 549.9 | 515 | 0
2013-11-14 | 1222.62 | 24.62 | 11.12 | 1130 | 1400 | 799 | 1315 | 531 | 32.96 | 550.1 | 520 | 0
2013-11-13 | 1222.89 | 24.89 | 11.29 | 1621 | 1400 | 802 | 1299 | 616 | 34.38 | 550.2 | 551 | 0
2013-11-12 | 1223.52 | 25.52 | 12.02 | 1613 | 1400 | 1015 | 1283 | 763 | 33.33 | 550.3 | 621 | 0
2013-11-11 | 1223.99 | 25.99 | 12.59 | 1613 | 1400 | 1076 | 1260 | 869 | 32.3
2013-11-10 | 1224.4 | 26.4 | 13.1 | 1606 | 1400 | 1131 | 1239 | 861 | 33.62
2013-11-09 | 1224.77 | 26.77 | 13.67 | 1611 | 1400 | 1299 | 1219 | 1050 | 33.73
2013-11-08 | 1225.01 | 27.01 | 14.31 | 1062 | 1400 | 1845 | 1202 | 1440 | 3294 | 550.6 | 372 | 0
2013-11-07 | 1224.45 | 26.45 | 13.65 | 875 | 1400 | 1552 | 1187 | 1100 | 34.15 | 550 | 654 | 0
2013-11-06 | 1223.96 | 25.96 | 13.36 | 1618 | 910 | 883 | 1218 | 654 | 34.4 | 550.2 | 659 | 0
2013-11-05 | 1224.52 | 26.52 | 14.02 | 1627 | 910 | 985 | 1234 | 814 | 32.86 | 550.5 | 888 | 0
2013-11-04 | 1225.01 | 27.01 | 14.51 | 1456 | 910 | 1143 | 1216 | 1100 | 33.46 | 550.9 | 734 | 0
2013-11-03 | 1225.26 | 27.26 | 14.96 | 946 | 880 | 2367 | 1183 | 1710 | 32.09
2013-11-02 | 1224.18 | 26.18 | 13.78 | 915 | 880 | 5488 | 1108 | 3560 | 32.66
2013-11-01 | 1220.69 | 22.69 | 10.29 | 441 | 880 | 7570 | 929 | 6460 | 32.74 | 550.5 | 1110 | 0
Work continues to repair Erie Canal lock E13. Various discharges out of Hinckley are required in the upcoming days, to aid the repairs and enable navigation.
2013-10-31 | 1214.73 | 16.73 | 4.23 | 203 | 880 | 638 | 680 | 487 | 32.4 | 549.1 | 175 | 0
2013-10-30 | 1214.36 | 16.36 | 3.76 | 203 | 850 | 526 | 662 | 438 | 33.6 | 549 | 175 | 0
2013-10-29 | 1214.09 | 16.09 | 3.39 | 202 | 850 | 603 | 650 | 488 | 33.68 | 549 | 175 | 0
2013-10-28 | 1213.73 | 15.73 | 2.93 | 201 | 850 | 681 | 637 | 541 | 32.63 | 548.8 | 175 | 0
2013-10-27 | 1213.31 | 15.31 | 2.61 | 200 | 810 | 650 | 619 | 514 | 32.74
2013-10-26 | 1212.92 | 14.92 | 2.32 | 199 | 810 | 724 | 604 | 503 | 31.39
2013-10-25 | 1212.46 | 14.46 | 1.86 | 198 | 810 | 743 | 588 | 527 | 32.13 | 547.9 | 196 | 0
2013-10-24 | 1211.97 | 13.97 | 1.47 | 197 | 810 | 711 | 569 | 520 | 36.31 | 547.4 | 170 | 0
2013-10-23 | 1211.5 | 13.5 | 1 | 202 | 690 | 711 | 556 | 589 | 33.26 | 547.4 | 170 | 0
2013-10-22 | 1211.04 | 13.04 | 0.54 | 208 | 690 | 862 | 544 | 678 | 32.72 | 547.3 | 172 | 0
2013-10-21 | 1210.43 | 12.43 | 0.03 | 206 | 690 | 1122 | 528 | 887 | 33.31 | 547.2 | 172 | 0
2013-10-20 | 1209.55 | 11.55 | -0.65 | 204 | 610 | 1029 | 498 | 824 | 34.99
2013-10-19 | 1208.74 | 10.74 | -1.36 | 202 | 610 | 989 | 471 | 650 | 31.15
2013-10-18 | 1207.96 | 9.96 | -2.04 | 199 | 610 | 880 | 446 | 615 | 33.05 | 546.6 | 191 | 0
2013-10-17 | 1207.28 | 9.28 | -2.52 | 203 | 610 | 390 | 424 | 229 | 35.15 | 546.4 | 175 | 0
2013-10-16 | 1207.11 | 9.11 | -2.69 | 210 | 540 | 258 | 420 | 194 | 33.8 | 546.4 | 167 | 0
2013-10-15 | 1207.08 | 9.08 | -2.72 | 210 | 540 | 304 | 424 | 204 | 31.1 | 546.4 | 167 | 0
2013-10-14 | 1207.01 | 8.81 | -2.69 | 210 | 540 | 327 | 426 | 220 | 32.92 | 546.5 | 167 | 0
2013-10-13 | 1206.91 | 8.51 | -2.89 | 210 | 460 | 327 | 433 | 246 | 33.92
2013-10-12 | 1206.81 | 8.31 | -3.09 | 209 | 460 | 440 | 448 | 290 | 35.57
2013-10-11 | 1206.59 | 7.89 | -3.41 | 209 | 460 | 552 | 463 | 362 | 34.33 | 546.5 | 170 | 0
2013-10-10 | 1206.25 | 7.35 | -3.75 | 207 | 460 | 771 | 462 | 488 | 32.04 | 546.5 | 170 | 0
2013-10-09 | 1205.67 | 6.57 | -4.33 | 307 | 450 | 1408 | 444 | 753 | 32.62 | 546.4 | 183 | 16
2013-10-08 | 1204.47 | 5.27 | -5.53 | 433 | 450 | 2469 | 404 | 1330 | 30.96 | 546.2 | 231 | 16
The Canal Corporation coordinated with NYPA and Brookfield to release 200 cfs beginning on October 8, to assist with the repairs at Lock E-13.
2013-10-07 | 1202.13 | 2.72 | -7.88 | 452 | 450 | 1377 | 328 | 693 | 30.33 | 545.4 | 210 | 16
2013-10-06 | 1201.03 | 1.43 | -8.97 | 491 | 480 | 437 | 290 | 188 | 32.05
2013-10-05 | 1201.12 | 1.32 | -9.08 | 1028 | 480 | 152 | 283 | 151 | 30.93
2013-10-04 | 1202.22 | 2.32 | -8.08 | 1082 | 480 | 115 | 286 | 115 | 31.73
2013-10-03 | 1203.4 | 3.3 | -7 | 764 | 480 | 132 | 293 | 95 | 33.35
As of October 3, the Hinckley reservoir 30 day inflow trigger became ACTIVATED. Routine Communication Protocols were utilized.
2013-10-02 | 1204.15 | 3.85 | -6.35 | 1384 | 500 | 75 | 303 | 99 | 32.1 | 547.3 | 1240 | 16
2013-10-01 | 1205.64 | 5.14 | -4.86 | 574 | 500 | 119 | 313 | 102 | 31.59 | 548 | 188 | 16
2013-09-30 | 1206.16 | 5.56 | -4.44 | 492 | 500 | 162 | 321 | 106 | 31.58 | 548.1 | 188 | 16
2013-09-29 | 1206.55 | 5.75 | -4.15 | 497 | 500 | 205 | 327 | 111 | 30.85
2013-09-28 | 1206.89 | 5.89 | -3.71 | 498 | 500 | 157 | 330 |  | 30.86
2013-09-27 | 1207.28 | 6.08 | -3.22 | 496 | 500 | 198 | 333 | 123 | 32.05 | 548.3 | 188 | 16
2013-09-26 | 1207.62 | 6.22 | -2.88 | 498 | 500 | 221 | 333 | 134 | 31.82 | 548.4 | 188 | 16
2013-09-25 | 1207.94 | 6.44 | -2.66 | 522 | 520 | 177 | 333 | 149 | 31.19 | 548.4 | 188 | 16
2013-09-24 | 1208.3 | 6.6 | -2.4 | 524 | 520 | 314 | 333 | 175 | 33.46 | 548.5 | 191 | 16
2013-09-23 | 1208.55 | 6.65 | -2.25 | 525 | 520 | 361 | 328 | 219 | 32.14 | 548.5 | 191 | 16
2013-09-22 | 1208.74 | 6.64 | -1.96 | 610 | 540 | 373 | 321 | 227 | 32.88
2013-09-21 | 1209.01 | 6.81 | -1.69 | 603 | 540 | 243 | 312 |  | 34.76
2013-09-20 | 1209.4 | 7 | -1.3 | 609 | 540 | 220 | 312 | 130 | 36.17 | 548.5 | 188 | 16
2013-09-19 | 1209.82 | 7.22 | -0.78 | 613 | 540 | 220 | 308 | 144 | 33.61 | 548.5 | 191 | 16
2013-09-18 | 1210.23 | 7.43 | -0.37 | 518 | 520 | 221 | 307 | 162 | 33.94 | 548.6 | 191 | 16
2013-09-17 | 1210.55 | 7.65 | -0.15 | 522 | 520 | 273 | 305 | 186 | 32.1 | 548.7 | 191 | 16
2013-09-16 | 1210.82 | 7.72 | 0.12 | 522 | 520 | 373 | 303 | 209 | 33.58 | 548.8 | 191 | 16
On September 16, the 30-day inflow rose above the 300 cfs low inflow trigger. The low inflow trigger is DE-ACTIVATED. Normal monitoring of Hinckley reservoir has resumed.
2013-09-15 | 1210.99 | 7.69 | 0.19 | 467 | 470 | 368 | 298 | 235 | 31.56
2013-09-14 | 1211.11 | 7.61 | 0.21 | 307 | 470 | 537 | 293 | 317 | 32.95
2013-09-13 | 1210.92 | 7.32 | 0.02 | 363 | 470 | 794 | 284 | 422 | 34.36 | 548.8 | 199 | 16
The Canal Corporation instructed NYPA to release 250 cfs on September 13 and 14, to assist with water management at Lock E-13 while repairs were completed. The under-discharge of 270 cfsd will be made up to the Operating Diagram over a 4 day period (September 19-22, 2013).
2013-09-12 | 1210.53 | 6.73 | -0.37 | 466 | 470 | 868 | 266 | 419 | 32.38 | 548.7 | 201 | 16
2013-09-11 | 1210.16 | 6.16 | -0.94 | 479 | 475 | 532 | 246 | 230 | 32.92 | 548.5 | 191 | 16
2013-09-10 | 1210.14 | 5.94 | -1.16 | 477 | 475 | 227 | 237 | 164 | 32.7 | 548.5 | 193 | 16
2013-09-09 | 1210.41 | 6.01 | -1.09 | 480 | 475 | 208 | 237 | 122 | 31.69 | 548.5 | 191 | 16
2013-09-08 | 1210.7 | 6.2 | -1.1 | 459 | 460 | 210 | 237 | 136 | 32.95
2013-09-07 | 1210.97 | 6.27 | -1.03 | 456 | 460 | 230 | 240 |  | 33.61
2013-09-06 | 1211.21 | 6.31 | -0.99 | 442 | 460 | 215 | 241 | 173
2013-09-05 | 1211.46 | 6.36 | -0.94 | 461 | 460 | 237 | 243 | 196 |  | 548.8 | 193 | 16
2013-09-04 | 1211.7 | 6.5 | -0.9 | 423 | 420 | 348 | 246 | 207 | 26.09 | 548.9 | 193 | 16
2013-09-03 | 1211.8 | 6.4 | -0.9 | 423 | 420 | 426 | 246 | 235 | 22.33 | 548.9 | 196 | 16
2013-09-02 | 1211.82 | 6.22 | -1.08 | 423 | 420 | 373 | 249 | 186 | 29.92
2013-09-01 | 1211.9 | 6.1 | -1.1 | 420 | 420 | 365 | 257 | 207 | 30.93
2013-08-31 | 1211.97 | 6.07 | -1.03 | 414 | 420 | 341 | 270 | 174 | 34.27
2013-08-30 | 1212.07 | 5.97 | -1.03 | 418 | 420 | 274 | 272 | 168 | 33.66 | 548.9 | 193 | 16
2013-08-29 | 1212.24 | 5.94 | -0.96 | 419 | 420 | 244 | 276 | 138 | 31.84 | 548.9 | 191 | 16
2013-08-28 | 1212.43 | 5.93 | -0.87 | 414 | 420 | 212 | 282 | 131 |  | 549 | 193 | 16
2013-08-27 | 1212.65 | 6.05 | -0.95 | 414 | 420 | 212 | 296 | 129 | 30.34 | 549 | 193 | 16
As of August 27, the Hinckley reservoir 30 day inflow trigger became ACTIVATED. Routine Communication Protocols were utilized.
2013-08-26 | 1212.87 | 6.07 | -0.93 | 417 | 420 | 187 | 301 | 108 |  | 549 | 193 | 16
2013-08-25 | 1213.12 | 6.12 | -0.98 | 409 | 410 | 151 | 305 | 111 | 32.43
2013-08-24 | 1213.39 | 6.19 | -0.91 | 412 | 410 | 152 | 313 | 100 | 32.71
2013-08-23 | 1213.65 | 6.25 | -0.75 | 415 | 410 | 126 | 325 | 96 | 34.2
2013-08-22 | 1213.95 | 6.45 | -0.55 | 413 | 410 | 231 | 342 | 95 | 32.21
2013-08-21 | 1214.14 | 6.44 | -0.56 | 460 | 460 | 113 | 354 | 156 | 34.68 | 549.4 | 196 | 16
2013-08-20 | 1214.48 | 6.58 | -0.42 | 462 | 460 | 168 | 362 | 176 | 31.3 | 549.5 | 196 | 16
2013-08-19 | 1214.78 | 6.68 | -0.32 | 463 | 460 | 166 | 369 | 176 | 32.04 | 549.7 | 196 | 16
2013-08-18 | 1215.07 | 6.87 | -0.23 | 471 | 470 | 228 | 375 | 176 | 32.04
2013-08-17 | 1215.32 | 6.92 | -0.18 | 472 | 470 | 199 | 381 | 176 | 32.85
2013-08-16 | 1215.58 | 6.98 | -0.12 | 466 | 470 | 220 | 388 | 178 | 33.16 | 549.8 | 196 | 16
2013-08-15 | 1215.83 | 7.03 | -0.07 | 470 | 470 | 279 | 395 | 183 | 30.8 | 549.8 | 196 | 16
2013-08-14 | 1216.02 | 7.12 | 0.02 | 493 | 500 | 245 | 405 | 183 | 34.25 | 549.9 | 196 | 16
2013-08-13 | 1216.27 | 7.17 | 0.17 | 495 | 500 | 274 | 421 | 176 | 34.02 | 549.9 | 199 | 16
2013-08-12 | 1216.49 | 7.19 | 0.19 | 498 | 500 | 275 | 440 | 176 | 30.73 | 550 | 196 | 16
2013-08-11 | 1216.71 | 7.21 | 0.41 | 512 | 510 | 202 | 464 | 185 | 33.98
2013-08-10 | 1217 | 7.4 | 0.6 | 513 | 510 | 230 | 495 | 196 | 34.88
2013-08-09 | 1217.27 | 7.47 | 0.77 | 511 | 510 | 284 | 558 | 195 | 31.67 | 550.2 | 213 | 16
2013-08-08 | 1217.49 | 7.49 | 0.79 | 512 | 510 | 255 | 597 | 201 | 31.64 | 550.2 | 228 | 16
2013-08-07 | 1217.73 | 7.53 | 0.93 | 562 | 520 | 275 | 645 | 215 | 32.23 | 550.3 | 269 | 16
2013-08-06 | 1218 | 7.6 | 1 | 557 | 520 | 327 | 711 | 243 | 31.64 | 550.4 | 225 | 16
2013-08-05 | 1218.22 | 7.72 | 1.12 | 562 | 520 | 360 | 757 | 286 | 33.25 | 550.5 | 219 | 16
2013-08-04 | 1218.42 | 7.72 | 1.22 | 526 | 520 | 531 | 821 | 344 | 33.92
2013-08-03 | 1218.44 | 7.54 | 1.04 | 526 | 520 | 590 | 903 |  | 34.81
2013-08-02 | 1218.42 | 7.32 | 0.92 | 527 | 520 | 767 | 1050 | 566 | 34.78 | 550.6 | 360 | 16
2013-08-01 | 1218.25 | 7.05 | 0.55 | 526 | 520 | 406 | 1270 | 270 | 32.09 | 550.5 | 240 | 16
2013-07-31 | 1218.37 | 6.97 | 0.67 | 531 | 530 | 390 | 1504 | 276 | 34.81 | 550.6 | 297 | 16
2013-07-30 | 1218.51 | 6.91 | 0.61 | 400 | 530 | 434 | 1556 | 350 | 32.77 | 550.6 | 368 | 16
130 cfsd were discharged below the Operating Diagram release because of a planned diving inspection at Hinckley dam today. This water will be made up to the Operating Diagram over a 3 day period (August 5-7, 2013).
2013-07-29 | 1218.51 | 6.71 | 0.51 | 529 | 530 | 622 | 1654 | 480 | 34.05
2013-07-28 | 1218.47 | 6.57 | 0.37 | 528 | 530 | 349 | 1824 | 272 | 33.1
2013-07-27 | 1218.64 | 6.54 | 0.34 | 532 | 530 | 328 | 1989 | 259 | 35.34
2013-07-26 | 1218.83 | 6.53 | 0.43 | 530 | 530 | 385 | 2038 | 316 | 35
2013-07-25 | 1218.98 | 6.48 | 0.38 | 524 | 530 | 498 | 2099 | 424 | 31.61 | 550 | 222 | 16
2013-07-24 | 1219.03 | 6.43 | 0.33 | 556 | 550 | 650 | 2116 | 552 | 34.02 | 550 | 225 | 16
2013-07-23 | 1218.98 | 6.18 | 0.08 | 555 | 550 | 585 | 2123 | 450
2013-07-22 | 1218.98 | 5.98 | -0.02 | 554 | 550 | 349 | 2116 | 279 | 31.39 | 550.1 | 234 | 16
2013-07-21 | 1219.17 | 5.97 | 0.07 | 914 | 900 | 377 | 2119 | 315 | 37.39
2013-07-20 | 1219.64 | 6.24 | 0.44 | 936 | 900 | 363 | 2125 |  | 38.43
2013-07-19 | 1220.13 | 6.63 | 0.73 | 1173 | 900 | 409 | 2138 | 294 | 39.62
2013-07-18 | 1220.76 | 7.06 | 1.16 | 1607 | 900 | 395 | 2155 | 336 | 37.01
2013-07-17 | 1221.74 | 7.84 | 1.94 | 1576 | 1720 | 437 | 2182 | 378 | 36.93 | 550.5 | 234 | 16
The Canal Corporation authorized NYPA to maintain the current discharge to aid navigation into Friday morning July 19, at which time the plant discharge will return to the 900 cfs Operating Diagram discharge.
2013-07-16 | 1222.64 | 8.54 | 2.74 | 1628 | 1720 | 567 | 2209 | 451 | 35.98 | 550.5 | 259 | 16
2013-07-15 | 1223.47 | 9.27 | 3.47 | 1632 | 1720 | 720 | 2227 | 558 | 34.33 | 550.8 | 538 | 16
2013-07-14 | 1224.18 | 9.78 | 4.08 | 1609 | 1800 | 852 | 2261 | 682 | 35.43
2013-07-13 | 1224.77 | 10.17 | 4.57 | 1640 | 1800 | 1008 | 2325 |  | 34.81
2013-07-12 | 1225.26 | 10.46 | 5.06 | 1838 | 1800 | 1132 | 2374 | 1170 | 35.29 | 550.9 | 910 | 16
The Canal Corporation instructed NYPA to return to the Operating Diagram discharge.
2013-07-11 | 1225.79 | 10.89 | 5.49 | 1797 | 1800 | 2101 | 2453 | 1790 | 33.98 | 551.1 | 1100 | 16
2013-07-10 | 1225.6 | 10.5 | 5.1 | 1516 | 1800 | 1449 | 2496 | 1210 | 34.08 | 550.6 | 425 | 16
2013-07-09 | 1225.67 | 10.37 | 5.07 | 1974 | 1800 | 1704 | 2487 |  | 31.86 | 550.8 | 616 | 16
2013-07-08 | 1225.89 | 10.39 | 5.09 | 2154 | 1800 | 2256 | 2473 | 1580 | 31.75 | 550.8 | 760 | 16
2013-07-07 | 1225.84 | 10.24 | 4.84 | 2046 | 1800 | 1707 | 2467 | 473 | 34.69
2013-07-06 | 1226.11 | 10.31 | 5.01 | 2602 | 1800 | 2296 | 2452 |  | 31.63
2013-07-05 | 1226.36 | 10.36 | 5.16 | 3897 | 1800 | 2971 | 2393 | 991 | 32.91 | 550.8 | 734 | 16
2013-07-04 | 1227.04 | 10.84 | 5.74 | 5757 | 1800 | 4995 | 2310 | 1710 | 32.64
The Canal Corporation instructed NYPA to continue releasing 920 cfs through its powerhouse, rather than go to the Operating Diagram release of 1800 cfs, because of the recent flooding downstream.
2013-07-03 | 1227.6 | 11.2 | 6.2 | 7526 | 920 | 7386 | 2159 | 2950 | 31.94 | 551.5 | 2010 | 16
2013-07-02 | 1227.72 | 11.22 | 6.12 | 4947 | 920 | 7421 | 1934 | 4500 | 34.59
2013-07-01 | 1225.99 | 9.29 | 4.29 | 2691 | 920 | 1942 | 1713 | 1460 | 33.07
2013-06-30 | 1226.55 | 9.65 | 4.65 | 4113 | 580 | 3393 | 1671 | 2100 | 32.48
2013-06-29 | 1227.09 | 9.99 | 5.09 | 4416 | 580 | 5718 | 1618 |  | 33.32
2013-06-28 | 1226.18 | 8.98 | 3.98 | 826 | 580 | 5289 | 1472 | 4290 | 34.8 | 550.6 | 921 | 16
2013-06-27 | 1222.91 | 5.51 | 0.71 | 586 | 580 | 1799 | 1335 | 1290 | 30.95 | 550.5 | 256 | 16
2013-06-26 | 1222.01 | 4.41 | -0.29 | 962 | 960 | 2219 | 1320 | 1700 | 31.41 | 550.5 | 222 | 16
2013-06-25 | 1221.06 | 3.26 | -1.34 | 959 | 960 | 994 | 1310 | 901 | 33.31 | 550.5 | 213 | 16
2013-06-24 | 1221.06 | 3.16 | -1.44 | 1150 | 960 | 874 | 1375 | 674 | 32.96 | 550.5 | 204 | 16
2013-06-23 | 1221.3 | 3.2 | -1.4 | 1452 | 1450 | 386 | 1419 | 384 | 33.55
2013-06-22 | 1222.15 | 3.85 | -0.55 | 1450 | 1450 | 432 | 1457 | 387 | 32.34
2013-06-21 | 1222.96 | 4.46 | 0.26 | 1452 | 1450 | 549 | 1482 | 464 | 34.11 | 550.6 | 297 | 16
2013-06-20 | 1223.67 | 5.07 | 0.77 | 1523 | 1450 | 740 | 1495 | 585 | 32.21 | 550.7 | 385 | 16
2013-06-19 | 1224.28 | 5.48 | 1.28 | 1619 | 1800 | 928 | 1487 | 781 | 32.34
2013-06-18 | 1224.82 | 5.82 | 1.62 | 1632 | 1800 | 1200 | 1470 |  | 31.23 | 550.8 | 739 | 16
2013-06-17 | 1225.16 | 5.96 | 1.86 | 1620 | 1800 | 1253 | 1445 | 1080 | 31.89 | 551.9 | 796 | 16
2013-06-16 | 1225.45 | 6.05 | 2.15 | 1513 | 900 | 1111 | 1419 | 948 | 32.61
2013-06-15 | 1225.77 | 6.27 | 2.47 | 2212 | 900 | 1740 | 1399 | 1250 | 31.4
2013-06-14 | 1226.14 | 6.44 | 2.84 | 2660 | 900 | 2762 | 1363 | 2000 | 31.53 | 551.4 | 1560 | 16
2013-06-13 | 1226.09 | 6.19 | 2.69 | 2465 | 900 | 2500 | 1294 | 1780 |  | 551 | 828 | 16
2013-06-12 | 1226.09 | 5.99 | 2.59 | 1313 | 560 | 3491 | 1236 | 2550 | 30.51 | 551.2 | 1280 | 16
2013-06-11 | 1224.52 | 4.32 | 0.92 | 569 | 560 | 3393 | 1147 | 2700 | 31.05 | 551 | 1120 | 16
2013-06-10 | 1222.42 | 2.02 | -1.28 | 567 | 560 | 1173 | 1073 | 775 | 30.74 | 550.7 | 529 | 16
2013-06-09 | 1221.98 | 1.38 | -1.82 | 776 | 770 | 1283 | 1064 | 1040 | 30.03
2013-06-08 | 1221.62 | 0.82 | -2.18 | 772 | 770 | 2081 | 1039 |  | 32.22
On June 8, reservoir water levels rose above the low elevation trigger. The low elevation trigger is DE-ACTIVATED. Normal monitoring of Hinckley reservoir has resumed
2013-06-07 | 1220.62 | -0.28 | -3.28 | 1050 | 770 | 1270 | 985 | 955 | 33.68 | 550.6 | 439 | 16
2013-06-06 | 1220.47 | -0.63 | -3.53 | 1596 | 770 | 516 | 957 | 321 | 29.86 | 550.4 | 266 | 16
As of June 6 the Hinckley reservoir low elevation trigger became ACTIVATED. Routine Communication Protocols were utilized.
2013-06-05 | 1221.35 | 0.05 | -2.75 | 1615 | 1100 | 485 | 958 | 363 | 30.61 | 550.4 | 351 | 16
2013-06-04 | 1222.25 | 0.75 | -1.95 | 1264 | 1100 | 469 | 960 | 440 | 32.59 | 550.5 | 225 | 16
The Canal Corporation authorized an increase from the Operating Diagram discharge, for a preemtive drawdown of Hinckley Reservoir to minimize flooding on the Erie Canal associated forecasted heavy rain. An additional 1785 cfsd was released from June 4 - 7.
2013-06-03 | 1222.89 | 1.29 | -1.41 | 1030 | 1100 | 614 | 967 | 541 | 31.98 | 550.5 | 266 | 16
2013-06-02 | 1223.23 | 1.43 | -0.97 | 1195 | 770 | 809 | 972 | 558 | 34.04
2013-06-01 | 1223.55 | 1.55 | -0.65 | 1117 | 770 | 667 | 977 | 599 | 33.45
The Canal Corporation authorized an increase in the Operating Diagram discharge, to aid navigation in the Erie Canal on June 1 and 2. An additional 772 cfsd was discharged.
2013-05-31 | 1224.62 | 2.62 | 0.42 | 773 | 770 | 1824 | 993 | 784 | 30.36 | 550.8 | 547 | 16
2013-05-30 | 1223.86 | 1.86 | -0.34 | 778 | 770 | 1331 | 975 | 1040 |  | 550.9 | 709 | 16
2013-05-29 | 1223.47 | 1.47 | -0.73 | 579 | 580 | 1160 | 976 | 1000 | 32.87 | 550.6 | 312 | 16
2013-05-28 | 1223.06 | 1.06 | -1.24 | 584 | 580 | 1353 | 986 | 1120 | 29.67
2013-05-27 | 1222.5 | 0.5 | -1.8 | 587 | 580 | 1913 | 985 | 1670 | 30.56
On May 27, reservoir water levels rose above the low elevation trigger. The low elevation trigger is DE-ACTIVATED. Normal monitoring of Hinckley reservoir has resumed.
2013-05-26 | 1221.49 | -0.51 | -2.81 | 611 | 600 | 2950 | 978 | 2490 | 30.93
2013-05-25 | 1219.66 | -2.34 | -4.74 | 602 | 600 | 2188 | 960 | 1910 | 31.12
2013-05-24 | 1218.39 | -3.61 | -6.01 | 605 | 600 | 1546 | 982 | 1300 | 34.37 | 550.5 | 316 | 16
2013-05-23 | 1217.64 | -4.36 | -6.76 | 604 | 600 | 1186 | 983 | 991 | 32.45 | 550.3 | 320 | 16
2013-05-22 | 1217.17 | -4.83 | -7.23 | 741 | 740 | 914 | 999 | 932 | 35.32 | 550.2 | 225 | 16
2013-05-21 | 1217.02 | -4.98 | -7.48 | 744 | 740 | 517 | 1041 | 357 | 32.88 | 550.1 | 222 | 16
2013-05-20 | 1217.24 | -4.76 | -7.26 | 746 | 740 | 401 | 1156 | 336 | 32.65 | 550.1 | 199 | 16
2013-05-19 | 1217.56 | -4.44 | -6.94 | 799 | 800 | 453 | 1397 | 344 | 33.8
2013-05-18 | 1217.88 | -4.12 | -6.62 | 802 | 800 | 482 | 1526 |  | 34.78
2013-05-17 | 1218.17 | -3.83 | -6.33 | 800 | 800 | 508 | 1647 | 453 | 33.81 | 550.2 | 222 | 16
2013-05-16 | 1218.44 | -3.56 | -6.06 | 809 | 800 | 663 | 1788 | 567 | 31.66
2013-05-15 | 1218.59 | -3.41 | -6.01 | 918 | 950 | 682 | 1834 | 562 | 32.85 | 550.3 | 253 | 0
2013-05-14 | 1218.81 | -3.19 | -5.79 | 960 | 950 | 783 | 1870 | 619 | 33.04 | 550.3 | 276 | 0
2013-05-13 | 1218.98 | -3.02 | -5.52 | 1010 | 950 | 802 | 1931 | 722 | 31.04 | 550.3 | 308 | 0
2013-05-12 | 1219.17 | -2.83 | -5.23 | 1161 | 1070 | 1193 | 2020 | 934 | 34.64
2013-05-11 | 1219.17 | -2.83 | -5.23 | 1082 | 1070 | 904 | 2124 | 829 | 35.12
2013-05-10 | 1219.35 | -2.65 | -4.95 | 1082 | 1070 | 510 | 2296 | 469 | 32.88 | 550.3 | 246 | 0
2013-05-09 | 1219.83 | -2.17 | -4.37 | 1195 | 1070 | 464 | 2454 | 424 | 32.01
2013-05-08 | 1220.44 | -1.56 | -3.86 | 1408 | 1400 | 451 | 2516 | 435 | 33.93 | 550.4 | 351 | 0
2013-05-07 | 1221.23 | -0.77 | -3.07 | 1404 | 1400 | 527 | 2541 | 490 | 34.32 | 550.4 | 185 | 0
2013-05-06 | 1221.93 | -0.07 | -2.47 | 1405 | 1400 | 549 | 2549 | 569 | 34.01 | 550.5 | 196 | 0
As of May 6 the Hinckley reservoir low elevation trigger became ACTIVATED. Routine Communication Protocols were utilized.
2013-05-05 | 1222.62 | 0.62 | -1.78 | 1399 | 1400 | 692 | 2554 | 676 | 32.91
2013-05-04 | 1223.18 | 1.18 | -1.22 | 1405 | 1400 | 757 | 2556 | 804 | 32.96
2013-05-03 | 1223.69 | 1.69 | -0.71 | 1404 | 1400 | 946 | 2557 | 942 | 33.64 | 550.5 | 249 | 0
2013-05-02 | 1224.06 | 2.06 | -0.24 | 1487 | 1400 | 1158 | 2560 | 1060 | 34.12
2013-05-01 | 1224.33 | 2.33 | 0.23 | 1643 | 1750 | 1279 | 2565 | 1170 | 27.55 | 550.6 | 294 | 0
2013-04-30 | 1224.62 |  | 0.72 | 1647 | 1750 | 1374 | 2556 | 1220 | 32.89 | 550.6 | 320 | 0
2013-04-29 | 1224.84 |  | 1.04 | 1635 | 1750 | 1462 | 2528 | 785 | 32.29 | 550.6 | 339 | 0
2013-04-28 | 1224.99 |  | 1.39 | 1741 | 1700 | 1300 | 2495 | 816 | 32.92
2013-04-27 | 1225.33 |  | 1.93 | 2122 | 1700 | 1712 | 2466 | 1060 | 32.51
2013-04-26 | 1225.65 |  | 2.45 | 2562 | 1700 | 2420 | 2424 | 1560 | 32.36 | 550.7 | 499 | 0
2013-04-25 | 1225.77 |  | 2.97 | 2196 | 1700 | 2828 | 2358 | 2130 | 33.71 | 550.7 | 499 | 0
2013-04-24 | 1225.33 |  | 2.93 | 1767 | 1400 | 1593 | 2269 | 1030 | 33.51
2013-04-23 | 1225.48 |  | 3.68 | 2109 | 1400 | 1665 | 2224 | 1030 | 34.14 | 550.8 | 542 | 0
2013-04-22 | 1225.82 |  | 4.82 | 3099 | 1400 | 2175 | 2177 | 1330 | 31.62 | 550.9 | 734 | 0
2013-04-21 | 1226.5 |  | 6.2 | 5007 | 1400 | 3968 | 2115 | 2340 | 32.59
2013-04-20 | 1227.26 |  | 7.46 | 5268 | 1400 | 7615 | 1992 | 6610
2013-04-19 | 1225.6 |  | 6.4 | 1478 | 1400 | 4347 | 1753 | 4230 | 32.75 | 551 | 1130 | 0
2013-04-18 | 1223.5 |  | 4.7 | 1417 | 1400 | 4091 | 1623 | 3210 | 33.39 | 551.2 | 1130 | 0
2013-04-17 | 1221.47 |  | 3.27 | 1410 | 1400 | 4735 | 1504 | 4020 | 32.8 | 551.3 | 1390 | 0
2013-04-16 | 1218.83 |  | 1.53 | 1411 | 1400 | 2061 | 1366 | 1750 | 33.48 | 551 | 921 | 0
2013-04-15 | 1218.32 |  | 1.92 | 1270 | 1400 | 1767 | 1325 | 1260 | 34.88 | 551 | 1110 | 0
2013-04-14 | 1217.93 |  | 2.33 | 854 | 850 | 2611 | 1300 | 1610 | 32.85
2013-04-13 | 1216.46 |  | 1.56 | 855 | 850 | 3465 | 1260 |  | 32.63
2013-04-12 | 1214.19 |  | -0.01 | 854 | 850 | 4315 | 1221 | 2510 | 33.88 | 551.4 | 1650 | 0
2013-04-11 | 1210.99 |  | -2.51 | 856 | 850 | 6071 | 1155 | 4000 | 32.98
2013-04-10 | 1205.67 |  | -7.13 | 742 | 730 | 5243 | 978 | 4000 | 35.01
2013-04-09 | 1200.42 |  | -11.88 | 736 | 730 | 2319 | 815 | 1750 | 34.02 | 550.2 | 256 | 0
2013-04-08 | 1198.39 |  | -13.31 | 732 | 730 | 1192 | 749 | 890 | 32.04 | 549.5 | 219 | 0
2013-04-07 | 1197.8 |  | -13.1 | 602 | 600 | 789 | 719 | 514 | 33.6
2013-04-06 | 1197.58 |  | -12.52 | 609 | 600 | 689 | 703 | 497 | 37.39
2013-04-05 | 1197.51 |  | -11.69 | 605 | 600 | 755 | 690 | 513 | 34.75 | 548.6 | 216 | 0
2013-04-04 | 1197.34 |  | -10.86 | 604 | 600 | 788 | 676 | 553
2013-04-03 | 1197.12 |  | -9.98 | 558 | 550 | 1017 | 660 | 678 | 36.49 | 548.3 | 213 | 0
2013-04-02 | 1196.51 |  | -9.69 | 564 | 550 | 1315 | 637 | 907 | 35.33 | 547.9 | 222 | 0
2013-04-01 | 1195.46 |  | -9.84 | 464 | 550 | 1000 | 605 | 746 | 35.77 | 546.8 | 231 | 0
NYPA: The Canal Corporation authorized a return to the Operating Diagram discharge, which from now on is the "2012 Operating Diagram".
NYSCC: Hinckley Reservoir will be operated in accordance with the 2012 Operating Diagram beginning April 1, 2013
2013-03-31 | 1194.7 |  | -9.7 | 404 | 1080 | 556 | 586 | 340
2013-03-30 | 1194.5 |  | -9 | 403 | 1080 | 474 | 575 | 306 | 34.69
2013-03-29 | 1194.43 |  | -8.27 | 403 | 1080 | 426 | 569 | 302 | 35.55 | 546 | 219 | 0
2013-03-28 | 1194.43 |  | -7.37 | 403 | 1100 | 458 | 562 | 297 | 34.46 | 545.8 | 213 | 0
2013-03-27 | 1194.38 |  | -6.62 | 403 | 1100 | 426 | 554 | 303 | 35.02 | 545.8 | 207 | 0
2013-03-26 | 1194.38 |  | -6.22 | 697 | 1100 | 154 | 547 | 308 | 34.46 | 545.7 | 204 | 0
The Canal Corporation authorized a reduction in the Operating Diagram discharge, because of low inflows and rapidly declining reservoir level. Beginning on March 26, the reduced discharge is 400 cfs.
2013-03-25 | 1195.24 |  | -4.96 | 1058 | 1100 | 243 | 549 | 318 | 36.5 | 545.7 | 204 | 0
2013-03-24 | 1196.46 |  | -3.54 | 1093 | 1100 | 261 | 550 | 333 | 35.11
2013-03-23 | 1197.66 |  | -2.24 | 1091 | 1100 | 301 | 547 |  | 32.91
2013-03-22 | 1198.75 |  | -0.95 | 1101 | 1100 | 301 | 545 | 375 | 33.66 | 545.7 | 204 | 0
2013-03-21 | 1199.83 |  | 0.23 | 999 | 910 | 426 | 543 |  | 35.68 | 545.6 | 204 | 0
2013-03-20 | 1200.59 |  | 1.19 | 918 | 910 | 451 | 537 | 432 | 34.85 | 545.6 | 204 | 0
2013-03-19 | 1201.2 |  | 1.7 | 910 | 910 | 535 | 530 | 445 | 33.96 | 545.5 | 204 | 0
2013-03-18 | 1201.69 |  | 2.39 | 916 | 910 | 596 | 522 | 505 | 35.65 | 545.5 | 210 | 0
2013-03-17 | 1202.1 |  | 3 | 910 | 910 | 811 | 512 | 626 | 34.57
2013-03-16 | 1202.25 |  | 3.15 | 915 | 910 | 1019 | 498 | 821 | 35.13
2013-03-15 | 1202.15 |  | 3.15 | 926 | 910 | 1432 | 476 | 1070 | 37.36
2013-03-14 | 1201.56 |  | 2.76 | 569 | 780 | 2277 | 440 | 1510 | 34.97
The Canal Corporation authorized a return to the Operating Diagram discharge, because substantial runoff increased the Hinckley water levels.
2013-03-13 | 1199.44 |  | 0.74 | 405 | 780 | 2341 | 379 | 1830 | 33.7
2013-03-12 | 1196.41 |  | -2.19 | 400 | 780 | 767 | 316 | 575 | 36.55
2013-03-11 | 1196.36 |  | -2.34 | 398 | 780 | 353 | 303 | 244 | 35.52
2013-03-10 | 1196.46 |  | -2.24 | 398 | 780 | 332 | 304 | 210 | 34.71
2013-03-09 | 1196.58 |  | -2.12 | 399 | 780 | 286 | 312 | 199 | 34.71
2013-03-08 | 1196.75 |  | -1.85 | 400 | 780 | 319 | 323 | 190 | 36.25 | 542.6 | 210 | 0
2013-03-07 | 1196.9 |  | -1.8 | 400 | 800 | 302 | 336 | 191 | 34.13 | 542.5 | 210 | 0
2013-03-06 | 1197.07 |  | -1.43 | 399 | 800 | 317 | 356 | 199 | 35.2 | 542.6 | 219 | 0
2013-03-05 | 1197.22 |  | -1.28 | 401 | 800 | 319 | 380 | 202 | 36.79 | 542.6 | 222 | 0
2013-03-04 | 1197.36 |  | -1.44 | 402 | 800 | 336 | 416 | 209 | 36.38 | 542.6 | 222 | 0
2013-03-03 | 1197.48 |  | -1.62 | 403 | 800 | 355 | 491 | 219 | 33.58
2013-03-02 | 1197.58 |  | -1.82 | 404 | 800 | 410 | 644 | 223 | 35.67
The Canal Corporation authorized a reduction in the Operating Diagram discharge, because of the abnormally dry conditions. Beginning on March 1, the reduced discharge is 400 cfs.
2013-03-01 | 1197.61 |  | -1.99 | 408 | 800 | 235 | 855 | 235 | 36.57 | 542.7 | 231 | 0
2013-02-28 | 1197.89 |  | -1.91 | 917 | 950 | 281 | 864 | 236 | 35.18 | 542.4 | 231 | 0
2013-02-27 | 1198.78 |  | -1.12 | 941 | 950 | 236 | 864 | 222 | 36.09 | 542.3 | 219 | 0
2013-02-26 | 1199.73 |  | -0.37 | 943 | 950 | 217 | 866 | 232 | 37.97 | 542.2 | 219 | 0
2013-02-25 | 1200.68 |  | 0.28 | 945 | 950 | 219 | 868 | 231 | 36.9 | 542.3 | 219 | 0
2013-02-24 | 1201.61 |  | 1.01 | 944 | 950 | 218 | 869 | 238 | 34.83
2013-02-23 | 1202.52 |  | 1.82 | 950 | 950 | 248 | 867 |  | 36.8
2013-02-22 | 1203.37 |  | 2.57 | 986 | 950 | 181 | 865 | 277 | 36.96 | 542.4 | 219 | 0
2013-02-21 | 1204.32 |  | 3.22 | 1036 | 1030 | 232 | 870 | 253 | 34.98 | 542.5 | 219 | 0
2013-02-20 | 1205.25 |  | 3.75 | 1036 | 1030 | 257 | 875 | 260 | 35.39 | 542.6 | 219 | 0
2013-02-19 | 1206.13 |  | 4.33 | 1030 | 1030 | 256 | 881 | 250 | 36.62 | 542.6 | 219 | 0
2013-02-18 | 1206.99 |  | 4.99 | 1031 | 1030 | 217 | 893 | 275 | 40.93 | 542.6 | 219 | 0
2013-02-17 | 1207.87 |  | 5.77 | 1036 | 1030 | 300 | 903 | 283
2013-02-16 | 1208.65 |  | 6.25 | 1047 | 1030 | 296 | 910
2013-02-15 | 1209.43 |  | 6.73 | 1051 | 1030 | 385 | 931 | 310 | 37.02 | 542.7 | 222 | 0
2013-02-14 | 1210.11 |  | 7.01 | 1072 | 1060 | 370 | 957 | 330 | 36.64 | 542.8 | 225 | 0
2013-02-13 | 1210.82 |  | 7.32 | 1068 | 1060 | 353 | 1000 | 338 | 36.57 | 542.8 | 225 | 0
2013-02-12 | 1211.5 |  | 7.7 | 1069 | 1060 | 449 | 1027 | 354 | 36.28 | 542.8 | 225 | 0
2013-02-11 | 1212.12 |  | 7.92 | 1065 | 1060 | 462 | 1031 | 359 | 36.98 | 542.8 | 228 | 0
2013-02-10 | 1212.7 |  | 8.1 | 1066 | 1060 | 349 | 1028 | 340 | 36.8
2013-02-09 | 1213.39 |  | 8.39 | 1059 | 1060 | 412 | 1028 | 370 | 35.83
2013-02-08 | 1214 |  | 8.6 | 981 | 1060 | 543 | 1025 | 412 | 34.31 | 545 | 1190 | 0
2013-02-07 | 1214.41 |  | 8.61 | 786 | 700 | 619 | 1017 | 431 | 40.79 | 545.7 | 1190 | 0
In order to make a manual flow change during normal working hours, the Canal Corporation allowed an 80 cfs increase in the Operating Diagram release on Feb 7 and a compensating 80 cfs decrease on Feb 8.
2013-02-06 | 1214.58 |  | 8.48 | 705 | 700 | 729 | 1005 | 527 | 34.83 | 546.3 | 1200 | 0
2013-02-05 | 1214.58 |  | 8.08 | 704 | 700 | 892 | 994 | 591 | 37.88 | 547.3 | 1170 | 0
2013-02-04 | 1214.44 |  | 7.74 | 704 | 700 | 1027 | 976 | 843 | 36.15 | 547.5 | 1170 | 0
2013-02-03 | 1214.17 |  | 7.27 | 769 | 700 | 1422 | 954 | 1160 | 36.64
2013-02-02 | 1213.36 |  | 6.26 | 705 | 700 | 2587 | 919 |  | 35.79
2013-02-01 | 1211.63 |  | 4.23 | 706 | 700 | 4932 | 847 | 3580 | 38.45
2013-01-31 | 1207.43 |  | -0.17 | 806 | 800 | 6734 | 693 | 6280 | 38.21
2013-01-30 | 1200.68 |  | -7.22 | 805 | 800 | 514 | 483 | 627 | 37.72 | 542 | 249 | 0
2013-01-29 | 1201.07 |  | -7.03 | 807 | 800 | 293 | 481 | 279 | 34.94 | 542 | 231 | 0
2013-01-28 | 1201.73 |  | -6.57 | 808 | 800 | 284 | 487 | 289 | 28.55 | 542.1 | 231 | 0
2013-01-27 | 1202.39 |  | -6.01 | 807 | 800 | 273 | 497 | 404 | 27.97
2013-01-26 | 1203.05 |  | -5.45 | 801 | 800 | 257 | 507 | 355 | 35.87
2013-01-25 | 1203.71 |  | -4.89 | 1129 | 800 | 141 | 520 | 318 | 46.2 | 542.7 | 364 | 0
The Canal Corporation authorized a continuation of yesterday's instruction. The Jarvis release was increased from the Operating Diagram discharge of 800 cfs up to 1400 cfs from 0853 to 2158 today.
2013-01-24 | 1204.86 |  | -3.84 | 1040 | 810 | 201 | 538 |  | 34.75 | 542.9 | 364 | 0
The Canal Corporation authorized additional water be released due to unusually high load on the power system and as partial make up for reduced reservoir releases that occurred during the past year. The Jarvis release was increased from the Operating Diagram discharge of 810 cfs up to 1400 cfs from 1257 to 2200 today.
2013-01-23 | 1205.81 |  | -2.79 | 816 | 810 | 343 | 560 |  | 34.99 | 543.1 | 364 | 0
2013-01-22 | 1206.35 |  | -2.25 | 815 | 810 | 359 | 584 | 297 | 34.29 | 543.4 | 364 | 0
2013-01-21 | 1206.86 |  | -2.04 | 815 | 810 | 446 | 620 | 336 | 33.96
2013-01-20 | 1207.28 |  | -1.82 | 809 | 810 | 622 | 680 | 426 | 34.07
2013-01-19 | 1207.5 |  | -1.8 | 816 | 810 | 511 | 716 | 432 | 34.65
2013-01-18 | 1207.84 |  | -1.56 | 791 | 810 | 507 | 757 | 405 | 33.86 | 543.7 | 368 | 0
2013-01-17 | 1208.16 |  | -1.54 | 808 | 800 | 926 | 827 | 637 | 33.65 | 543.8 | 372 | 0
2013-01-16 | 1208.06 |  | -1.84 | 796 | 800 | 1172 | 854 | 858 | 34.61 | 543.8 | 372 | 0
2013-01-15 | 1207.69 |  | -2.41 | 797 | 800 | 1655 | 835 | 1190 | 34.32 | 543.5 | 249 | 0
2013-01-14 | 1206.81 |  | -3.59 | 784 | 800 | 1149 | 803 | 1020 | 35.05 | 542.8 | 280 | 0
2013-01-13 | 1206.45 |  | -4.25 | 800 | 800 | 595 | 791 | 395 | 35.08
2013-01-12 | 1206.69 |  | -4.21 | 880 | 800 | 365 | 803 | 281 | 32.39
2013-01-11 | 1207.16 |  | -4.04 | 799 | 800 | 333 | 836 | 249 | 34.21 | 541.9 | 228 | 0
2013-01-10 | 1207.67 |  | -3.83 | 886 | 880 | 319 | 900 | 258 | 35.45 | 541.9 | 228 | 0
2013-01-09 | 1208.28 |  | -3.42 | 877 | 880 | 326 | 1003 | 274 | 35.29 | 541.9 | 228 | 0
2013-01-08 | 1208.87 |  | -3.03 | 903 | 880 | 241 | 1054 | 309 | 32.92 | 541.9 | 228 | 0
2013-01-07 | 1209.58 |  | -2.42 | 919 | 880 | 397 | 1071 | 284 | 34.61 | 541.9 | 228 | 0
2013-01-06 | 1210.12 |  | -2.08 | 895 | 880 | 377 | 1084 | 293 | 34.71
2013-01-05 | 1210.65 |  | -1.65 | 894 | 880 | 358 | 1102 | 308 | 32.19
2013-01-04 | 1211.19 |  | -1.11 | 886 | 880 | 374 | 1140 | 358 | 33.96 | 542 | 231 | 0
2013-01-03 | 1211.72 |  | -0.58 | 935 | 930 | 410 | 1170 | 373 | 35.46 | 542 | 231 | 0
2013-01-02 | 1212.24 |  | -0.06 | 933 | 930 | 327 | 1195 | 328 | 33.1 | 542 | 231 | 0
2013-01-01 | 1212.82 |  | 0.52 | 929 | 930 | 421 | 1221 | 338 | 33.77