## Sheet2
Date | Hinckley Reservoir Elevation | Hinckley Reservoir Comparison to Elevation Trigger1 | Hinckley Reservoir Comparison to Normal Elevation2 | Hinckley Reservoir Discharge | 1920 Operating Diagram Release4 | Hinckley Reservoir Inflow | Hinckley Reservoir 30-Day Running Average Inflow5 | Wilmurt Streamgage Flow | Black Creek Flow | Mohawk Valley Water Authority Withdrawal | Delta Reservoir Elevation | Delta Reservoir Discharge | Nine Mile Feeder Discharge
| (ft) | (ft) | (ft) | (cfs)3 | (cfs) | (cfs) | (cfs) | (cfs) | (cfs) | (cfs) | (ft) | (cfs) | (cfs)
2016-12-31 | 1215.6 | 17.6 | 3.1 | 950 | 930 | 804 | 1083 | 538 | 133 | 29.5 | 541.9 | 686 | 0
2016-12-30 | 1215.8 | 17.7 | 3.3 | 947 | 930 | 1052 | 1192 | 646 | 163 | 28.6 | 542.2 | N/A | 0
2016-12-29 | 1215.7 | 17.7 | 3.2 | 946 | 930 | 1274 | 1245 | 777 | 196 | 28.7 | 542.2 | N/A | 0
2016-12-28 | 1215.4 | 17.4 | 2.7 | 942 | 930 | 1791 | 1226 | 1060 | 292 | 32.4 | 542.2 | 729 | 0
2016-12-27 | 1214.7 | 16.7 | 1.7 | 935 | 930 | 1093 | 1188 | 877 | 243 | 30.5 | 541.7 | 760 | 0
2016-12-26 | 1214.6 | 16.5 | 1.4 | 932 | 930 | 569 | 1172 | 375 | 106 | 27.5 | 542 | 694 | 0
2016-12-25 | 1214.9 | 16.9 | 1.6 | 917 | 910 | 676 | 1174 | 467 | 123 | 30 | 543.3 | 701 | 0
2016-12-24 | 1215.1 | 17.1 | 1.6 | 926 | 910 | 809 | 1166 | 510 | 137 | 28.7 | 542.6 | 699 | 0
2016-12-23 | 1215.3 | 17.3 | 1.8 | 923 | 910 | 889 | 1153 | 595 | 159 | 29.5 | 543 | 702 | 0
2016-12-22 | 1215.3 | 17.3 | 1.7 | 912 | 910 | 1072 | 1137 | 731 | 197 | 31.1 | 543.3 | 702 | 0
2016-12-21 | 1215.2 | 17.2 | 1.7 | 852 | 850 | 1342 | 1117 | 960 | 253 | 29.8 | 543.6 | 702 | 0
2016-12-20 | 1214.8 | 16.8 | 1.2 | 855 | 850 | 1918 | 1090 | 1420 | 370 | 29.5 | 543.8 | 702 | 0
2016-12-19 | 1213.8 | 15.8 | -0.2 | 856 | 850 | 3238 | 1045 | 2480 | 645 | 31.7 | 543.9 | 691 | 0
2016-12-18 | 1211.6 | 13.6 | -2.4 | 884 | 890 | 1944 | 957 | 1770 | 377 | 28.4 | 543.1 | 680 | 0
2016-12-17 | 1210.6 | 12.6 | -3.6 | 905 | 890 | 345 | 913 | 392 | 108 | 28.4 | 543.3 | 630 | 0
2016-12-16 | 1211.1 | 13.1 | -3.2 | 894 | 890 | 302 | 924 | 322 | 84 | 28.9 | 543.7 | 630 | 0
2016-12-15 | 1211.7 | 13.7 | -2.7 | 852 | 890 | 226 | 932 | 280 | 72 | 29.5 | 544.1 | 630 | 0
2016-12-14 | 1212.3 | 14.3 | -2.2 | 968 | 920 | 394 | 936 | 337 | 88 | 26.8 | 544.5 | 630 | 0
2016-12-13 | 1212.8 | 14.8 | -1.7 | 922 | 920 | 467 | 935 | 369 | 96 | 30.2 | 544.8 | 630 | 0
2016-12-12 | 1213.2 | 15.2 | -1.1 | 919 | 920 | 471 | 933 | 357 | 92 | 27 | 545.1 | 630 | 0
2016-12-11 | 1213.6 | 15.6 | -0.5 | 926 | 930 | 409 | 931 | 355 | 114 | 27.4 | N/A | N/A | N/A
2016-12-10 | 1214.1 | 16.1 | 0.1 | 930 | 930 | 461 | 932 | 364 | 132 | 26.5 | N/A | N/A | N/A
2016-12-09 | 1214.5 | 16.5 | 0.5 | 937 | 930 | 629 | 937 | 421 | 107 | 27.2 | N/A | N/A | N/A
2016-12-08 | 1214.8 | 16.8 | 0.9 | 928 | 930 | 673 | 934 | 487 | 123 | 27 | 546.1 | 415 | 0
2016-12-07 | 1215.1 | 17.1 | 1.3 | 864 | 850 | 829 | 931 | 554 | 138 | 29.2 | N/A | N/A | N/A
2016-12-06 | 1215.1 | 17.1 | 1.4 | 842 | 850 | 863 | 929 | 631 | 149 | 28 | 546.2 | 377 | 0
2016-12-05 | 1215.1 | 17.1 | 1.5 | 855 | 850 | 1031 | 933 | 750 | 173 | 28 | 546.3 | 377 | 0
2016-12-04 | 1215 | 17 | 1.2 | 720 | 720 | 1345 | 941 | 998 | 202 | 26.4 | N/A | N/A | N/A
2016-12-03 | 1214.4 | 16.4 | 0.4 | 729 | 720 | 2149 | 953 | 1450 | 261 | 27.5 | N/A | N/A | N/A
2016-12-02 | 1213.2 | 15.2 | -0.8 | 734 | 720 | 3441 | 917 | 2320 | 518 | 27.9 | 546.1 | 377 | 0
2016-12-01 | 1210.6 | 12.6 | -3.4 | 717 | 720 | 4070 | 831 | 2980 | 623 | 27.6 | 545.9 | 415 | 40
2016-11-30 | 1207.2 | 9.3 | -6.5 | 764 | 770 | 2640 | 731 | 1980 | 392 | 27 | 545.5 | 366 | 40
2016-11-29 | 1205.2 | 7.2 | -8.4 | 780 | 770 | 712 | 694 | 619 | 167 | 29.1 | N/A | N/A | N/A
2016-11-28 | 1205.4 | 7.4 | -8 | 778 | 770 | 644 | 714 | 397 | 121 | 27.5 | 545.5 | 312 | 40
2016-11-27 | 1205.5 | 7.5 | -7.6 | 766 | 770 | 631 | 724 | 453 | 152 | 27 | N/A | N/A | N/A
2016-11-26 | 1205.7 | 7.6 | -7.4 | 783 | 770 | 603 | 730 | 398 | 121 | 25.6 | N/A | N/A | N/A
2016-11-25 | 1205.9 | 7.9 | -6.9 | 783 | 770 | 444 | 736 | 310 | 84 | 27 | N/A | N/A | N/A
2016-11-24 | 1206.3 | 8.3 | -6.4 | 760 | 770 | 417 | 751 | 310 | 79 | 27.1 | N/A | N/A | N/A
2016-11-23 | 1206.7 | 8.7 | -6 | 818 | 800 | 425 | 777 | 323 | 82 | 27.4 | 545.7 | 286 | 40
2016-11-22 | 1207.1 | 9.1 | -5.4 | 812 | 800 | 461 | 819 | 332 | 88 | 27.5 | 545.8 | 286 | 40
2016-11-21 | 1207.5 | 9.6 | -4.8 | 805 | 800 | 521 | 882 | 374 | 92 | N/A | N/A | N/A | N/A
2016-11-20 | 1207.8 | 9.8 | -4.2 | 827 | 810 | 584 | 944 | 382 | 88 | 26.1 | N/A | N/A | N/A
2016-11-19 | 1208.1 | 10.1 | -3.8 | 821 | 810 | 591 | 989 | 391 | 83 | 26.6 | N/A | N/A | N/A
2016-11-18 | 1208.4 | 10.4 | -3.4 | 807 | 810 | 637 | 989 | 457 | 95 | 26.8 | N/A | N/A | N/A
2016-11-17 | 1208.6 | 10.6 | -3.2 | 774 | 810 | 651 | 983 | N/A | N/A | 27.8 | 546.2 | 289 | 44
2016-11-16 | 1208.7 | 10.7 | -2.9 | 866 | 850 | 549 | 972 | 454 | 119 | 26.8 | 546.3 | 283 | 44
2016-11-15 | 1209.1 | 11.1 | -2.4 | 860 | 850 | 345 | 960 | 277 | 68 | 27.1 | 546.4 | 256 | 44
2016-11-14 | 1209.6 | 11.6 | -1.9 | 855 | 850 | 383 | 955 | 289 | 70 | 26.5 | 546.5 | 256 | 43
2016-11-13 | 1210.1 | 12.1 | -1.5 | 861 | 860 | 391 | 948 | 310 | 75 | 26.9 | N/A | N/A | N/A
2016-11-12 | 1210.6 | 12.6 | -0.9 | 856 | 860 | 423 | 941 | 340 | 82 | 26.7 | N/A | N/A | N/A
2016-11-11 | 1211 | 13.1 | -0.3 | 846 | 860 | 435 | 932 | 359 | 91 | 26.8 | N/A | N/A | N/A
2016-11-10 | 1211.5 | 13.5 | 0.2 | 845 | 860 | 606 | 923 | 389 | 101 | 27.9 | 546.8 | 259 | 41
2016-11-09 | 1211.8 | 13.8 | 0.7 | 851 | 840 | 537 | 909 | 421 | 105 | 25 | N/A | N/A | N/A
2016-11-08 | 1212.1 | 14.1 | 1.4 | 835 | 840 | 596 | 896 | 448 | 106 | 29.1 | N/A | N/A | N/A
2016-11-07 | 1212.3 | 14.3 | 1.5 | 844 | 840 | 761 | 881 | 533 | 124 | 26.2 | 546.9 | 274 | 41
2016-11-06 | 1212.4 | 14.4 | 1.8 | 829 | 830 | 987 | 862 | 681 | 160 | 24.5 | N/A | N/A | N/A
2016-11-05 | 1212.3 | 14.3 | 1.8 | 831 | 830 | 1256 | 836 | 894 | 201 | 25.3 | N/A | N/A | N/A
2016-11-04 | 1211.9 | 13.9 | 1.4 | 823 | 830 | 1715 | 801 | 1170 | 278 | 26.1 | 546.8 | 277 | 43
2016-11-03 | 1211.1 | 13.1 | 0.8 | 834 | 830 | 1058 | 752 | 813 | 210 | 28.2 | 546.2 | 271 | 35
2016-11-02 | 1210.9 | 12.9 | 0.5 | 818 | 810 | 857 | 729 | 638 | 123 | 26.8 | N/A | N/A | N/A
2016-11-01 | 1210.9 | 12.9 | 0.5 | 818 | 810 | 1091 | 711 | 838 | 158 | 26.5 | 546.2 | 241 | 70
2016-10-31 | 1210.6 | 12.6 | 0.2 | 824 | 810 | 1522 | 684 | 1120 | 198 | 26.5 | 546.2 | 241 | 70
2016-10-30 | 1210 | 12 | -0.6 | 776 | 790 | 1318 | 639 | 1070 | 214 | N/A | N/A | N/A | N/A
2016-10-29 | 1209.5 | 11.5 | -1.2 | 787 | 790 | 934 | 601 | 641 | 194 | N/A | N/A | N/A | N/A
2016-10-28 | 1209.4 | 11.4 | -1.4 | 796 | 790 | 821 | 576 | 578 | 174 | N/A | 545.7 | 256 | 70
2016-10-27 | 1209.4 | 11.4 | -1.3 | 795 | 790 | 771 | 552 | 541 | 107 | N/A | N/A | N/A | N/A
2016-10-26 | 1209.4 | 11.4 | -1.2 | 429 | 420 | 915 | 532 | 675 | 123 | N/A | 545.3 | 236 | 71
2016-10-25 | 1208.9 | 10.9 | -1.7 | 424 | 420 | 1191 | 506 | 899 | 167 | N/A | 545.2 | 236 | 71
2016-10-24 | 1208.2 | 10.2 | -2.3 | 421 | 420 | 1684 | 472 | 1180 | 222 | N/A | N/A | N/A | N/A
2016-10-23 | 1206.9 | 8.9 | -3.6 | 410 | 410 | 2338 | 422 | 1610 | 317 | N/A | N/A | N/A | N/A
2016-10-22 | 1204.8 | 6.8 | -5.7 | 395 | 410 | 2389 | 351 | 1700 | 256 | N/A | N/A | N/A | N/A
NY Power Authority Comments : On Oct 22, the 30 day average inflow rose above the 300 cfs trigger. The low inflow trigger is DE-ACTIVATED. Normal monitoring of Hinckley reservoir has resumed.
2016-10-21 | 1202.5 | 4.6 | -7.8 | 412 | 410 | 1938 | 281 | 1440 | 224 | N/A | N/A | N/A | N/A
2016-10-20 | 1200.7 | 2.7 | -9.5 | 415 | 410 | 576 | 232 | 385 | 85 | N/A | 541.5 | 225 | 68
2016-10-19 | 1200.5 | 2.5 | -9.6 | 450 | 450 | 475 | 238 | 384 | 89 | N/A | 541.5 | 225 | 68
2016-10-18 | 1200.5 | 2.5 | -9.5 | 454 | 450 | 323 | 261 | 274 | 60 | N/A | 541.5 | 222 | 67
2016-10-17 | 1200.7 | 2.7 | -9.1 | 447 | 450 | 178 | 263 | 133 | 30 | N/A | 541.5 | 217 | 68
2016-10-16 | 1201.1 | 3.1 | -8.7 | 490 | 470 | 198 | 260 | 114 | 29 | 24.4 | N/A | N/A | N/A
2016-10-15 | 1201.5 | 3.5 | -8.3 | 478 | 470 | 182 | 258 | 122 | 30 | 26.1 | N/A | N/A | N/A
2016-10-14 | 1201.9 | 3.7 | -7.8 | 477 | 470 | 178 | 254 | 128 | 33 | 24.4 | 541.8 | 217 | 70
2016-10-13 | 1202.2 | 3.8 | -7.6 | 479 | 470 | 156 | 252 | 110 | 28 | 27.5 | 541.9 | 217 | 70
2016-10-12 | 1202.7 | 4.1 | -7.3 | 479 | 480 | 152 | 253 | 108 | 27 | N/A | 542.1 | 217 | 70
2016-10-11 | 1203.1 | 4.4 | -6.9 | 481 | 480 | 192 | 253 | 116 | 29 | N/A | 542.2 | 194 | 70
2016-10-10 | 1203.4 | 4.6 | -6.5 | 485 | 480 | 151 | 255 | 129 | 31 | N/A | N/A | N/A | N/A
2016-10-09 | 1203.9 | 4.8 | -6.1 | 504 | 490 | 147 | 258 | 137 | 34 | 25.2 | N/A | N/A | N/A
2016-10-08 | 1204.2 | 5 | -5.8 | 480 | 490 | 181 | 267 | 124 | 31 | 25.8 | N/A | N/A | N/A
2016-10-07 | 1204.6 | 5.2 | -5.4 | 492 | 490 | 195 | 265 | 131 | 33 | 25.4 | 542.5 | 194 | 70
2016-10-06 | 1205 | 5.4 | -5 | 490 | 490 | 207 | 263 | 147 | 36 | 28 | 542.5 | 194 | 70
2016-10-05 | 1205.3 | 5.5 | -4.9 | 491 | 490 | 250 | 259 | 168 | 44 | 26.3 | 542.5 | 194 | 70
2016-10-04 | 1205.6 | 5.7 | -4.7 | 491 | 490 | 360 | 255 | 199 | 56 | 26.1 | N/A | N/A | N/A
2016-10-03 | 1205.8 | 5.7 | -4.6 | 495 | 490 | 321 | 248 | 211 | 60 | 25.9 | 542.5 | 194 | 70
2016-10-02 | 1206 | 5.7 | -4.5 | 509 | 510 | 295 | 244 | 177 | 67 | 27.4 | N/A | N/A | N/A
2016-10-01 | 1206.2 | 5.8 | -4.2 | 498 | 510 | 170 | 238 | 140 | 53 | 25.7 | N/A | N/A | N/A
2016-09-30 | 1206.6 | 6 | -4 | 508 | 510 | 169 | 240 | 103 | 26 | 27.2 | N/A | N/A | N/A
2016-09-29 | 1207 | 6.2 | -3.7 | 496 | 510 | 177 | 241 | 110 | 29 | 31 | 542.5 | 194 | 70
2016-09-28 | 1207.4 | 6.4 | -3.2 | 509 | 550 | 116 | 247 | 121 | 32 | 30 | N/A | N/A | N/A
2016-09-27 | 1207.8 | 6.6 | -2.7 | 544 | 550 | 171 | 259 | 120 | 32 | 30.4 | 542.7 | 194 | 70
2016-09-26 | 1208.2 | 3.8 | -2.3 | 547 | 550 | 121 | 278 | 110 | 28 | 29.7 | 542.8 | 194 | 70
2016-09-25 | 1208.7 | 7.2 | -1.9 | 523 | 530 | 189 | 296 | 121 | 31 | 29.6 | N/A | N/A | N/A
2016-09-24 | 1209 | 7.4 | -1.6 | 529 | 530 | 168 | 299 | 138 | 35 | 27.3 | N/A | N/A | N/A
NY Power Authority Comments : As of September 24, the Hinckley 30 day average low flow trigger became ACTIVATED. Routine Communication Protocols are in effect.
2016-09-23 | 1209.4 | 7.5 | -1.4 | 529 | 530 | 214 | 305 | 161 | 34 | 30.8 | 543.1 | 194 | 70
2016-09-22 | 1209.8 | 7.7 | -0.9 | 537 | 530 | 304 | 313 | 209 | 41 | N/A | 543.2 | 194 | 70
2016-09-21 | 1210 | 7.8 | -0.7 | 465 | 510 | 448 | 326 | 308 | 55 | N/A | 543.3 | 194 | 70
2016-09-20 | 1210.1 | 7.7 | -0.6 | 510 | 510 | 761 | 345 | 532 | 88 | N/A | N/A | N/A | N/A
2016-09-19 | 1209.9 | 7.2 | -0.8 | 509 | 510 | 1166 | 334 | 964 | 150 | N/A | N/A | N/A | N/A
2016-09-18 | 1209.2 | 6.4 | -1.4 | 523 | 530 | 380 | 308 | 279 | 154 | N/A | N/A | N/A | N/A
2016-09-17 | 1209.4 | 6.5 | -1.3 | 529 | 530 | 91 | 315 | 83 | 17 | N/A | N/A | N/A | N/A
2016-09-16 | 1209.9 | 6.7 | -0.9 | 535 | 530 | 141 | 342 | 86 | 18 | N/A | 543.1 | 194 | 70
2016-09-15 | 1210.3 | 7 | -0.5 | 533 | 530 | 60 | 378 | 92 | 20 | 27.8 | N/A | N/A | N/A
2016-09-14 | 1210.8 | 7.2 | -0.2 | 544 | 550 | 117 | 396 | 99 | 21 | 29 | 543.2 | 194 | 70
2016-09-13 | 1211.2 | 7.6 | 0.3 | 554 | 550 | 199 | 425 | 108 | 24 | 29.1 | 543.4 | 194 | 70
2016-09-12 | 1211.6 | 7.8 | 0.7 | 547 | 550 | 137 | 468 | 120 | 27 | 27.2 | 543.5 | 194 | 70
2016-09-11 | 1212 | 8 | 0.9 | 562 | 570 | 253 | 479 | 136 | 35 | 28 | N/A | N/A | N/A
2016-09-10 | 1212.3 | 8.1 | 1 | 568 | 570 | 235 | 479 | 172 | 49 | 31.8 | N/A | N/A | N/A
2016-09-09 | 1212.6 | 8.2 | 1.1 | 570 | 570 | 441 | 476 | 264 | 83 | 28.8 | 543.7 | 199 | 70
2016-09-08 | 1212.8 | 8.3 | 1 | 570 | 570 | 122 | 466 | 106 | 32 | 29 | N/A | N/A | N/A
2016-09-07 | 1213.2 | 8.5 | 1.2 | 590 | 600 | 110 | 467 | 87 | 17 | 31.1 | N/A | N/A | N/A
2016-09-06 | 1213.7 | 8.8 | 1.5 | 601 | 600 | 90 | 467 | 93 | 18 | 29.9 | 543.8 | 199 | 55
2016-09-05 | 1214.2 | 9 | 1.7 | 600 | 600 | 138 | 468 | 101 | 19 | 28.4 | N/A | N/A | N/A
2016-09-04 | 1214.6 | 9.4 | 2 | 642 | 650 | 148 | 473 | 109 | 21 | 27.4 | N/A | N/A | N/A
2016-09-03 | 1215.1 | 9.7 | 2.4 | 635 | 650 | 191 | 475 | 119 | 22 | 29.1 | N/A | N/A | N/A
2016-09-02 | 1215.5 | 9.9 | 2.6 | 636 | 650 | 132 | 482 | 133 | 25 | 29 | 544.2 | 199 | 55
2016-09-01 | 1216 | 10.1 | 2.9 | 639 | 650 | 215 | 494 | 152 | 28 | 29.8 | N/A | N/A | N/A
2016-08-31 | 1216.3 | 10.4 | 3.3 | 642 | 650 | 221 | 508 | 175 | -999999 | 29.1 | N/A | N/A | N/A
2016-08-30 | 1216.7 | 10.6 | 3.6 | 645 | 650 | 335 | 511 | 229 | 34 | 30 | 544.5 | 199 | 55
2016-08-29 | 1217 | 13.7 | 3.8 | 652 | 650 | 484 | 508 | 343 | 40 | 28.9 | 544.6 | 199 | 55
2016-08-28 | 1217.2 | 10.7 | 3.9 | 654 | 660 | 734 | 500 | 541 | 42 | 29.8 | N/A | N/A | N/A
2016-08-27 | 1217.2 | 10.6 | 3.6 | 658 | 660 | 663 | 482 | 679 | 51 | 27.9 | N/A | N/A | N/A
2016-08-26 | 1217.2 | 10.4 | 3.4 | 659 | 660 | 287 | 468 | 279 | 62 | N/A | 544.7 | 199 | 55
2016-08-25 | 1217.6 | 10.5 | 3.4 | 657 | 660 | 342 | 465 | 200 | 67 | 28.2 | 544.8 | 199 | 55
2016-08-24 | 1217.9 | 10.6 | 3.5 | 577 | 590 | 465 | 464 | 260 | 90 | N/A | 544.8 | 199 | 55
2016-08-23 | 1218 | 10.6 | 3.6 | 578 | 590 | 700 | 460 | 383 | 149 | N/A | N/A | N/A | N/A
2016-08-22 | 1217.9 | 10.4 | 3.4 | 541 | 590 | 1011 | 448 | 590 | 235 | 30.8 | 544.8 | 228 | 55
2016-08-21 | 1217.6 | 9.8 | 2.8 | 490 | 490 | 441 | 422 | 262 | 103 | 27.9 | N/A | N/A | N/A
2016-08-20 | 1217.6 | 9.7 | 2.7 | 491 | 490 | 382 | 416 | 302 | 76 | 30.2 | N/A | N/A | N/A
2016-08-19 | 1217.7 | 9.6 | 2.6 | 491 | 490 | 573 | 413 | 448 | 105 | 37 | 544.4 | 199 | 55
2016-08-18 | 1217.7 | 9.5 | 2.4 | 455 | 490 | 905 | 404 | N/A | N/A | 32.3 | 544.5 | 199 | 55
2016-08-17 | 1217.4 | 9 | 1.8 | 404 | 400 | 1226 | 387 | 794 | 265 | 31.1 | 544.5 | 206 | 55
2016-08-16 | 1216.7 | 8.1 | 1 | 402 | 400 | 588 | 363 | 404 | 102 | 30.2 | 544.3 | 196 | 55
2016-08-15 | 1216.6 | 7.8 | 0.6 | 405 | 400 | 1010 | 368 | 638 | 147 | 28.2 | 544.4 | 196 | 55
2016-08-14 | 1216 | 7.2 | 0 | 456 | 460 | 1483 | 372 | 924 | 342 | 29.3 | N/A | N/A | N/A
2016-08-13 | 1215.1 | 6 | -1 | 456 | 460 | 463 | 389 | 150 | 134 | 27.8 | N/A | N/A | N/A
2016-08-12 | 1215.1 | 5.8 | -1.2 | 466 | 460 | 251 | 395 | 97 | 35 | 29.8 | 544 | 194 | 55
2016-08-11 | 1215.3 | 5.9 | -0.9 | 435 | 460 | 134 | 406 | 96 | 28 | 31.1 | 544.1 | 194 | 55
2016-08-10 | 1215.6 | 6 | -0.8 | 500 | 500 | 154 | 437 | 95 | 26 | 30.5 | 544.2 | 194 | 55
2016-08-09 | 1216 | 6.2 | -0.6 | 494 | 500 | 156 | 509 | 90 | 17 | 32.2 | 544.2 | 194 | 55
2016-08-08 | 1216.3 | 6.3 | -0.4 | 495 | 500 | 103 | 626 | 101 | 19 | 30.5 | N/A | N/A | N/A
2016-08-07 | 1216.6 | 6.4 | -0.2 | 500 | 500 | 133 | 648 | 116 | 21 | 28.6 | N/A | N/A | N/A
2016-08-06 | 1217 | 6.6 | 0 | 497 | 500 | 272 | 651 | 138 | 25 | 31.7 | N/A | N/A | N/A
2016-08-05 | 1217.2 | 6.7 | 0.1 | 494 | 500 | 210 | 647 | 172 | 28 | 29.2 | 543.4 | 194 | 55
2016-08-04 | 1217.5 | 6.7 | 0.2 | 518 | 500 | 407 | 648 | 238 | 36 | 32.7 | N/A | N/A | N/A
2016-08-03 | 1217.6 | 6.7 | 0.2 | 512 | 520 | 488 | 643 | 359 | 52 | 28.1 | 544.7 | 194 | 55
2016-08-02 | 1217.6 | 6.5 | 0.1 | 525 | 520 | 646 | 641 | 593 | 57 | 31.1 | N/A | N/A | N/A
2016-08-01 | 1217.6 | 6.3 | -0.2 | 523 | 520 | 295 | 638 | 206 | 44 | 27.1 | 544.8 | 194 | 50
2016-07-31 | 1217.8 | 6.4 | 0.1 | 537 | 540 | 249 | 662 | 112 | 30 | 29.9 | N/A | N/A | N/A
2016-07-30 | 1218 | 6.4 | 0.2 | 544 | 540 | 255 | 670 | 123 | 22 | 31.1 | N/A | N/A | N/A
2016-07-29 | 1218.3 | 6.5 | 0.3 | 546 | 540 | 195 | 683 | 139 | 25 | 29.8 | 545.1 | 194 | 50
2016-07-28 | 1218.6 | 6.8 | 0.6 | 543 | 540 | 220 | 715 | 127 | 29 | 32.5 | 545.2 | 199 | 50
2016-07-27 | 1218.9 | 6.8 | 0.6 | 568 | 560 | 213 | 714 | 152 | 33 | 33.7 | 545.3 | 199 | 50
2016-07-26 | 1219.2 | 6.9 | 0.8 | 567 | 560 | 300 | 713 | 186 | 40 | 32.1 | 545.4 | 199 | 24
2016-07-25 | 1219.5 | 7 | 0.9 | 562 | 560 | 354 | 708 | 197 | 44 | 32.1 | 545.5 | 199 | 24
2016-07-24 | 1219.7 | 7.1 | 1 | 578 | 580 | 339 | 701 | 239 | 44 | 28.6 | N/A | N/A | N/A
2016-07-23 | 1219.9 | 7.1 | 1 | 582 | 580 | 220 | 697 | 167 | 36 | 30.6 | N/A | N/A | N/A
2016-07-22 | 1220.2 | 7.2 | 1.2 | 578 | 580 | 275 | 699 | 162 | 40 | 31.2 | 545.8 | 199 | 24
2016-07-21 | 1220.5 | 7.3 | 1.4 | 578 | 580 | 274 | 696 | 172 | 48 | 32 | N/A | N/A | N/A
2016-07-20 | 1220.8 | 7.4 | 1.6 | 556 | 550 | 311 | 695 | 211 | 59 | 31.4 | 546 | 201 | 24
2016-07-19 | 1221 | 7.5 | 1.6 | 553 | 550 | 398 | 690 | 270 | 78 | 32.2 | 546.1 | 219 | 24
2016-07-18 | 1221.1 | 7.4 | 1.5 | 543 | 550 | 515 | 683 | 314 | 99 | 28.5 | 546.2 | 225 | 24
2016-07-17 | 1221.2 | 7.3 | 1.4 | 535 | 530 | 735 | 673 | 442 | 137 | 28.4 | N/A | N/A | N/A
2016-07-16 | 1221.1 | 7 | 1.2 | 535 | 530 | 1139 | 659 | 707 | 216 | N/A | N/A | N/A | N/A
2016-07-15 | 1220.6 | 6.4 | 0.6 | 560 | 530 | 1967 | 634 | 1220 | 449 | 29.8 | 546.5 | 233 | 24
2016-07-14 | 1219.6 | 5.2 | -0.6 | 494 | 530 | 652 | 583 | 535 | 182 | 30.3 | 546.5 | 225 | 24
2016-07-13 | 1219.4 | 4.8 | -0.8 | 409 | 400 | 591 | 579 | 419 | 82 | 30.6 | 546.5 | 222 | 24
2016-07-12 | 1219.3 | 4.5 | -0.9 | 455 | 400 | 1069 | 580 | 698 | 125 | 29.9 | 546.6 | 228 | 24
2016-07-11 | 1218.9 | 4 | -1.4 | 378 | 400 | 2318 | 570 | 1350 | 423 | 28.6 | 546.6 | 236 | 24
NY Power Authority Comments : The Canal Corporation authorized a return to the Operating Diagram discharge.
2016-07-10 | 1217.3 | 2.2 | -3.2 | 296 | 400 | 3642 | 514 | 2430 | 835 | 28.9 | N/A | N/A | N/A
2016-07-09 | 1214.4 | -0.9 | -6.2 | 299 | 400 | 767 | 416 | 439 | 168 | N/A | N/A | N/A | N/A
2016-07-08 | 1214 | -1.5 | -6.8 | 304 | 400 | 230 | 417 | 134 | 20 | 32.2 | 545.9 | 219 | 24
2016-07-07 | 1214.1 | -1.5 | -6.9 | 302 | 400 | 146 | 439 | 130 | 21 | 30.5 | 546 | 219 | 24
2016-07-06 | 1214.3 | -1.5 | -6.8 | 304 | 400 | 230 | 474 | N/A | N/A | 31.7 | 546.2 | 219 | 24
2016-07-05 | 1214.4 | -1.6 | -6.8 | 305 | 400 | 285 | 550 | 198 | 28 | 30.8 | N/A | N/A | N/A
2016-07-04 | 1214.4 | -1.8 | -6.9 | 311 | 400 | 427 | 557 | 279 | 33 | 27 | N/A | N/A | N/A
2016-07-03 | 1214.3 | -2.1 | -7.1 | 347 | 400 | 530 | 548 | 459 | 45 | 28.4 | N/A | N/A | N/A
2016-07-02 | 1214.1 | -2.4 | -7.5 | 309 | 400 | 1016 | 535 | 833 | 70 | N/A | N/A | N/A | N/A
2016-07-01 | 1213.5 | -3.2 | -8.2 | 303 | 400 | 497 | 507 | 299 | 72 | 29.2 | 546.6 | 225 | 24
2016-06-30 | 1213.3 | -3.6 | -8.6 | 307 | 400 | 660 | 497 | 308 | 118 | 28.8 | 546.7 | 214 | 24
2016-06-29 | 1213 | -4 | -8.9 | 310 | 400 | 1159 | 480 | 489 | 404 | N/A | N/A | N/A | N/A
2016-06-28 | 1212.3 | -4.9 | -9.9 | 307 | 400 | 186 | 449 | 164 | 232 | 29.3 | 546.8 | 214 | 24
2016-06-27 | 1212.4 | -5 | -9.8 | 307 | 400 | 158 | 451 | 101 | 24 | 30.8 | 547 | 194 | 24
2016-06-26 | 1212.6 | -5 | -9.7 | 299 | 400 | 150 | 452 | 103 | 25 | 32.3 | N/A | N/A | N/A
2016-06-25 | 1212.8 | -5 | -9.6 | 304 | 400 | 154 | 454 | 117 | 30 | 30.5 | N/A | N/A | N/A
2016-06-24 | 1213 | -5 | -9.6 | 310 | 400 | 236 | 456 | 138 | 39 | 30.9 | N/A | N/A | N/A
2016-06-23 | 1213 | -5.1 | -9.7 | 308 | 400 | 259 | 459 | 158 | 56 | 30.8 | 547.4 | 199 | 24
2016-06-22 | 1213.1 | -5.2 | -9.6 | 304 | 400 | 206 | 461 | 147 | 73 | 29.8 | N/A | N/A | N/A
2016-06-21 | 1213.2 | -5.3 | -9.5 | 301 | 400 | 230 | 466 | 141 | 69 | 31.9 | 547.5 | 199 | 24
2016-06-20 | 1213.3 | -5.3 | -9.6 | 298 | 400 | 173 | 471 | 122 | 25 | 36.1 | 547.5 | 199 | 24
2016-06-19 | 1213.5 | -5.3 | -9.5 | 296 | 400 | 171 | 479 | 140 | 28 | 32.8 | N/A | N/A | N/A
2016-06-18 | 1213.6 | -5.4 | -9.6 | 302 | 400 | 230 | 488 | 165 | 32 | 35.5 | N/A | N/A | N/A
2016-06-17 | 1213.7 | -5.5 | -9.6 | 308 | 400 | 317 | 497 | 200 | 39 | 34.1 | 547.8 | 199 | 24
2016-06-16 | 1213.8 | -5.6 | -9.5 | 307 | 400 | 369 | 505 | 255 | 49 | 32.5 | N/A | N/A | N/A
2016-06-15 | 1213.7 | -5.8 | -9.6 | 304 | 400 | 446 | 517 | 335 | 61 | 33.4 | N/A | N/A | N/A
2016-06-14 | 1213.6 | -6 | -9.6 | 308 | 400 | 530 | 525 | 382 | 79 | 30.5 | N/A | N/A | N/A
2016-06-13 | 1213.5 | -6.4 | -9.9 | 310 | 400 | 611 | 532 | 433 | 101 | 29.2 | N/A | N/A | N/A
2016-06-12 | 1213.2 | -6.9 | -10.3 | 310 | 400 | 794 | 529 | 551 | 147 | 28.3 | N/A | N/A | N/A
2016-06-11 | 1212.8 | -7.4 | -10.8 | 309 | 400 | 633 | 520 | 443 | 107 | N/A | N/A | N/A | N/A
2016-06-10 | 1212.5 | -7.9 | -11.2 | 309 | 400 | 709 | 513 | 505 | 101 | 29.8 | 548 | 199 | 24
2016-06-09 | 1212.2 | -8.4 | -11.6 | 308 | 400 | 782 | 505 | 599 | 144 | 30.2 | 548 | 199 | 24
2016-06-08 | 1211.8 | -9 | -12 | 329 | 400 | 901 | 503 | 598 | 153 | 29.2 | 548 | 204 | 24
2016-06-07 | 1211.3 | -9.6 | -12.6 | 326 | 400 | 1194 | 496 | 818 | 191 | 29.5 | 548 | 206 | 24
2016-06-06 | 1210.4 | -10.6 | -13.6 | 314 | 400 | 2498 | 480 | 1530 | 514 | 29.9 | 547.9 | 219 | 24
2016-06-05 | 1208.3 | -13 | -15.8 | 305 | 400 | 502 | 422 | 425 | 189 | 29 | N/A | N/A | N/A
2016-06-04 | 1208.1 | -13.4 | -16.1 | 305 | 400 | 150 | 430 | 100 | 21 | 30.7 | N/A | N/A | N/A
2016-06-03 | 1208.3 | -13.3 | -16 | 306 | 400 | 150 | 453 | 113 | 24 | 32 | N/A | N/A | N/A
2016-06-02 | 1208.5 | -13.2 | -15.6 | 306 | 400 | 173 | 487 | 122 | 25 | 33.4 | 547.4 | 199 | 24
2016-06-01 | 1208.7 | -13.3 | -15.5 | 303 | 460 | 193 | 531 | 134 | 28 | 31.8 | N/A | N/A | N/A
2016-05-31 | 1208.8 | -13.1 | -15.3 | 298 | 460 | 161 | 549 | 154 | 34 | 31.6 | 547.7 | 217 | 24
2016-05-30 | 1209 | -13 | -15.2 | 295 | 460 | 206 | 557 | 154 | 40 | 31.8 | N/A | N/A | N/A
2016-05-29 | 1209.1 | -12.9 | -15.1 | 298 | 490 | 257 | 563 | 145 | 34 | 33.7 | N/A | N/A | N/A
2016-05-28 | 1209.2 | -12.8 | -15.1 | 301 | 490 | 187 | 568 | 157 | 34 | 33.2 | N/A | N/A | N/A
2016-05-27 | 1209.4 | -12.6 | -14.9 | 364 | 490 | 225 | 579 | 172 | 38 | 32.8 | 548 | 217 | 24
NY Power Authority Comments : The Canal Corporation authorized a flow of 300 cfs, to preserve Canal navigation through the end of the Canal season.
2016-05-26 | 1209.5 | -12.4 | -14.8 | 490 | 490 | 207 | 593 | 188 | 40 | 32.9 | 548 | 217 | 25
2016-05-25 | 1209.8 | -12.2 | -14.6 | 529 | 530 | 315 | 605 | 205 | 44 | 30.6 | N/A | N/A | N/A
2016-05-24 | 1210.1 | -11.9 | -14.3 | 533 | 530 | 317 | 608 | 229 | 50 | 30.6 | 548.2 | 219 | 25
2016-05-23 | 1210.3 | -11.7 | -14.1 | 568 | 530 | 375 | 611 | 255 | 56 | 30.3 | 548.3 | 277 | 24
2016-05-22 | 1210.6 | -11.4 | -13.8 | 581 | 580 | 361 | 617 | 267 | 61 | 29.4 | N/A | N/A | N/A
2016-05-21 | 1210.8 | -11.2 | -13.7 | 581 | 580 | 411 | 624 | 286 | 62 | 30 | N/A | N/A | N/A
2016-05-20 | 1211 | -11 | -13.5 | 580 | 580 | 460 | 638 | N/A | N/A | 30.6 | 548.6 | 217 | 25
2016-05-19 | 1211.1 | -10.9 | -13.4 | 578 | 580 | 483 | 639 | N/A | N/A | 28 | N/A | N/A | N/A
2016-05-18 | 1211.3 | -10.8 | -13.3 | 683 | 680 | 562 | 646 | 415 | 88 | 31.9 | N/A | N/A | N/A
2016-05-17 | 1211.4 | -10.6 | -13.1 | 686 | 680 | 743 | 653 | 481 | 103 | 27.2 | 548.7 | 219 | 25
2016-05-16 | 1211.4 | -10.6 | -13.1 | 692 | 680 | 673 | 660 | 519 | 128 | 28.9 | 548.7 | 219 | 26
2016-05-15 | 1211.4 | -10.5 | -13.1 | 777 | 770 | 732 | 671 | 504 | 158 | 27.2 | N/A | N/A | N/A
2016-05-14 | 1211.5 | -10.4 | -13 | 777 | 770 | 526 | 687 | 394 | 117 | 29.2 | N/A | N/A | N/A
2016-05-13 | 1211.8 | -10.2 | -12.7 | 769 | 770 | 517 | 725 | 330 | 86 | 28.3 | 548.7 | 219 | 26
2016-05-12 | 1212 | -10 | -12.4 | 772 | 770 | 440 | 799 | 335 | 77 | 30.5 | 548.7 | 219 | 25
2016-05-11 | 1212.4 | -9.6 | -12 | 887 | 890 | 473 | 882 | 379 | 89 | 29.4 | N/A | N/A | N/A
2016-05-10 | 1212.8 | -9.2 | -11.5 | 972 | 890 | 713 | 909 | 435 | 106 | 27.4 | 548.8 | 219 | 25
2016-05-09 | 1213.1 | -8.9 | -11.1 | 898 | 890 | 691 | 929 | 516 | 139 | 28.2 | 548.8 | 222 | 26
2016-05-08 | 1213.3 | -8.7 | -11 | 988 | 990 | 727 | 963 | 539 | 138 | 28 | N/A | N/A | N/A
2016-05-07 | 1213.6 | -8.4 | -10.7 | 994 | 990 | 742 | 1020 | N/A | 122 | 27.8 | N/A | N/A | N/A
2016-05-06 | 1213.8 | -8.2 | -10.6 | 997 | 990 | 732 | 1030 | 528 | 105 | 28 | N/A | N/A | N/A
2016-05-05 | 1214.1 | -8 | -10.4 | 998 | 990 | 840 | 1037 | 638 | 123 | 28.9 | 548.5 | 225 | 24
2016-05-04 | 1214.2 | -7.8 | -10.2 | 1203 | 1200 | 1181 | 1040 | 793 | 155 | 27.6 | 548.4 | 225 | 24
2016-05-03 | 1214.3 | -7.7 | -10.1 | 1210 | 1200 | 1486 | 1045 | 1080 | 246 | 29.1 | 548.3 | 233 | 24
2016-05-02 | 1214.1 | -7.9 | -10.2 | 1207 | 1200 | 749 | 1053 | 594 | 172 | 28 | N/A | N/A | N/A
2016-05-01 | 1214.5 | -7.5 | -9.6 | 1278 | 1290 | 402 | 1117 | 299 | 64 | 28.3 | N/A | N/A | N/A
2016-04-30 | 1215.3 | N/A | -8.6 | 1292 | 1290 | 366 | 1166 | N/A | 61 | 27.4 | N/A | N/A | N/A
2016-04-29 | 1216.2 | N/A | -7.6 | 1295 | 1290 | 411 | 1200 | 339 | 67 | 27.7 | 547.9 | 217 | 24
2016-04-28 | 1216.9 | N/A | -6.7 | 1296 | 1290 | 514 | 1246 | 396 | 78 | 29.1 | 547.9 | 217 | 24
2016-04-27 | 1217.6 | N/A | -5.8 | 1398 | 1400 | 664 | 1310 | 479 | 100 | 28.5 | 548 | 349 | 24
2016-04-26 | 1218.2 | N/A | -5 | 1358 | 1400 | 555 | 1335 | 373 | 83 | 27.9 | 548 | 349 | 24
2016-04-25 | 1218.9 | N/A | -3.8 | 1383 | 1400 | 418 | 1360 | 316 | 63 | 27.4 | N/A | N/A | N/A
2016-04-24 | 1219.7 | N/A | -2.6 | 1391 | 1400 | 411 | 1406 | 345 | 68 | 27 | N/A | N/A | N/A
2016-04-23 | 1220.5 | N/A | -1.3 | 1402 | 1400 | 531 | 1437 | 379 | 75 | 30.6 | N/A | N/A | N/A
2016-04-22 | 1221.2 | N/A | 0.2 | 1404 | 1400 | 590 | 1447 | 399 | 80 | 28.6 | 548.6 | 349 | 24
2016-04-21 | 1221.9 | N/A | 1.6 | 1420 | 1400 | 814 | 1453 | 431 | 85 | 28.5 | 548.7 | 349 | 24
2016-04-20 | 1222.4 | N/A | 2.6 | 1522 | 1580 | 491 | 1457 | 477 | 95 | 30.6 | 548.8 | 509 | 24
2016-04-19 | 1223.2 | N/A | 4 | 1582 | 1580 | 700 | 1475 | 525 | 108 | 28.1 | 549 | 514 | 24
2016-04-18 | 1223.9 | N/A | 5.1 | 1520 | 1580 | 759 | 1492 | 573 | 121 | 30.5 | 549.3 | 514 | 24
2016-04-17 | 1224.5 | N/A | 6.3 | 1414 | 1410 | 978 | 1523 | 650 | 144 | 29.7 | N/A | N/A | N/A
2016-04-16 | 1224.8 | N/A | 7.5 | 1427 | 1410 | 988 | 1572 | 766 | 180 | 29.6 | N/A | N/A | N/A
2016-04-15 | 1225.2 | N/A | 8.8 | 1666 | 1410 | 1224 | 1636 | 940 | 223 | 28.8 | 549.7 | 523 | 24
2016-04-14 | 1225.5 | N/A | 9.9 | 2094 | 1410 | 1649 | 1652 | 1230 | 324 | 31.9 | 549.8 | 532 | 24
2016-04-13 | 1225.8 | N/A | 10.9 | 2551 | 1400 | 2746 | 1656 | 1860 | 649 | 30.5 | 549.8 | 550 | 24
2016-04-12 | 1225.7 | N/A | 11.5 | 1660 | 1400 | 2925 | 1630 | 2260 | 784 | 29.7 | 549 | 611 | 24
2016-04-11 | 1224.8 | N/A | 11.3 | 1403 | 1400 | 1297 | 1619 | 874 | 259 | 32.1 | 548.3 | 504 | 24
2016-04-10 | 1224.9 | N/A | 12.1 | 1400 | 1400 | 1294 | 1722 | 979 | 228 | 29.6 | N/A | N/A | N/A
2016-04-09 | 1225 | N/A | 12.7 | 1399 | 1400 | 1725 | 1935 | N/A | 325 | 30.5 | N/A | N/A | N/A
2016-04-08 | 1224.8 | N/A | 13.1 | 1390 | 1400 | 2439 | 2007 | 1770 | 551 | 29.6 | N/A | N/A | N/A
2016-04-07 | 1224 | N/A | 13.1 | 1389 | 1400 | 1022 | 1954 | 785 | 212 | 32.1 | N/A | N/A | N/A
2016-04-06 | 1224.3 | N/A | 14.2 | 1397 | 1400 | 962 | 1939 | 656 | 139 | 31.5 | N/A | N/A | N/A
2016-04-05 | 1224.7 | N/A | 15.5 | 1399 | 1400 | 928 | 1925 | 777 | 166 | 30.4 | N/A | N/A | N/A
2016-04-04 | 1225 | N/A | 16.8 | 1427 | 1400 | 1321 | 1913 | 1020 | 190 | 31.3 | N/A | N/A | N/A
2016-04-03 | 1225.1 | N/A | 18 | 1440 | 1400 | 1733 | 1890 | 1430 | 247 | 30.9 | N/A | N/A | N/A
2016-04-02 | 1224.9 | N/A | 18.7 | 1419 | 1400 | 2668 | 1849 | N/A | N/A | 30.2 | N/A | N/A | N/A
2016-04-01 | 1224 | N/A | 18.7 | 1421 | 1400 | 1873 | 1803 | 1550 | 316 | 30.1 | N/A | N/A | N/A
2016-03-31 | 1223.7 | N/A | 19.3 | 1421 | 1400 | 1379 | 1788 | 1050 | 208 | 32.1 | N/A | N/A | N/A
2016-03-30 | 1223.8 | N/A | 20.3 | 1421 | 1400 | 1801 | 1792 | 1340 | 247 | 31.6 | 545.6 | 180 | 0
2016-03-29 | 1223.5 | N/A | 20.8 | 1412 | 1400 | 2434 | 1780 | 1890 | 362 | 32.4 | N/A | N/A | N/A
2016-03-28 | 1222.7 | N/A | 20.9 | 1406 | 1400 | 1397 | 1757 | 1140 | 210 | 30.2 | N/A | N/A | N/A
2016-03-27 | 1222.8 | N/A | 21.8 | 1398 | 1400 | 1325 | 1801 | 1020 | 192 | 31.6 | N/A | N/A | N/A
2016-03-26 | 1222.8 | N/A | 22.2 | 1324 | 1400 | 1794 | 1927 | N/A | 275 | 31.3 | N/A | N/A | N/A
2016-03-25 | 1222.5 | N/A | 22.3 | 1404 | 1400 | 1332 | 2058 | 1110 | 247 | 30.3 | 544.2 | 209 | 0
2016-03-24 | 1222.6 | N/A | 22.6 | 1409 | 1400 | 823 | 2038 | 584 | 139 | 31.6 | 544.1 | 616 | 0
2016-03-23 | 1223 | N/A | 23.1 | 1771 | 1770 | 790 | 2031 | 609 | 133 | 31 | 544.4 | 806 | 0
2016-03-22 | 1223.8 | N/A | 24.1 | 1771 | 1770 | 941 | 2031 | 682 | 142 | 31 | N/A | N/A | N/A
2016-03-21 | 1224.4 | N/A | 24.8 | 1779 | 1770 | 1011 | 2030 | 820 | 163 | 30.8 | 545.3 | 812 | 0
2016-03-20 | 1225 | N/A | 25.6 | 1689 | 1550 | 1211 | 2028 | 1020 | 229 | 31.4 | N/A | N/A | N/A
2016-03-19 | 1225.4 | N/A | 25.9 | 2147 | 1550 | 1700 | 2026 | N/A | N/A | 29.1 | N/A | N/A | N/A
2016-03-18 | 1225.7 | N/A | 26.4 | 2579 | 1550 | 2433 | 2026 | 1990 | 359 | 32 | 546.2 | 829 | 0
2016-03-17 | 1225.8 | N/A | 26.7 | 2216 | 1550 | 2912 | 2002 | 2530 | 410 | 59.8 | 546.3 | 835 | 0
2016-03-16 | 1225.4 | N/A | 26.2 | 1659 | 1400 | 1716 | 1921 | 1490 | 290 | 30.8 | 546.5 | 823 | 0
2016-03-15 | 1225.3 | N/A | 26.3 | 1665 | 1400 | 1755 | 1871 | 1440 | 310 | 30.8 | 546.8 | 829 | 0
2016-03-14 | 1225.3 | N/A | 26.5 | 1510 | 1400 | 1967 | 1821 | 1590 | 323 | 30.7 | 547 | 829 | 0
2016-03-13 | 1225 | N/A | 26.3 | 1411 | 1400 | 2606 | 1766 | 1960 | 415 | 31.2 | N/A | N/A | N/A
2016-03-12 | 1224.1 | N/A | 25.5 | 1419 | 1400 | 4372 | 1690 | N/A | N/A | 30.9 | N/A | N/A | N/A
2016-03-11 | 1221.9 | N/A | 23.2 | 1361 | 1400 | 7699 | 1559 | 5730 | 1320 | 31.7 | N/A | N/A | N/A
2016-03-10 | 1216.8 | N/A | 18.1 | 1407 | 1400 | 3866 | 1323 | 3200 | 550 | 31.1 | 546 | 846 | 0
2016-03-09 | 1214.7 | N/A | 16 | 1399 | 1400 | 849 | 1215 | 685 | 209 | 32.7 | 545.8 | 817 | 0
2016-03-08 | 1215.2 | N/A | 16.6 | 1395 | 1400 | 581 | 1216 | 467 | 135 | 30.6 | 546.1 | 812 | 0
2016-03-07 | 1215.9 | N/A | 17.2 | 1398 | 1400 | 543 | 1233 | 461 | 120 | 32.9 | 546.4 | 813 | 0
2016-03-06 | 1216.7 | N/A | 18.2 | 1399 | 1400 | 560 | 1265 | 491 | 127 | 30.1 | N/A | N/A | N/A
2016-03-05 | 1217.4 | N/A | 18.9 | 1400 | 1400 | 639 | 1336 | 549 | 152 | 30.6 | N/A | N/A | N/A
2016-03-04 | 1218 | N/A | 19.2 | 1403 | 1400 | 510 | 1433 | 656 | 196 | 32.1 | N/A | N/A | N/A
2016-03-03 | 1218.8 | N/A | 19.7 | 1401 | 1400 | 1275 | 1447 | 789 | 224 | 31.2 | 547.7 | 823 | 0
2016-03-02 | 1218.9 | N/A | 19.5 | 1395 | 1400 | 1448 | 1417 | 975 | 293 | 32.9 | 548.2 | 877 | 0
2016-03-01 | 1218.9 | N/A | 19.3 | 1402 | 1400 | 1484 | 1379 | 1090 | 346 | 29.9 | 548.4 | 840 | 0
2029-02-01 | 1218.9 | N/A | 19.2 | 1408 | 1400 | 1432 | 1339 | 1080 | 355 | 32.4 | 548.4 | 840 | 0
2016-02-28 | 1218.9 | N/A | 19.1 | 1090 | 1080 | 1766 | 1301 | 1250 | 370 | 31.2 | N/A | N/A | N/A
2016-02-27 | 1218.3 | N/A | 18.4 | 1095 | 1080 | 2690 | 1252 | 1760 | 604 | 31.7 | N/A | N/A | N/A
2016-02-26 | 1217 | N/A | 16.9 | 1111 | 1080 | 5128 | 1174 | 3160 | 1080 | 33.2 | 548.7 | 877 | 0
2016-02-25 | 1213.5 | N/A | 13.1 | 1188 | 1080 | 5701 | 1014 | 4510 | 978 | 32.7 | 547 | 944 | 0
2016-02-24 | 1209.2 | N/A | 8.6 | 1065 | 1070 | 747 | 835 | 560 | 219 | 34.8 | 546 | 806 | 0
2016-02-23 | 1209.5 | N/A | 8.8 | 1093 | 1070 | 625 | 822 | -999999 | -999999 | 33.4 | 546.5 | 509 | 0
2016-02-22 | 1210 | N/A | 9.2 | 1106 | 1070 | 782 | 813 | -999999 | -999999 | 34.7 | 546.5 | 505 | 0
2016-02-21 | 1210.4 | N/A | 9.3 | 1078 | 1020 | 902 | 798 | -999999 | -999999 | 33.7 | N/A | N/A | N/A
2016-02-20 | 1210.6 | N/A | 9 | 1085 | 1020 | 958 | 781 | -999999 | -999999 | 33 | N/A | N/A | N/A
2016-02-19 | 1210.7 | N/A | 8.9 | 1087 | 1020 | 1137 | 762 | -999999 | -999999 | 35 | 546.5 | 509 | 0
2016-02-18 | 1210.7 | N/A | 8.7 | 1102 | 1020 | 1700 | 737 | N/A | N/A | 34.2 | N/A | N/A | N/A
2016-02-17 | 1210.1 | N/A | 8 | 1093 | 1060 | 1732 | 696 | -999999 | -999999 | 35.4 | N/A | N/A | N/A
2016-02-16 | 1209.5 | N/A | 7.1 | 1058 | 1060 | 466 | 660 | -999999 | -999999 | 34.3 | 546.5 | 335 | 0
2016-02-15 | 1210.1 | N/A | 7.4 | 1058 | 1060 | 230 | 670 | 971 | -999999 | 33 | 545.9 | 366 | 0
2016-02-14 | 1210.9 | N/A | 7.8 | 1063 | 1070 | 245 | 690 | 695 | N/A | 30.8 | N/A | N/A | N/A
2016-02-13 | 1211.8 | N/A | 8.2 | 1066 | 1070 | 311 | 713 | N/A | N/A | 32 | 544.9 | 318 | 0
2016-02-12 | 1212.5 | N/A | 8.7 | 1070 | 1070 | 330 | 736 | 290 | -999999 | 32.7 | 545.3 | 318 | 0
2016-02-11 | 1213.2 | N/A | 9 | 1077 | 1070 | 460 | 770 | 332 | -999999 | 31.3 | 545.4 | 318 | 0
2016-02-10 | 1213.8 | N/A | 9.2 | 1016 | 1010 | 608 | 825 | 418 | -999999 | 32.4 | 545.5 | 318 | 0
2016-02-09 | 1214.2 | N/A | 9.2 | 1017 | 1010 | 633 | 921 | 469 | -999999 | 32.1 | N/A | N/A | N/A
2016-02-08 | 1214.5 | N/A | 9.1 | 1014 | 1010 | 873 | 940 | 567 | -999999 | 34.7 | 545.5 | 321 | 0
2016-02-07 | 1214.7 | N/A | 8.9 | 947 | 940 | 1081 | 930 | N/A | N/A | 32.7 | N/A | N/A | N/A
2016-02-06 | 1214.6 | N/A | 8.5 | 947 | 940 | 1518 | 910 | 999 | 350 | 32.5 | N/A | N/A | N/A
2016-02-05 | 1214.1 | N/A | 7.6 | 952 | 940 | 2683 | 877 | 1530 | 704 | 32.8 | 545.5 | 342 | 0
2016-02-04 | 1212.5 | N/A | 5.8 | 954 | 940 | 3551 | 803 | 2260 | 1030 | 34.6 | 544.6 | 366 | 0
2016-02-03 | 1210.1 | N/A | 3.2 | 980 | 970 | 929 | 698 | 724 | 365 | 32.7 | 542.3 | 315 | 0
2016-02-02 | 1210.1 | N/A | 3 | 971 | 970 | 370 | 689 | 341 | 133 | 33.1 | 542.3 | 315 | 0
2016-02-01 | 1210.8 | N/A | 3.4 | 975 | 970 | 313 | 705 | 279 | 98 | 33.9 | 542.1 | 308 | 0
2016-01-31 | 1211.4 | N/A | 3.8 | 999 | 1010 | 278 | 729 | 261 | 67 | 33 | N/A | N/A | N/A
2016-01-30 | 1212.1 | N/A | 4.2 | 1010 | 1010 | 301 | 763 | N/A | N/A | 32 | N/A | N/A | N/A
2016-01-29 | 1212.8 | N/A | 4.7 | 1018 | 1010 | 300 | 802 | 283 | 73 | 34.2 | 542.5 | 302 | 0
2016-01-28 | 1213.5 | N/A | 5.2 | 1014 | 1010 | 338 | 840 | 310 | 79 | N/A | 542.6 | 305 | 0
2016-01-27 | 1214.1 | N/A | 5.7 | 1057 | 1050 | 318 | 888 | 316 | 91 | N/A | 542.7 | 305 | 0
2016-01-26 | 1214.8 | N/A | 6.3 | 1051 | 1050 | 355 | 956 | 323 | 82 | 32.7 | 542.8 | 305 | 0
2016-01-25 | 1215.4 | N/A | 6.8 | 1053 | 1050 | 347 | 1009 | 329 | 79 | 32.9 | 543 | 650 | 0
2016-01-24 | 1216.1 | N/A | 7.4 | 1097 | 1090 | 353 | 1050 | 325 | 78 | 32.4 | N/A | N/A | N/A
2016-01-23 | 1216.7 | N/A | 8.1 | 1091 | 1090 | 337 | 1125 | 329 | 86 | 31.7 | N/A | N/A | N/A
2016-01-22 | 1217.4 | N/A | 8.8 | 1091 | 1090 | 386 | 1236 | 344 | 90 | 33.3 | 544.3 | 660 | 0
2016-01-21 | 1218 | N/A | 9.1 | 1094 | 1090 | 380 | 1372 | 361 | 104 | 33.9 | 544.6 | 660 | 0
2016-01-20 | 1218.6 | N/A | 9.5 | 1403 | 1400 | 410 | 1419 | 386 | 120 | 32 | 544.9 | 492 | 0
2016-01-19 | 1219.4 | N/A | 10.1 | 1404 | 1400 | 456 | 1433 | 370 | 128 | 33.9 | 545.1 | 492 | 0
2016-01-18 | 1220.2 | N/A | 10.8 | 1404 | 1400 | 659 | 1454 | 426 | 184 | 31.9 | N/A | N/A | N/A
2016-01-17 | 1220.8 | N/A | 11.1 | 1087 | 1090 | 769 | 1479 | 525 | 239 | 31.2 | N/A | N/A | N/A
2016-01-16 | 1221.1 | N/A | 11.2 | 1090 | 1090 | 833 | 1509 | 589 | N/A | 31.4 | N/A | N/A | N/A
2016-01-15 | 1221.3 | N/A | 11.2 | 1095 | 1090 | 930 | 1519 | 659 | 228 | 32.4 | 545.7 | 497 | 0
2016-01-14 | 1221.5 | N/A | 11.1 | 1096 | 1090 | 994 | 1532 | 781 | 268 | 32.4 | 545.8 | 497 | 0
2016-01-13 | 1221.6 | N/A | 10.9 | 1041 | 1030 | 1346 | 1526 | 1030 | 318 | 32.2 | 545.9 | 497 | 0
2016-01-12 | 1221.4 | N/A | 10.4 | 1043 | 1030 | 2119 | 1496 | 1650 | 521 | 32.8 | 546 | 497 | 0
2016-01-11 | 1220.5 | N/A | 9.3 | 1046 | 1030 | 3483 | 1439 | 2750 | 941 | 34.5 | 545.8 | 349 | 0
2016-01-10 | 1218.6 | N/A | 7.1 | 1091 | 1080 | 1203 | 1337 | 1120 | 339 | 31.9 | N/A | N/A | N/A
2016-01-09 | 1218.5 | N/A | 6.8 | 1076 | 1080 | 564 | 1316 | N/A | 88 | 31.5 | N/A | N/A | N/A
2016-01-08 | 1218.9 | N/A | 7 | 1083 | 1080 | 477 | 1315 | 434 | 89 | 32.6 | 544.1 | 325 | 0
2016-01-07 | 1219.4 | N/A | 7.4 | 1090 | 1080 | 539 | 1318 | 425 | 122 | 31.4 | 544.2 | 325 | 0
2016-01-06 | 1219.9 | N/A | 7.7 | 1390 | 1400 | 462 | 1318 | 390 | 189 | 33.5 | 544.2 | 325 | 0
2016-01-05 | 1220.7 | N/A | 8.4 | 1404 | 1400 | 403 | 1328 | 361 | 189 | 32.4 | 544.3 | 325 | 0
2016-01-04 | 1221.5 | N/A | 9.2 | 1399 | 1400 | 667 | 1344 | 490 | 126 | 31.8 | 544.5 | 1160 | 0
2016-01-03 | 1222.1 | N/A | 9.8 | 1393 | 1400 | 845 | 1360 | 671 | 150 | 31.4 | N/A | N/A | N/A
2016-01-02 | 1222.5 | N/A | 10.2 | 1404 | 1400 | 1044 | 1390 | N/A | N/A | 30.4 | N/A | N/A | N/A
2016-01-01 | 1222.8 | N/A | 10.5 | 1403 | 1400 | 1298 | 1436 | 974 | 236 | 31.5 | N/A | N/A | N/A
The Elevation Trigger is invoked when Hinckley Reservoir elevation falls below the 10% historical low level. The elevation trigger is 1222 feet in May, 1198 feet October 15 to December 31 and linearly interpolated from 1222 feet on May 31 and 1198 feet on October 15.
2 "Normal" Hinckley Reservoir elevations for a given date are based upon the average of 59 years of daily Hinckley Reservoir elevation data (1942-1979 and 1987-2007).
3 cfs is the abbreviation for cubic feet per second.
4 The 1920 Operating Diagram establishes the rate of release of water from Hinckley Reservoir based upon varying reservoir levels throughout the year.
5 The Inflow Trigger is invoked when the 30-day running average Hinckley Reservoir inflow is below 300 cfs.
6 The Wilmurt plus Black Creek streamflow represents 80% of the Hinckley watershed area.