## Sheet1
Date | Hinckley Reservoir Elevation | Hinckley Reservoir Comparison to Elevation Trigger1 | Hinckley Reservoir Comparison to Normal Elevation2 | Hinckley Reservoir Discharge | 2012 Operating Diagram Release4 | Hinckley Reservoir Inflow | Hinckley Reservoir 30-Day Running Average Inflow5 | Wilmurt Streamgage Flow | Black Creek Flow | Mohawk Valley Water Authority Withdrawal | Delta Reservoir Elevation | Delta Reservoir Discharge | Nine Mile Feeder Discharge
2018-12-30 | 1225.7 | 27.7 | 13.3 | 1354 | 900 | 2479 | 1496 | 1770 | 584 | 30.2 | 546.1 | 506 | 0
2018-12-29 | 1224.9 | 26.9 | 12.4 | 913 | 900 | 3739 | 1447 | 2960 | 816 | 29.8 | 545.9 | 528 | 0
2018-12-28 | 1222.8 | 24.7 | 10 | 906 | 900 | 1849 | 1361 | 1310 | 384 | 30 | 544.1 | 573 | 0
2018-12-27 | 1222.1 | 24.1 | 9.1 | 903 | 900 | 797 | 1353 | 616 | 189 | 30.3 | 544.1 | 225 | 0
2018-12-26 | 1222.2 | 24.2 | 9.1 | 903 | 900 | 861 | 1400 | 719 | 199 | 29 | 544 | 225 | 0
2018-12-25 | 1222.2 | 24.2 | 8.9 | 909 | 900 | 1278 | 1432 | 1010 | 211 | 29.8 | 544.1 | 225 | 0
2018-12-24 | 1221.9 | 24 | 8.5 | 904 | 900 | 1959 | 1427 | 1490 | 315 | 29.1 | 543.9 | 231 | 0
2018-12-23 | 1221.1 | 23.1 | 7.6 | 948 | 930 | 3411 | 1377 | 2480 | 637 | 30.9 | 543.8 | 233 | 0
2018-12-22 | 1219.2 | 21.2 | 5.6 | 944 | 930 | 5831 | 1274 | 4850 | 841 | 29.6 | 543.3 | 250 | 0
2018-12-21 | 1215 | 17 | 1.5 | 935 | 930 | 2239 | 1093 |  |  | 32.2 | 541.8 | 259 | 0
2018-12-20 | 1213.9 | 15.9 | 0.3 | 937 | 930 | 416 | 1033 |  |  | 31.4 | 541.5 | 218 | 0
2018-12-19 | 1214.4 | 16.4 | 0.5 | 994 | 990 | 385 | 1038 | 337 | 98 | 30.4 | 541.6 | 218 | 0
2018-12-18 | 1215 | 17 | 1 | 993 | 990 | 432 | 1045 | 354 | 92 | 30.4 | 541.6 | 220 | 0
2018-12-17 | 1215.5 | 17.5 | 1.3 | 952 | 990 | 469 | 1053 | 411 | 100 | 30.3 | 541.5 | 223 | 0
2018-12-16 | 1215.9 | 17.8 | 1.6 | 1379 | 1390 | 551 | 1065 | 405 | 94 | 30.8
2018-12-15 | 1216.6 | 18.6 | 2.2 | 1381 | 1390 | 511 | 1071 | 430 | 97 | 31 | 541.4 | 220 | 0
2018-12-14 | 1217.4 | 19.4 | 2.9 | 1390 | 1390 | 507 | 1077 |  |  | 32.2 | 541.5 | 329 | 0
2018-12-13 | 1218.2 | 20.2 | 3.6 | 1389 | 1390 | 463 | 1088 |  |  | 31.4 | 541.6 | 806 | 0
2018-12-12 | 1218.9 | 20.9 | 4.6 | 1397 | 1400 | 577 | 1108 | 459 | 107 | 31.1 | 542.1 | 812 | 0
2018-12-11 | 1219.6 | 21.6 | 5.5 | 1398 | 1400 | 536 | 1133 | 444 | 114 | 31.5 | 542.7 | 823 | 0
2018-12-10 | 1220.3 | 22.4 | 6.4 | 1393 | 1400 | 675 | 1177 | 545 | 141 | 32.3 | 543.2 | 823 | 0
2018-12-09 | 1220.9 | 22.9 | 6.9 | 1392 | 1400 | 729 | 1229 | 572 | 184 | 32 | 543.6 | 828 | 0
2018-12-08 | 1221.4 | 23.4 | 7.6 | 1400 | 1400 | 635 | 1256 | 539 | 182 | 31.6 | 544 | 828 | 0
2018-12-07 | 1222.1 | 24.1 | 8.3 | 1406 | 1400 | 1034 | 1303 | 763 | 201 | 32.1 | 544.4 | 833 | 0
2018-12-06 | 1222.4 | 24.4 | 8.7 | 1357 | 1400 | 1250 | 1381 | 974 | 263 | 31.3 | 544.8 | 842 | 0
2018-12-05 | 1222.5 | 24.4 | 8.8 | 993 | 980 | 1837 | 1428 | 1270 | 408 | 31.5 | 545 | 842 | 0
2018-12-04 | 1221.8 | 23.8 | 8 | 991 | 980 | 2907 | 1423 | 1930 | 714 | 32.1 | 545.1 | 862 | 0
2018-12-03 | 1220.4 | 22.3 | 6.3 | 991 | 980 | 3743 | 1409 | 2470 | 865 | 31.2 | 544.4 | 891 | 0
2018-12-02 | 1218.1 | 20.2 | 4.1 | 960 | 950 | 1885 | 1381 | 1310 | 510 | 32.1 | 543.3 | 916 | 0
2018-12-01 | 1217.4 | 19.3 | 3.3 | 961 | 950 | 923 | 1383 | 632 | 175 | 31.4 | 543.1 | 828 | 0
2018-11-30 | 1217.4 | 19.4 | 3.6 | 963 | 950 | 984 | 1387 | 716 | 201 | 31.8 | 543.4 | 833 | 0
2018-11-29 | 1217.4 | 19.4 | 3.8 | 959 | 950 | 1182 | 1385 | 853 | 259 | 32.5 | 543.6 | 838 | 0
2018-11-28 | 1217.2 | 19.2 | 3.8 | 1139 | 1130 | 1591 | 1372 | 1060 | 433 | 33.1 | 543.7 | 847 | 0
2018-11-27 | 1216.9 | 18.9 | 3.8 | 1143 | 1130 | 2215 | 1362 | 1380 | 627 | 33.4 | 543.5 | 867 | 0
2018-11-26 | 1216 | 18 | 3 | 1142 | 1130 | 1806 | 1328 | 1230 | 433 | 32.1 | 542.6 | 828 | 0
2018-11-25 | 1215.4 | 17.4 | 2.6 | 1140 | 1130 | 1133 | 1284 | 909 | 271 | 31.6 | 542.4 | 842 | 0
2018-11-24 | 1215.4 | 17.4 | 2.7 | 1128 | 1130 | 470 | 1256 | 357 | 98 | 31.9 | 542.5 | 812 | 0
2018-11-23 | 1216 | 18 | 3.3 | 1135 | 1130 | 304 | 1255 | 268 | 116 | 26.4 | 543 | 818 | 0
2018-11-22 | 1216.8 | 18.8 | 4.3 | 1139 | 1130 | 412 | 1260 | 281 | 111 | 29.1 | 543.5 | 823 | 0
2018-11-21 | 1217.4 | 19.4 | 5.1 | 1386 | 1400 | 444 | 1264 | 381 | 102 | 31.8 | 544 | 823 | 0
2018-11-20 | 1218.2 | 20.2 | 6.2 | 1396 | 1400 | 558 | 1265 | 414 | 107 | 31.9 | 544.4 | 828 | 0
2018-11-19 | 1218.9 | 20.9 | 7 | 1337 | 1400 | 608 | 1264 | 447 | 112 | 31.8 | 544.8 | 833 | 0
2018-11-18 | 1219.5 | 21.5 | 7.7 | 1411 | 1400 | 673 | 1266 | 476 | 120 | 32.2 | 545.1 | 838 | 0
2018-11-17 | 1220.2 | 22.1 | 8.3 | 1407 | 1400 | 815 | 1268 | 534 | 142 | 31.6 | 545.5 | 838 | 0
2018-11-16 | 1220.6 | 22.6 | 9 | 1414 | 1400 | 724 | 1273 | 515 | 179 | 31.2 | 545.8 | 838 | 0
2018-11-15 | 1221.2 | 23.2 | 9.7 | 1443 | 1400 | 713 | 1282 | 506 | 155 | 30.2 | 546.1 | 842 | 0
NY Power Authority Comments : The Canal Corporation authorized the Power Authority to revert back to the 2012 Operating Diagram release of 1,400 cfs beginning November 15th.
2018-11-14 | 1221.8 | 23.8 | 10.3 | 1820 | 1400 | 827 | 1293 | 647 | 183 | 29.8 | 546.5 | 842 | 0
2018-11-13 | 1222.6 | 24.6 | 11 | 1823 | 1400 | 1074 | 1294 | 759 | 213 | 32.2 | 546.7 | 847 | 0
2018-11-12 | 1223.2 | 25.1 | 11.6 | 1876 | 1400 | 1314 | 1295 | 907 | 259 | 30.1 | 547 | 852 | 0
2018-11-11 | 1223.6 | 25.6 | 12.2 | 1834 | 1400 | 1870 | 1305 | 1250 | 445 | 30 | 547.2 | 857 | 0
2018-11-10 | 1223.6 | 25.6 | 12.3 | 1833 | 1400 | 2211 | 1335 | 1600 |  | 24.1 | 547 | 891 | 0
2018-11-09 | 1223.3 | 25.3 | 12.2 | 1553 | 1400 | 1541 | 1310 | 1090 |  | 31.6 | 546.7 | 838 | 0
NY Power Authority Comments : The Canal Corporation authorized the Power Authority to increase the Hinckley Reservoir release rate from 1,400 cfs (pursuant to the 2012 Operating Diagram) to 1,800 cfs until further notice to minimize reservoir water levels as the unusually wet conditions persist.
2018-11-08 | 1223.4 | 25.4 | 12.6 | 1380 | 1400 | 2045 | 1273 | 1540 | 389 | 30.5 | 547 | 842 | 0
2018-11-07 | 1222.9 | 24.9 | 12.1 | 924 | 910 | 3382 | 1229 | 2570 | 608 | 30.2 | 547.2 | 852 | 0
2018-11-06 | 1221 | 23 | 10.4 | 917 | 910 | 2653 | 1138 | 1650 | 391 | 29.6 | 546.9 | 847 | 0
2018-11-05 | 1219.6 | 21.6 | 9.1 | 921 | 910 | 1694 | 1073 | 1170 | 299 | 30.5 | 547.1 | 842 | 0
2018-11-04 | 1219 | 21 | 8.5 | 909 | 900 | 2492 | 1046 |  |  | 29.9 | 547.3 | 847 | 0
2018-11-03 | 1217.6 | 19.6 | 7.3 | 907 | 900 | 2902 | 999 | 1950 | 558 | 30.4 | 547.3 | 842 | 0
2018-11-02 | 1216 | 18 | 5.6 | 905 | 900 | 1957 | 949 | 1550 | 365 | 29.2 | 547.3 | 842 | 0
2018-11-01 | 1215 | 17 | 4.6 | 900 | 900 | 1016 | 944 | 713 | 158 | 30.3 | 547.2 | 833 | 0
2018-10-31 | 1215 | 17 | 4.4 | 905 | 900 | 930 | 936 | 653 | 152 | 30.1 | 547.4 | 828 | 0
2018-10-30 | 1215 | 17 | 4.4 | 909 | 900 | 786 | 929 | 799 | 196 | 29.9 | 547.7 | 833 | 0
2018-10-29 | 1215.1 | 17.1 | 4.4 | 906 | 900 | 1299 | 932 | 846 | 250 | 30.9 | 547.9 | 355 | 0
2018-10-28 | 1214.8 | 16.8 | 4 | 944 | 940 | 1216 | 932 | 823 | 291 | 30.6 | 547.5 | 387 | 0
2018-10-27 | 1214.5 | 16.5 | 3.8 | 946 | 940 | 477 | 952 | 295 | 96 | 30.3 | 547 | 336 | 0
2018-10-26 | 1215 | 17 | 4.4 | 924 | 940 | 284 | 1036 | 267 | 71 | 30.5 | 547.2 | 336 | 0
2018-10-25 | 1215.6 | 17.5 | 4.9 | 944 | 940 | 436 | 1095 | 291 | 80 | 31.8 | 547.4 | 336 | 0
2018-10-24 | 1216 | 18 | 5.5 | 997 | 1000 | 456 | 1096 | 315 | 89 | 30.8 | 547.6 | 336 | 0
2018-10-23 | 1216.5 | 18.5 | 6 | 1006 | 1000 | 545 | 1087 | 319 | 82 | 30.4 | 547.8 | 336 | 0
2018-10-22 | 1216.9 | 18.9 | 6.4 | 1003 | 1000 | 480 | 1081 | 345 | 87 | 30.8 | 547.9 | 245 | 0
2018-10-21 | 1217.4 | 19.4 | 7 | 952 | 1000 | 512 | 1075 | 398 | 101 | 29.6 | 548.1 | 245 | 0
2018-10-20 | 1217.8 | 19.7 | 7.5 | 998 | 1000 | 672 | 1065 | 462 | 119 | 30.6 | 548.2 | 245 | 0
2018-10-19 | 1218.1 | 20.1 | 8 | 1007 | 1000 | 738 | 1050 | 543 | 145 | 31.2 | 548.2 | 245 | 0
2018-10-18 | 1218.3 | 20.3 | 8.3 | 1010 | 1000 | 946 | 1034 | 659 | 192 | 30.1 | 548.2 | 245 | 0
2018-10-17 | 1218.4 | 20.4 | 8.6 | 903 | 900 | 1016 | 1014 | 732 | 185 | 28.6 | 548.2 | 245 | 43
2018-10-16 | 1218.3 | 20.3 | 8.5 | 913 | 900 | 1027 | 988 | 835 | 213 | 29.8 | 548.1 | 196 | 43
2018-10-15 | 1218.2 | 20.3 | 8.5 | 905 | 900 | 871 | 961 | 609 | 146 | 29.7 | 548 | 193 | 46
2018-10-14 | 1218.3 | 20.1 | 8.6 | 877 | 870 | 1101 | 944 | 794 | 174 | 28.5 | 547.9 | 196 | 44
2018-10-13 | 1218.1 | 19.7 | 8.3 | 869 | 870 | 1595 | 925 | 1170 | 228 | 28.3 | 547.8 | 196 | 44
2018-10-12 | 1217.5 | 19.1 | 7.7 | 873 | 870 | 2784 | 899 | 2030 | 373 | 28.1 | 547.5 | 204 | 43
2018-10-11 | 1215.9 | 17.2 | 5.9 | 868 | 870 | 1452 | 864 | 1220 | 239 | 30.2 | 546.6 | 212 | 43
2018-10-10 | 1215.4 | 16.6 | 5.5 | 872 | 870 | 450 | 881 | 393 | 85 | 30.2 | 546.4 | 188 | 44
2018-10-09 | 1215.8 | 16.7 | 5.8 | 872 | 870 | 701 | 875 | 459 | 99 | 30 | 546.4 | 188 | 44
2018-10-08 | 1216 | 16.8 | 6 | 873 | 870 | 672 | 855 | 530 | 118 | 28.7 | 546.3 | 188 | 45
2018-10-07 | 1216.2 | 16.8 | 6.2 | 827 | 820 | 711 | 837 | 496 | 130 | 29.3 | 546.2 | 188 | 44
2018-10-06 | 1216.3 | 16.7 | 6.3 | 834 | 820 | 864 | 818 | 566 | 149 | 30.8 | 546.1 | 186 | 44
2018-10-05 | 1216.3 | 16.6 | 6.2 | 823 | 820 | 1075 | 796 | 767 | 209 | 31.1 | 546 | 186 | 43
2018-10-04 | 1216.1 | 16.2 | 5.8 | 828 | 820 | 1415 | 766 | 871 | 285 | 29.2 | 545.8 | 188 | 44
2018-10-03 | 1215.6 | 15.5 | 5.2 | 769 | 760 | 1805 | 726 | 1120 | 487 | 31.6 | 545.5 | 196 | 44
2018-10-02 | 1214.8 | 14.5 | 4.3 | 766 | 760 | 791 | 673 | 608 | 232 | 31.1 | 544.9 | 201 | 44
2018-10-01 | 1214.8 | 14.2 | 4.2 | 762 | 760 | 705 | 653 | 477 | 104 |  | 544.9 | 201 | 44
2018-09-30 | 1214.8 | 14.2 | 4.2 | 545 | 540 | 874 | 636 | 606 | 135 | 28.3 | 544.9 | 201 | 43
2018-09-29 | 1214.6 | 13.7 | 3.8 | 552 | 540 | 1313 | 617 | 915 | 207 | 27 | 544.9 | 201 | 43
2018-09-28 | 1213.9 | 12.9 | 3.3 | 557 | 540 | 1811 | 585 | 1250 | 260 | 31.6 | 544.9 | 201 | 43
2018-09-27 | 1212.8 | 11.6 | 2.3 | 551 | 540 | 2992 | 529 | 2130 | 347 | 31.4 | 544.7 | 203 | 44
2018-09-26 | 1210.5 | 9.1 | 0 | 568 | 560 | 2048 | 433 | 1600 | 305 | 31.8 | 544.2 | 203 | 43
2018-09-25 | 1209 | 7.6 | -1.5 | 560 | 560 | 467 | 366 | 343 | 138 | 31.8 | 544.1 | 201 | 43
2018-09-24 | 1209.2 | 7.5 | -1.5 | 566 | 560 | 204 | 356 | 152 | 50 | 30 | 544.1 | 198 | 43
2018-09-23 | 1209.6 | 7.6 | -1.2 | 583 | 570 | 340 | 356 | 195 | 68 | 28.6 | 544.2 | 198 | 43
2018-09-22 | 1209.8 | 7.7 | -0.9 | 573 | 570 | 305 | 350 | 198 | 82 | 28.7 | 544.3 | 198 | 43
2018-09-21 | 1210.1 | 7.9 | -0.6 | 577 | 570 | 231 | 350 | 125 | 48 | 30.7 | 544.3 | 198 | 44
2018-09-20 | 1210.5 | 8.1 | -0.2 | 577 | 570 | 198 | 351 | 140 | 57 | 30.6 | 544.4 | 198 | 43
2018-09-19 | 1210.9 | 8.3 | 0.3 | 556 | 560 | 280 | 352 | 177 | 83 | 30 | 544.5 | 198 | 43
2018-09-18 | 1211.2 | 8.4 | 0.6 | 569 | 560 | 343 | 356 | 180 | 84 | 28.1 | 544.6 | 198 | 43
2018-09-17 | 1211.4 | 8.5 | 0.7 | 551 | 560 | 220 | 376 | 149 | 47 | 30.9 | 544.6 | 198 | 43
2018-09-16 | 1211.8 | 8.6 | 1 | 444 | 440 | 229 | 428 | 175 | 56 | 29.3 | 544.7 | 198 | 43
2018-09-15 | 1212 | 8.7 | 1.2 | 442 | 440 | 366 | 440 | 223 | 70 | 30.2 | 544.8 | 198 | 43
2018-09-14 | 1212.1 | 8.6 | 1.2 | 464 | 440 | 518 | 438 | 313 | 92 | 30.4 | 544.8 | 198 | 43
2018-09-13 | 1212 | 8.4 | 1.1 | 445 | 440 | 835 | 435 | 507 | 146 | 29.7 | 544.9 | 201 | 44
2018-09-12 | 1211.7 | 7.9 | 0.8 | 437 | 430 | 1734 | 435 | 978 | 351 | 28.3 | 544.9 | 203 | 43
2018-09-11 | 1210.5 | 6.5 | -0.6 | 432 | 430 | 1937 | 379 | 1210 | 503 | 28.4 | 544.7 | 214 | 43
2018-09-10 | 1209 | 4.8 | -2.3 | 436 | 430 | 270 | 317 | 87 | 34 | 27.4 | 544.3 | 198 | 44
2018-09-09 | 1209.2 | 4.8 | -2.3 | 441 | 440 | 103 | 312 | 79 | 23 | 28.3 | 544.4 | 198 | 44
2018-09-08 | 1209.6 | 5 | -2.2 | 445 | 440 | 153 | 312 | 93 | 25 | 28.5 | 544.5 | 201 | 44
2018-09-07 | 1209.9 | 5.2 | -2.1 | 447 | 440 | 128 | 310 | 113 | 30 | 30.8 | 544.6 | 201 | 43
2018-09-06 | 1210.2 | 5.3 | -2 | 445 | 440 | 198 | 310 | 106 | 32 | 29.8 | 544.7 | 201 | 43
2018-09-05 | 1210.5 | 5.4 | -1.9 | 408 | 420 | 185 | 308 | 111 | 38 | 29.1 | 544.8 | 201 | 43
2018-09-04 | 1210.8 | 5.6 | -1.8 | 427 | 420 | 203 | 307 | 133 | 52 | 28.6 | 544.8 | 201 | 43
2018-09-03 | 1211 | 5.6 | -1.7 | 421 | 420 | 220 | 309 | 144 | 69 | 28.5 | 544.9 | 201 | 43
2018-09-02 | 1211.2 | 5.6 | -1.7 | 425 | 420 | 197 | 311 | 123 | 51 | 26.9 | 544.9 | 201 | 44
2018-09-01 | 1211.5 | 5.7 | -1.5 | 426 | 420 | 198 | 314 | 140 | 59 | 27.7 | 545 | 201 | 44
2018-08-31 | 1211.7 | 5.8 | -1.3 | 428 | 420 | 308 | 316 | 191 | 56 | 28.2 | 545 | 201 | 44
2018-08-30 | 1211.8 | 5.7 | -1.3 | 427 | 420 | 331 | 310 | 229 | 71 | 32.3 | 545.1 | 201 | 44
2018-08-29 | 1212 | 5.6 | -1.3 | 480 | 420 | 151 | 304 | 79 | 28 | 31.3 | 545.1 | 201 | 43
NY Power Authority Comments : The Jarvis turbine tripped multiple times from August 27-29, resulting in a Jarvis discharge not as close to the 2012 Operating Diagram release as we had been accustomed to.
2018-08-28 | 1212.3 | 5.8 | -1 | 387 | 420 | 107 | 304 | 79 | 29 |  | 545.2 | 201 | 44
2018-08-27 | 1212.6 | 6 | -1 | 427 | 420 | 26 | 311 | 84 | 31 | 28 | 545.3 | 201 | 42
2018-08-26 | 1213 | 6.2 | -0.8 | 396 | 400 | 165 | 322 | 89 | 34 | 28.8 | 545.4 | 201 | 44
2018-08-25 | 1213.3 | 6.3 | -0.8 | 398 | 400 | 218 | 332 | 100 | 41 | 28.3 | 545.5 | 201 | 43
2018-08-24 | 1213.5 | 6.3 | -0.8 | 399 | 400 | 165 | 342 | 118 | 52 | 29.6 | 545.5 | 201 | 42
2018-08-23 | 1213.7 | 6.3 | -0.7 | 407 | 400 | 306 | 346 | 141 | 71 | 28.1 | 545.6 | 201 | 42
2018-08-22 | 1213.8 | 6.3 | -0.7 | 410 | 400 | 255 | 343 | 142 | 72 | 28.3 | 545.6 | 201 | 43
2018-08-21 | 1214 | 6.3 | -0.7 | 298 | 400 | 224 | 337 | 154 | 66 | 27.8 | 545.7 | 201 | 11
NY Power Authority Comments : The Canal Corporation authorized a return to the Operating Diagram discharge of 400 cfs, beginning at 4pm today.
2018-08-20 | 1214.1 | 6.2 | -0.8 | 256 | 400 | 416 | 331 | 221 | 97 | 27.3 | 545.7 | 201 | 11
2018-08-19 | 1214 | 5.9 | -1.1 | 256 | 400 | 943 | 320 | 384 | 220 | 27.7 | 545.7 | 203 | 11
NY Power Authority Comments : The 30day low inflow rose above the 300 cfs trigger today.
2018-08-18 | 1213.4 | 5.2 | -1.9 | 253 | 400 | 1758 | 289 | 737 | 656 | 29.2 | 545.6 | 209 | 11
2018-08-17 | 1212 | 3.6 | -3.5 | 249 | 400 | 593 | 234 | 219 | 169 | 28.2 | 545.2 | 201 | 11
2018-08-16 | 1211.7 | 3.1 | -4 | 250 | 400 | 310 | 217 | 122 | 68 | 28.7 | 545.2 | 201 | 11
2018-08-15 | 1211.7 | 3 | -4.2 | 249 | 400 | 434 | 211 | 178 | 153 | 28.1 | 545.2 | 201 | 12
2018-08-14 | 1211.5 | 2.6 | -4.5 | 248 | 400 | 817 | 203 | 212 | 289 | 27.8 | 544.9 | 201 | 12
2018-08-13 | 1211 | 2 | -5 | 248 | 400 | 79 | 179 | 69 | 16 | 28.3 | 544.8 | 198 | 11
2018-08-12 | 1211.2 | 1.9 | -5.1 | 248 | 400 | 78 | 178 | 74 | 18 | 28.1 | 544.8 | 198 | 11
2018-08-11 | 1211.4 | 1.9 | -4.9 | 249 | 400 | 104 | 178 | 81 | 17 | 29.6 | 544.9 | 198 | 12
2018-08-10 | 1211.6 | 2 | -4.8 | 249 | 400 | 103 | 176 | 94 | 19 | 29.4 | 545 | 198 | 11
2018-08-09 | 1211.8 | 1.9 | -4.8 | 250 | 400 | 103 | 175 | 95 | 20 | 28.7 | 545.1 | 201 | 12
2018-08-08 | 1211.9 | 1.9 | -4.8 | 250 | 400 | 129 | 174 | 87 | 25 | 31.3 | 545.1 | 201 | 12
2018-08-07 | 1212.1 | 1.8 | -4.8 | 281 | 400 | 133 | 172 | 99 | 27 | 31.5 | 545.2 | 201 | 11
2018-08-06 | 1212.2 | 1.8 | -4.8 | 223 | 400 | 164 | 170 | 124 | 35 | 29.7 | 545.3 | 201 | 11
2018-08-05 | 1212.3 | 1.8 | -4.8 | 251 | 400 | 259 | 169 | 164 | 48 | 26.7 | 545.4 | 201 | 12
2018-08-04 | 1212.3 | 1.7 | -4.8 | 251 | 400 | 259 | 167 | 168 | 49 | 28.1 | 545.4 | 201 | 12
2018-08-03 | 1212.4 | 1.5 | -5 | 251 | 400 | 285 | 163 | 182 | 50 | 29.1 | 545.5 | 201 | 11
2018-08-02 | 1212.4 | 1.3 | -5.1 | 251 | 400 | 285 | 159 | 167 | 50 | 28.2 | 545.5 | 201 | 11
2018-08-01 | 1212.4 | 1.2 | -5.3 | 252 | 400 | 115 | 157 | 94 | 34 | 30.3 | 545.5 | 201 | 12
2018-07-31 | 1212.5 | 1.1 | -5.2 | 252 | 400 | 155 | 162 | 98 | 36 | 29 | 545.6 | 201 | 12
2018-07-30 | 1212.6 | 1 | -5.2 | 252 | 400 | 155 | 163 | 118 | 49 | 29.6 | 545.6 | 203 | 12
2018-07-29 | 1212.8 | 1 | -5.2 | 253 | 400 | 313 | 168 | 157 | 84 | 26.6 | 545.7 | 203 | 11
2018-07-28 | 1212.8 | 0.9 | -5.3 | 252 | 400 | 365 | 175 | 213 | 153 | 29 | 545.7 | 203 | 12
2018-07-27 | 1212.7 | 0.6 | -5.6 | 244 | 400 | 446 | 177 | 280 | 102 | 29.1 | 545.7 | 203 | 11
2018-07-26 | 1212.5 | 0.2 | -5.9 | 243 | 400 | 522 | 172 | 346 | 173 | 29.2 | 545.5 | 209 | 12
NY Power Authority Comments : On July 26, the reservoir elevation rose above the low elevation trigger. Routine Communication Protocol is now in effect, because only one trigger (30 day low inflow) is activated.
2018-07-25 | 1212.2 | -0.2 | -6.3 | 251 | 400 | 285 | 160 | 112 | 52 | 29.8 | 544.7 | 220 | 12
2018-07-24 | 1212.2 | -0.4 | -6.5 | 251 | 400 | 207 | 156 | 74 | 28 | 30.7 | 544.2 | 198 | 11
2018-07-23 | 1212.3 | -0.5 | -6.6 | 251 | 400 | 76 | 157 | 62 | 17 | 28.8 | 544.3 | 198 | 11
2018-07-22 | 1212.5 | -0.5 | -6.5 | 252 | 400 | 50 | 162 | 57 | 14 | 29.9 | 544.4 | 198 | 12
2018-07-21 | 1212.7 | -0.5 | -6.4 | 253 | 400 | 82 | 165 | 58 | 14 | 30.9 | 544.5 | 198 | 12
2018-07-20 | 1212.9 | -0.5 | -6.3 | 253 | 400 | 23 | 169 | 62 | 17 | 31.5 | 544.6 | 198 | 11
2018-07-19 | 1213.1 | -0.4 | -6.3 | 249 | 400 | 96 | 179 | 68 | 20 | 31.4 | 544.7 | 198 | 12
2018-07-18 | 1213.3 | -0.3 | -6.2 | 241 | 400 | 88 | 186 | 80 | 28 | 30 | 544.8 | 198 | 11
2018-07-17 | 1213.5 | -0.4 | -6.3 | 241 | 400 | 141 | 190 | 80 | 33 | 30.8 | 544.9 | 201 | 11
2018-07-16 | 1213.6 | -0.5 | -6.3 | 242 | 400 | 195 | 194 | 68 | 15 | 29.2 | 545 | 198 | 11
2018-07-15 | 1213.7 | -0.6 | -6.4 | 242 | 400 | 88 | 199 | 68 | 16 | 29 | 545.1 | 198 | 11
2018-07-14 | 1213.8 | -0.6 | -6.3 | 242 | 400 | 61 | 208 | 68 | 15 | 32.3 | 545.2 | 198 | 11
2018-07-13 | 1214 | -0.5 | -6.1 | 243 | 400 | 79 | 216 | 71 | 16 | 33.5 | 545.4 | 201 | 12
2018-07-12 | 1214.2 | -0.6 | -6 | 244 | 400 | 32 | 220 | 76 | 16 | 32.5 | 545.5 | 201 | 11
2018-07-11 | 1214.4 | -0.5 | -5.9 | 244 | 400 | 63 | 227 | 84 | 18 | 33.6 | 545.7 | 201 | 11
2018-07-10 | 1214.6 | -0.5 | -5.9 | 245 | 400 | 88 | 230 | 93 | 20 | 32.3 | 545.8 | 201 | 12
2018-07-09 | 1214.8 | -0.6 | -5.8 | 245 | 400 | 57 | 236 | 107 | 22 | 30.5 | 545.9 | 201 | 11
2018-07-08 | 1214.9 | -0.6 | -6 | 245 | 400 | 87 | 245 | 128 | 26 |  | 546 | 201 | 12
2018-07-07 | 1215 | -0.6 | -6 | 245 | 400 | 128 | 253 | 154 | 34 | 30.6 | 546.2 | 201 | 12
2018-07-06 | 1215.1 | -0.7 | -6 | 246 | 400 | 196 | 262 | 136 | 32 | 30.2 | 546.3 | 201 | 12
2018-07-05 | 1215.1 | -0.9 | -6.1 | 246 | 400 | 133 | 270 | 108 | 26 |  | 546.4 | 201 | 11
2018-07-04 | 1215.3 | -0.9 | -6 | 246 | 400 | 178 | 286 | 125 | 32 | 30.9 | 546.5 | 201 | 12
NY Power Authority Comments : On July 4, the 30 day average inflow fell below the 300 cfs low inflow trigger. Enhanced Communication Protocol is in effect, because both low elevation and low inflow triggers are activated.
2018-07-03 | 1215.4 | -1 | -6 | 246 | 400 | 220 | 301 | 151 | 45 | 30.9 | 546.6 | 201 | 12
2018-07-02 | 1215.4 | -1.1 | -6.2 | 249 | 400 | 252 | 308 | 128 | 31 |  | 546.6 | 201 | 12
2018-07-01 | 1215.4 | -1.3 | -6.3 | 247 | 400 | 213 | 310 | 153 | 36 | 32 | 546.6 | 201 | 11
2018-06-30 | 1215.5 | -1.4 | -6.4 | 247 | 400 | 293 | 316 | 208 | 51 | 31.8 | 546.7 | 203 | 12
2018-06-29 | 1215.5 | -1.6 | -6.5 | 246 | 400 | 509 | 322 | 310 | 86 |  | 546.8 | 203 | 12
2018-06-28 | 1215.3 | -1.9 | -6.9 | 246 | 400 | 446 | 320 | 323 | 103 | 29 | 546.9 | 203 | 11
2018-06-27 | 1215.1 | -2.3 | -7.1 | 305 | 470 | 285 | 324 | 101 | 24 | 27.4 | 546.9 | 203 | 44
NY Power Authority Comments : The Canal Corporation authorized a discharge of 250 cfs to begin at 4pm June 27.
2018-06-26 | 1215.2 | -2.4 | -7.1 | 448 | 470 | 178 | 334 | 100 | 22 | 29.2 | 547 | 203 | 44
2018-06-25 | 1215.5 | -2.3 | -6.9 | 472 | 470 | 144 | 351 | 110 | 25 | 28.5 | 547.1 | 203 | 43
2018-06-24 | 1215.8 | -2.1 | -6.7 | 504 | 500 | 230 | 368 | 108 | 25 | 27 | 547.2 | 203 | 43
2018-06-23 | 1216 | -2 | -6.6 | 505 | 500 | 229 | 388 | 100 | 22 | 28 | 547.4 | 203 | 43
2018-06-22 | 1216.3 | -2 | -6.4 | 499 | 500 | 164 | 416 | 101 | 23 | 29.8 | 547.5 | 203 | 43
2018-06-21 | 1216.6 | -1.9 | -6.1 | 500 | 500 | 191 | 459 | 113 | 27 | 28.7 | 547.6 | 203 | 43
2018-06-20 | 1216.9 | -1.7 | -6 | 524 | 520 | 329 | 491 | 129 | 32 |  | 547.7 | 203 | 44
2018-06-19 | 1217.1 | -1.6 | -5.8 | 522 | 520 | 297 | 530 | 144 | 43 | 29.8 | 547.8 | 203 | 44
2018-06-18 | 1217.3 | -1.6 | -5.8 | 519 | 520 | 206 | 570 | 127 | 30 | 30.9 | 548 | 203 | 43
2018-06-17 | 1217.6 | -1.6 | -5.7 | 528 | 530 | 271 | 587 | 140 | 33 |  | 548.1 | 206 | 44
2018-06-16 | 1217.9 | -1.5 | -5.4 | 531 | 530 | 331 | 595 | 168 | 43 | 28.4 | 548.2 | 206 | 44
2018-06-15 | 1218.1 | -1.4 | -5.2 | 527 | 530 | 357 | 603 | 196 | 55 | 28.2 | 548.3 | 206 | 44
2018-06-14 | 1218.2 | -1.4 | -5 | 529 | 530 | 298 | 616 | 170 | 56 | 29.1 | 548.4 | 206 | 44
2018-06-13 | 1218.5 | -1.4 | -4.9 | 577 | 560 | 197 | 627 | 129 | 28 | 32.3 | 548.5 | 206 | 43
2018-06-12 | 1218.8 | -1.3 | -4.7 | 568 | 560 | 245 | 640 | 134 | 28 | 32.5 | 548.6 | 206 | 44
2018-06-11 | 1219.1 | -1 | -4.4 | 553 | 560 | 168 | 655 | 149 | 32 | 29.3 | 548.7 | 206 | 44
2018-06-10 | 1219.4 | -1 | -4.3 | 571 | 570 | 273 | 679 | 164 | 36 | 30.1 | 548.9 | 206 | 44
2018-06-09 | 1219.7 | -0.9 | -4.1 | 573 | 570 | 304 | 704 | 185 | 42 | 29.1 | 548.9 | 206 | 44
2018-06-08 | 1220 | -0.9 | -3.9 | 570 | 570 | 331 | 727 | 213 | 50 | 28.6 | 549 | 206 | 44
2018-06-07 | 1220.2 | -0.7 | -3.7 | 574 | 570 | 395 | 754 | 244 | 62 |  | 549.1 | 209 | 44
2018-06-06 | 1220.4 | -0.8 | -3.7 | 632 | 580 | 452 | 794 | 292 | 80 | 27.8 | 549.2 | 209 | 44
2018-06-05 | 1220.5 | -0.8 | -3.6 | 588 | 580 | 623 | 852 | 374 | 119 | 26.9 | 549.2 | 211 | 45
2018-06-04 | 1220.5 | -1 | -3.7 | 593 | 580 | 628 | 920 | 331 | 131 | 29.2 | 549.2 | 214 | 45
2018-06-03 | 1220.5 | -1.1 | -3.8 | 587 | 590 | 407 | 1026 | 210 | 43 | 30.9 | 549.1 | 206 | 44
2018-06-02 | 1220.7 | -1.1 | -3.5 | 580 | 590 | 306 | 1134 | 239 | 49 | 31 | 549.2 | 209 | 43
2018-06-01 | 1220.9 | -1.1 | -3.3 | 594 | 590 | 412 | 1246 | 253 | 54 | 28.6 | 549.3 | 209 | 44
2018-05-31 | 1221.1 | -0.9 | -3.1 | 592 | 590 | 469 | 1328 | 264 | 57 | 31.7 | 549.4 | 209 | 44
2018-05-30 | 1221.2 | -0.8 | -3 | 711 | 700 | 462 | 1408 | 307 | 67 | 31.9 | 549.5 | 209 | 43
2018-05-29 | 1221.4 | -0.6 | -2.8 | 703 | 700 | 548 | 1490 | 365 | 87 | 29.1 | 549.6 | 209 | 44
2018-05-28 | 1221.6 | -0.4 | -2.7 | 694 | 700 | 601 | 1570 |  |  | 27.5 | 549.6 | 209 | 24
2018-05-27 | 1221.7 | -0.3 | -2.6 | 681 | 680 | 682 | 1654 |  |  | 30.3 | 549.7 | 209 | 24
2018-05-26 | 1221.7 | -0.3 | -2.6 | 697 | 680 | 634 | 1788 | 493 | 96 | 29.3 | 549.7 | 209 | 23
2018-05-25 | 1221.8 | -0.2 | -2.6 | 688 | 680 | 845 | 2056 | 624 | 119 | 29.7 | 549.7 | 209 | 24
2018-05-24 | 1221.7 | -0.3 | -2.7 | 689 | 680 | 1065 | 2183 | 842 | 165 | 30.2 | 549.7 | 211 | 24
2018-05-23 | 1221.4 | -0.6 | -3 | 779 | 770 | 1464 | 2227 | 1100 | 233 | 29.2 | 549.6 | 217 | 24
2018-05-22 | 1220.9 | -1.1 | -3.5 | 772 | 770 | 1144 | 2231 | 863 | 184 | 30.2 | 549.3 | 209 | 0
2018-05-21 | 1220.6 | -1.4 | -3.9 | 778 | 770 | 1514 | 2228 | 1120 | 216 | 27.3 | 549.3 | 211 | 0
2018-05-20 | 1220.1 | -1.9 | -4.4 | 869 | 870 | 1478 | 2208 | 1130 | 239 | 28.5 | 549.2 | 214 | 0
2018-05-19 | 1219.6 | -2.4 | -4.9 | 873 | 870 | 723 | 2193 | 433 | 113 | 29.2 | 549 | 209 | 0
2018-05-18 | 1219.8 | -2.2 | -4.7 | 881 | 870 | 518 | 2215 | 377 | 83 | 28.9 | 549.1 | 206 | 0
2018-05-17 | 1220.1 | -1.9 | -4.4 | 1095 | 870 | 576 | 2260 | 437 | 100 | 30 | 549.1 | 209 | 0
2018-05-16 | 1220.5 | -1.5 | -4 | 1403 | 1400 | 724 | 2328 | 513 | 127 | 30.2 | 549.2 | 209 | 0
2018-05-15 | 1221.1 | -0.8 | -3.4 | 1403 | 1400 | 622 | 2355 | 470 | 108 | 30.2 | 549.1 | 209 | 0
2018-05-14 | 1221.7 | -0.3 | -2.9 | 1479 | 1400 | 594 | 2391 | 475 | 98 | 30.8 | 549.2 | 209 | 0
NY Power Authority Comments : On May 14, the Hinckley low elevation trigger became ACTIVATED. Routine Communication Protocols are in effect.
2018-05-13 | 1222.4 | 0.4 | -2.1 | 1591 | 1600 | 695 | 2427 | 543 | 114 | 28.9 | 549.2 | 209 | 0
2018-05-12 | 1223.1 | 1.1 | -1.3 | 1598 | 1600 | 909 | 2447 | 622 | 127 | 29.9 | 549.2 | 209 | 0
2018-05-11 | 1223.7 | 1.7 | -0.7 | 1587 | 1600 | 998 | 2438 | 744 | 164 | 31.8 | 549.2 | 211 | 0
2018-05-10 | 1224.2 | 2.2 | -0.1 | 1667 | 1600 | 1007 | 2428 | 859 | 143 | 30.8 | 549.3 | 211 | 0
2018-05-09 | 1224.7 | 2.7 | 0.5 | 1797 | 1800 | 1130 | 2423 | 1020 | 145 | 31.3 | 549.2 | 211 | 0
2018-05-08 | 1225.2 | 3.2 | 0.9 | 2052 | 1800 | 1615 | 2416 | 1310 | 180 | 30.6 | 549.2 | 211 | 0
2018-05-07 | 1225.5 | 3.6 | 1.2 | 2586 | 1800 | 2180 | 2401 | 1810 | 223 | 28.2 | 549.2 | 239 | 0
2018-05-06 | 1225.8 | 3.9 | 1.5 | 3172 | 1800 | 2661 | 2386 | 2110 | 236 | 27 | 549.1 | 237 | 0
2018-05-05 | 1226.2 | 4.2 | 1.8 | 3755 | 1800 | 3821 | 2390 | 3130 | 318 | 29.9 | 549 | 239 | 0
2018-05-04 | 1226.2 | 4.2 | 1.8 | 3594 | 1800 | 3626 | 2432 | 3090 | 292 | 28 | 548.7 | 237 | 0
2018-05-03 | 1226.2 | 4.2 | 1.8 | 3403 | 1800 | 3673 | 2431 | 3100 | 324 | 29.8 | 548.6 | 237 | 0
2018-05-02 | 1226 | 4 | 1.7 | 2777 | 1400 | 2876 | 2357 | 2400 | 393 | 31.1 | 548.5 | 237 | 0
2018-05-01 | 1226 | 4 | 1.9 | 2897 | 1400 | 2878 | 2322 | 2110 | 533 | 29.7 | 548.4 | 237 | 0
2018-04-30 | 1226 |  | 2.1 | 2743 | 1400 | 2906 | 2320 | 2220 | 488 | 27.9 | 548.1 | 248 | 0
2018-04-29 | 1225.9 |  | 2.1 | 1884 | 1200 | 2944 | 2368 | 2500 | 453 | 29.1 | 547.8 | 239 | 0
2018-04-28 | 1225.2 |  | 1.6 | 1199 | 1200 | 3140 | 2380 | 2380 | 540 | 28.5 | 547.5 | 234 | 0
2018-04-27 | 1223.8 |  | 0.4 | 1204 | 1200 | 4701 | 2296 | 3220 | 840 | 29.9 | 547.3 | 237 | 0
2018-04-26 | 1221.1 |  | -2.1 | 1268 | 1200 | 8655 | 2151 | 6170 | 1230 | 30.4 | 546.9 | 248 | 0
2018-04-25 | 1215 |  | -7.8 | 1342 | 1330 | 4655 | 1873 | 3750 | 730 | 28.7 | 546.1 | 231 | 0
2018-04-24 | 1212 |  | -10.4 | 1336 | 1330 | 2387 | 1727 | 1780 | 488 | 29.1 | 545.7 | 231 | 0
2018-04-23 | 1211 |  | -10.8 | 1362 | 1330 | 1591 | 1654 | 1180 | 349 | 30.5 | 545.4 | 231 | 0
2018-04-22 | 1210.8 |  | -10.2 | 1391 | 1400 | 1064 | 1613 | 837 | 242 | 29.8 | 545.2 | 231 | 0
2018-04-21 | 1211.2 |  | -9.2 | 1394 | 1400 | 897 | 1587 | 671 | 192 | 29.4 | 544.9 | 231 | 0
2018-04-20 | 1211.6 |  | -8.2 | 1397 | 1400 | 1037 | 1568 | 772 | 212 | 29.4 | 544.8 | 305 | 0
2018-04-19 | 1212 |  | -7.2 | 1396 | 1400 | 1372 | 1543 | 958 | 259 |  | 544.5 | 309 | 0
2018-04-18 | 1212.1 |  | -6.7 | 1426 | 1400 | 1891 | 1507 | 1260 | 389 | 29.4 | 544.3 | 312 | 0
2018-04-17 | 1211.6 |  | -6.6 | 1411 | 1400 | 2605 | 1453 | 1730 | 603 | 29.1 | 543.7 | 322 | 0
2018-04-16 | 1210.5 |  | -6.8 | 1674 | 1400 | 1524 | 1378 | 1110 | 328 | 25.3 | 544.5 | 1280 | 0
NY Power Authority Comments : On April 16, the flood threat had diminished. The Canal Corporation authorized a return to the 1400 cfs Operating Diagram discharge today.
2018-04-15 | 1210.7 |  | -5.7 | 2265 | 1400 | 1711 | 1341 | 1200 | 344 | 28.1 | 544.5 | 1280 | 0
2018-04-14 | 1211.3 |  | -4.3 | 2276 | 1400 | 1688 | 1299 | 1290 | 383 | 28.4 | 544.8 | 1290 | 0
2018-04-13 | 1211.8 |  | -3 | 2289 | 1400 | 1273 | 1258 | 978 | 332 | 28.9 | 545.2 | 1120 | 0
2018-04-12 | 1212.8 |  | -1.4 | 1773 | 1400 | 654 | 1232 | 537 | 154 | 28.9 | 545.3 | 1100 | 0
NY Power Authority Comments : On April 12, the Canal Corporation authorized a maximum discharge as a preemptive measure to minimize downstream flood impacts due to a significant rainfall/snowmelt event that is forecast. The maximum discharge will be about 2350 cfs.
2018-04-11 | 1213.9 |  | 0.4 | 1395 | 1400 | 697 | 1228 | 542 | 139 | 29 | 545.9 | 1110 | 0
2018-04-10 | 1214.5 |  | 1.7 | 1394 | 1400 | 843 | 1220 | 634 | 161 | 30 | 546.4 | 1120 | 0
2018-04-09 | 1215.1 |  | 2.8 | 1399 | 1400 | 937 | 1205 | 727 | 186 | 29.1 | 546.9 | 925 | 0
2018-04-08 | 1215.5 |  | 3.8 | 1413 | 1400 | 1151 | 1192 | 888 | 220 | 30.1 | 547.3 | 930 | 0
2018-04-07 | 1215.8 |  | 4.9 | 1415 | 1400 | 1739 | 1174 | 1190 | 302 | 27.8 | 547.6 | 935 | 0
2018-04-06 | 1215.5 |  | 5.4 | 1424 | 1400 | 2790 | 1138 | 1690 | 516 | 30.7 | 547.7 | 337 | 0
2018-04-05 | 1214.4 |  | 5.2 | 1207 | 1400 | 5075 | 1071 | 3110 | 896 | 31 | 547.3 | 347 | 0
2018-04-04 | 1210.8 |  | 2.6 | 750 | 730 | 3581 | 929 | 2540 | 617 | 28.3 | 545.6 | 405 | 0
2018-04-03 | 1208 |  | 0.9 | 731 | 730 | 1452 | 842 | 936 | 286 | 30.9 | 545.1 | 333 | 0
2018-04-02 | 1207.2 |  | 1 | 741 | 730 | 1845 | 831 | 1150 | 398 | 30.5 | 544.8 | 337 | 0
2018-04-01 | 1206.1 |  | 0.8 | 725 | 720 | 2800 | 820 | 1520 |  | 29.6 | 544.2 | 358 | 0
2018-03-31 | 1203.8 |  | -0.6 | 725 | 720 | 4367 | 799 | 2240 |  | 30.2 | 543.5 | 340 | 0
2018-03-30 | 1199.4 |  | -4.1 | 724 | 720 | 3278 | 715 | 2590 |  | 28.5 | 542 | 421 | 0
2018-03-29 | 1195.2 |  | -7.5 | 1037 | 720 | 620 | 647 | 399 |  | 29.2 | 540.2 | 322 | 0
2018-03-28 | 1195.7 |  | -6.1 | 995 | 1010 | 374 | 678 | 310 |  | 29.8 | 540 | 315 | 0
2018-03-27 | 1196.6 |  | -4.4 | 1001 | 1010 | 315 | 727 | 299 |  | 31.3 | 540 | 309 | 0
2018-03-26 | 1197.6 |  | -3 | 1175 | 1010 | 252 | 788 | 286 |  | 30.6 | 540 | 305 | 0
2018-03-25 | 1198.9 |  | -1.3 | 1398 | 1400 | 208 | 862 | 285 |  | 28.5 | 540.1 | 302 | 0
2018-03-24 | 1200.5 |  | 0.5 | 1409 | 1400 | 365 | 963 | 296 |  | 30.1 | 540.2 | 305 | 0
2018-03-23 | 1201.9 |  | 2 | 1401 | 1400 | 293 | 1117 | 306 |  | 30.9 | 540.2 | 305 | 0
2018-03-22 | 1203.3 |  | 3.6 | 1416 | 1400 | 315 | 1229 | 314 |  | 30.9 | 540.3 | 305 | 0
2018-03-21 | 1204.5 |  | 4.9 | 1413 | 1400 | 291 | 1261 | 329 |  | 30.2 | 540.4 | 333 | 0
2018-03-20 | 1205.8 |  | 6.4 | 1406 | 1400 | 293 | 1279 | 333 |  | 30.4 | 540.5 | 333 | 0
2018-03-19 | 1207 |  | 7.6 | 1453 | 1400 | 281 | 1303 | 340 |  |  | 540.6 | 333 | 0
2018-03-18 | 1208.3 |  | 9 | 1495 | 1400 | 337 | 1329 | 331 | 111 | 27.4 | 540.7 | 333 | 0
2018-03-17 | 1209.5 |  | 10.4 | 1507 | 1400 | 413 | 1339 | 366 | 114 | 28.6 | 540.9 | 333 | 0
2018-03-16 | 1210.6 |  | 11.5 | 1509 | 1400 | 450 | 1341 | 383 | 104 |  | 540.9 | 333 | 0
2018-03-15 | 1211.6 |  | 12.6 | 1527 | 1400 | 459 | 1345 | 402 | 102 | 28.4 | 541 | 337 | 0
2018-03-14 | 1212.7 |  | 13.8 | 1504 | 1400 | 492 | 1347 | 418 | 102 | 28.7 | 541 | 337 | 0
2018-03-13 | 1213.6 |  | 14.9 | 1521 | 1400 | 542 | 1347 | 426 | 104 | 29.7 | 541.1 | 788 | 0
2018-03-12 | 1214.5 |  | 15.9 | 1474 | 1400 | 454 | 1342 | 436 | 108 | 28.8 | 541.5 | 794 | 0
NY Power Authority Comments : Brookfield Power asked for and Canal Corp approved an additional 115 cfs to be released above the 1400 cfs Operating Diagram release from March 12-19, to make up for the 809 cfsd underdischarge caused by the winter storm on March 2-3.
2018-03-11 | 1215.4 |  | 16.7 | 1366 | 1400 | 388 | 1339 | 462 | 114 | 29.9 | 541.9 | 794 | 0
2018-03-10 | 1216.3 |  | 17.6 | 1403 | 1400 | 562 | 1338 | 497 | 123 | 29.1 | 542.3 | 800 | 0
2018-03-09 | 1217 |  | 18.3 | 1399 | 1400 | 612 | 1331 | 519 | 130 | 28 | 542.6 | 800 | 0
2018-03-08 | 1217.7 |  | 19.1 | 1402 | 1400 | 661 | 1322 | 556 | 145 | 29 | 543 | 806 | 0
2018-03-07 | 1218.3 |  | 19.6 | 1400 | 1400 | 771 | 1314 | 604 | 159 |  | 543.4 | 1170 | 0
2018-03-06 | 1218.9 |  | 20.4 | 1396 | 1400 | 811 | 1299 | 649 | 181 | 30.1 | 543.9 | 1180 | 0
2018-03-05 | 1219.4 |  | 20.9 | 1443 | 1400 | 965 | 1286 | 727 | 218 | 28.3 | 544.5 | 1180 | 0
2018-03-04 | 1219.8 |  | 21 | 1400 | 1400 | 1119 | 1262 | 860 | 289 | 28.7 | 545.1 | 1190 | 0
2018-03-03 | 1220.1 |  | 21 | 1051 | 1400 | 1521 | 1242 | 1060 | 454 | 29.6 | 545.6 | 1200 | 0
NY Power Authority Comments : Hinckley discharge was 809 cfsd lower than the Operating Diagram release on March 2-3, because the Jarvis turbine tripped offline due to the winter storm on March 2.
2018-03-02 | 1219.7 |  | 20.3 | 940 | 1400 | 2180 | 1210 | 1370 | 571 | 27.2 | 545.9 | 1210 | 0
2018-03-01 | 1218.7 |  | 19.1 | 1411 | 1400 | 1853 | 1156 | 1360 | 579 | 30.5 | 546 | 1220 | 0
2018-02-28 | 1218.3 |  | 18.7 | 1334 | 1400 | 1218 | 1120 | 939 | 484 | 29.6 | 546 | 955 | 0
NY Power Authority Comments : Hinckley discharge was 66 cfsd lower than the Operating Diagram release, because the Jarvis turbine tripped offline for about 1 hour late in the day.
2018-02-27 | 1218.4 |  | 18.6 | 1412 | 1400 | 1554 | 1112 | 1020 | 576 | 30.1 | 546.1 | 960 | 0
2018-02-26 | 1218.3 |  | 18.5 | 1238 | 1400 | 1849 | 1097 | 1230 | 704 | 31.3 | 546.1 | 960 | 0
2018-02-25 | 1217.8 |  | 17.8 | 982 | 980 | 2135 | 1066 | 1360 | 706 |  | 545.8 | 976 | 0
2018-02-24 | 1216.9 |  | 16.5 | 996 | 980 | 2492 | 1031 | 1590 | 738 | 29.3 | 545.5 | 971 | 0
2018-02-23 | 1215.6 |  | 15 | 992 | 980 | 3233 | 1013 | 1940 | 897 | 30.8 | 545.3 | 494 | 0
2018-02-22 | 1213.6 |  | 12.9 | 981 | 980 | 4969 | 993 | 3240 | 1110 | 30.6 | 544.8 | 512 | 0
2018-02-21 | 1209.9 |  | 9.1 | 957 | 950 | 3657 | 865 | 2790 | 928 | 28.9 | 542.9 | 555 | 0
2018-02-20 | 1207.1 |  | 6 | 965 | 950 | 1288 | 761 | 1120 | 588 | 30 | 540.3 | 580 | 0
2018-02-19 | 1206.8 |  | 5.3 | 980 | 950 | 821 | 742 | 613 | 353 | 31 | 539.6 | 454 | 0
2018-02-18 | 1207 |  | 5.2 | 978 | 970 | 1026 | 738 | 733 | 421 | 29.3 | 539.7 | 490 | 0
2018-02-17 | 1207 |  | 5 | 974 | 970 | 1044 | 723 | 881 | 469 | 28.8 | 539.7 | 490 | 0
2018-02-16 | 1206.9 |  | 4.8 | 979 | 970 | 656 | 723 | 656 | 366 | 30.9 | 539.5 | 276 | 0
2018-02-15 | 1207.3 |  | 4.9 | 989 | 970 | 475 | 752 | 428 |  | 32.6 | 539.3 | 239 | 0
2018-02-14 | 1207.9 |  | 5.2 | 1018 | 1000 | 545 | 788 | 466 |  | 32.6 | 539.3 | 242 | 0
2018-02-13 | 1208.4 |  | 5.3 | 1024 | 1000 | 545 | 848 | 562 |  | 30.6 | 539.2 | 242 | 0
2018-02-12 | 1208.9 |  | 5.4 | 1021 | 1000 | 487 | 966 | 478 |  | 28.3 | 539.2 | 242 | 0
2018-02-11 | 1209.4 |  | 5.6 | 1039 | 1040 | 373 | 1252 | 392 |  | 29.6 | 539.1 | 239 | 0
2018-02-10 | 1210.1 |  | 5.9 | 1041 | 1040 | 389 | 1366 | 395 |  | 30.1 | 539.1 | 239 | 0
2018-02-09 | 1210.8 |  | 6.2 | 1039 | 1040 | 352 | 1364 | 415 |  | 29.6 | 539.1 | 282 | 0
2018-02-08 | 1211.5 |  | 6.5 | 1192 | 1040 | 338 | 1357 | 428 |  | 29.6 | 539.2 | 282 | 0
2018-02-07 | 1212.3 |  | 6.9 | 1398 | 1400 | 342 | 1355 | 389 |  |  | 539.3 | 282 | 0
2018-02-06 | 1213.3 |  | 7.5 | 1322 | 1400 | 433 | 1355 | 382 | 252 | 31.4 | 539.4 | 282 | 0
NY Power Authority Comments : Hinckley discharge was inadvertently 78 cfsd lower than the Operating Diagram release, related to a Jarvis plant outage.
2018-02-05 | 1214.1 |  | 8.1 | 1400 | 1400 | 302 | 1352 | 395 | 260 | 30.8 | 539.5 | 282 | 0
2018-02-04 | 1215.1 |  | 8.6 | 1395 | 1400 | 442 | 1352 | 387 | 255 | 27.6 | 539.5 | 282 | 0
2018-02-03 | 1216 |  | 9.3 | 1390 | 1400 | 248 | 1347 | 366 | 241 | 29.7 | 539.5 | 282 | 0
2018-02-02 | 1217 |  | 9.9 | 1397 | 1400 | 495 | 1349 | 426 | 271 | 30.4 | 539.6 | 605 | 0
2018-02-01 | 1217.8 |  | 10.4 | 1409 | 1400 | 581 | 1345 | 501 | 293 | 32.2 | 540 | 610 | 0
2018-01-31 | 1218.5 |  | 10.9 | 1416 | 1400 | 544 | 1337 | 514 | 305 | 30.1 | 540.3 | 615 | 0
2018-01-30 | 1219.2 |  | 11.4 | 1395 | 1400 | 785 | 1329 | 651 | 367 | 32.1 | 540.6 | 794 | 0
2018-01-29 | 1219.7 |  | 11.6 | 1267 | 1400 | 987 | 1317 | 793 | 440 | 32.1 | 540.9 | 800 | 0
2018-01-28 | 1220 |  | 11.7 | 1077 | 1080 | 1100 | 1299 | 825 | 446 | 29.1 | 540.9 | 806 | 0
2018-01-27 | 1220 |  | 11.6 | 1077 | 1080 | 917 | 1273 | 735 | 404 | 30.3 | 541.2 | 800 | 0
2018-01-26 | 1220.1 |  | 11.6 | 1078 | 1080 | 1070 | 1259 | 869 | 478 | 30.8 | 541.6 | 1070 | 0
2018-01-25 | 1220.2 |  | 11.6 | 1215 | 1080 | 1966 | 1243 | 1280 | 700 | 30.2 | 542.2 | 1080 | 0
2018-01-24 | 1219.6 |  | 10.8 | 1411 | 1400 | 2631 | 1199 | 1860 | 970 | 31.4 | 542.6 | 1120 | 0
2018-01-23 | 1218.6 |  | 10 | 1411 | 1400 | 1137 | 1144 |  | 498 | 29.4 | 542 | 1290 | 0
2018-01-22 | 1218.8 |  | 10.2 | 1276 | 1400 | 520 | 1146 |  | 338 | 31.7 | 542.6 | 1280 | 0
2018-01-21 | 1219.5 |  | 10.5 | 1062 | 1070 | 723 | 1149 |  | 354 | 29.6 | 543.5 | 1290 | 0
2018-01-20 | 1219.8 |  | 10.7 | 1079 | 1070 | 707 | 1143 |  | 370 | 31.1 | 544.3 | 1310 | 0
2018-01-19 | 1220.1 |  | 10.8 | 1082 | 1070 | 585 | 1139 |  | 399 | 31.8 | 545.2 | 1320 | 0
2018-01-18 | 1220.5 |  | 11.1 | 1017 | 1070 | 1040 | 1143 |  | 425 | 30.6 | 545.9 | 1130 | 0
2018-01-17 | 1220.5 |  | 10.8 | 702 | 700 | 1520 | 1128 |  | 532 | 33.4 | 546.5 | 1140 | 0
2018-01-16 | 1219.9 |  | 10 | 704 | 700 | 1542 | 1091 |  | 673 | 31.8 | 546.9 | 1140 | 0
2018-01-15 | 1219.2 |  | 9.1 | 710 | 700 | 2361 | 1049 |  | 874 | 30 | 547.3 | 1140 | 0
2018-01-14 | 1217.9 |  | 7.5 | 720 | 710 | 4066 | 986 |  | 1210 | 29.9 | 547.6 | 1140 | 0
2018-01-13 | 1215 |  | 4.3 | 722 | 710 | 9070 | 863 |  | 1570 | 29.4 | 547.6 | 1170 | 0
2018-01-12 | 1207 |  | -4 | 713 | 710 | 3802 | 575 |  | 521 | 30.6 | 542.9 | 1360 | 0
2018-01-11 | 1203.6 |  | -7.6 | 717 | 710 | 337 | 464 |  | 99 | 31.9 | 542.7 | 901 | 0
2018-01-10 | 1204 |  | -7.5 | 882 | 770 | 142 | 472 |  | 91 | 33 | 543.3 | 508 | 0
2018-01-09 | 1204.9 |  | -6.8 | 827 | 770 | 282 | 488 |  | 94 |  | 543.6 | 494 | 0
NY Power Authority Comments : The Hinckley release on January 9-10 was 169 cfsd more than the Operating Diagram release, due to an inaccurate reservoir water level reading related to a gage freeze up.
2018-01-08 | 1205.5 |  | -6.4 | 780 | 770 | 328 | 506 |  | 76 | 30.6 | 544 | 312 | 0
2018-01-07 | 1206 |  | -6 | 587 | 810 | 358 | 530 |  | 68 | 29
2018-01-06 | 1206.3 |  | -5.9 | 920 | 810 | 281 | 567 |  | 71 | 30.2 | 544.3 | 315 | 0
2018-01-05 | 1207 |  | -5.3 | 936 | 810 | 285 | 645 |  | 77 | 30.4 | 544.4 | 319 | 0
NY Power Authority Comments : Brookfield proposed and Canal Corporation agreed to a 920 cfs Hinckley release on January 5 and 6 and a release of 590 cfs on January 7, for an average release over these 3 days of 810 cfs. The Operating Diagram release for these 3 days was 810 cfs.
2018-01-04 | 1207.7 |  | -4.6 | 792 | 810 | 327 | 763 |  | 81 | 29.9 | 544.5 | 319 | 0
2018-01-03 | 1208.2 |  | -4.1 | 855 | 860 | 376 | 781 |  | 85 | 31.1 | 544.7 | 319 | 0
2018-01-02 | 1208.7 |  | -3.5 | 860 | 860 | 327 | 786 | 965 | 84 | 30 | 544.8 | 319 | 0
2018-01-01 | 1209.3 |  | -3 | 866 | 860 | 325 | 788 | 596 |  | 29 | 544.9 | 319 | 0
1 The Elevation Trigger is invoked when Hinckley Reservoir elevation falls below the 10% historical low level. The elevation trigger is 1222 feet in May, 1198 feet October 15 to December 31 and linearly interpolated from 1222 feet on May 31 and 1198 feet on October 15.
2 "Normal" Hinckley Reservoir elevations for a given date are based upon the average of 59 years of daily Hinckley Reservoir elevation data (1942-1979 and 1987-2007).
3 cfs is the abbreviation for cubic feet per second.
4 The 1920 Operating Diagram establishes the rate of release of water from Hinckley Reservoir based upon varying reservoir levels throughout the year.
5 The Inflow Trigger is invoked when the 30-day running average Hinckley Reservoir inflow is below 300 cfs.
6 The Wilmurt plus Black Creek streamflow represents 80% of the Hinckley watershed area.