## 2020
Date | Hinckley Reservoir Elevation (ft) | Hinckley Reservoir Comparison to Elevation Trigger (ft)1 | Hinckley Reservoir Comparison to Normal Elevation (ft)2 | Hinckley Reservoir Discharge (cfs) | Hinckley Reservoir Inflow (cfs) | 2012 OPERATING DIAGRAM RELEASE (CFS) | HINCKLEY RESERVOIR 30-DAY RUNNING AVERAGE INFLOW (CFS) | Mohawk Valley Water Authority Withdrawal (cfs) | Delta Reservoir Elevation (ft) | Delta Reservoir Discharge (cfs) | Nine Mile Feeder Discharge (cfs) | Wilmurt Streamgage Flow (cfs)6 | Black Creek Flow (cfs)
2020-12-31 | 1219.44 | 21.44 | 6.94 | 1036 | 816 | 1030 | 1172 | 32.88 | 546.3 | 1240 | 0 | NULL | NULL
2020-12-30 | 1219.64 | 21.64 | 7.24 | 709 | 730 | 700 | 1187 | 32.69 | 546.9 | 1190 | 0 | NULL | NULL
2020-12-29 | 1219.64 | 21.66 | 7.16 | 703 | 1055 | 700 | 1189 | 31.83 | 547.6 | 673 | 0 | NULL | NULL
2020-12-28 | 1219.37 | 21.35 | 6.65 | 708 | 1625 | 700 | 1182 | 31.84 | 547.8 | 214 | 0 | NULL | NULL
2020-12-27 | 1218.64 | 20.64 | 5.64 | 710 | 3117 | 700 | 1167 | 31.72 | 547.7 | 222 | 0 | NULL | NULL
2020-12-26 | 1216.63 | 18.63 | 3.53 | 713 | 7229 | 700 | 1106 | 31.3 | 547.3 | 231 | 0 | NULL | NULL
2020-12-25 | 1210.72 | 12.75 | -2.55 | 716 | 8141 | 700 | 900 | 32.14 | 545.9 | 339 | 0 | NULL | NULL
2020-12-24 | 1202.83 | 4.83 | -10.67 | 704 | 392 | 700 | 663 | 32.73 | 543.6 | 196 | 0 | NULL | NULL
2020-12-23 | 1203.22 | 5.22 | -10.28 | 747 | 347 | 740 | 699 | 33.25 | 543.6 | 196 | 0 | NULL | NULL
2020-12-22 | 1203.71 | 5.71 | -9.89 | 745 | 361 | 740 | 714 | 33.29 | 543.7 | 196 | 0 | NULL | NULL
2020-12-21 | 1204.18 | 6.2 | -9.3 | 746 | 379 | 740 | 718 | 33.26 | 543.7 | 196 | 0 | NULL | NULL
2020-12-20 | 1204.62 | 6.64 | -8.96 | 770 | 376 | 770 | 720 | 31.97 | 543.8 | 196 | 0 | NULL | NULL
2020-12-19 | 1205.08 | 7.08 | -8.82 | 766 | 323 | 770 | 726 | 31.75 | 543.8 | 196 | 0 | NULL | NULL
2020-12-18 | 1205.59 | 7.59 | -8.41 | 774 | 370 | 770 | 738 | 31.96 | 543.9 | 196 | 0 | NULL | NULL
2020-12-17 | 1206.06 | 8.06 | -8.14 | 778 | 392 | 770 | 754 | 30.68 | 543.9 | 196 | 0 | NULL | NULL
2020-12-16 | 1206.5 | 8.5 | -7.8 | 783 | 381 | 790 | 784 | 31.07 | 544 | 196 | 0 | NULL | NULL
2020-12-15 | 1206.96 | 8.96 | -7.44 | 792 | 583 | 790 | 806 | 32.06 | 544 | 196 | 0 | NULL | NULL
2020-12-14 | 1207.21 | 9.18 | -7.32 | 792 | 790 | 790 | 807 | 31.93 | 544 | 196 | 0 | NULL | NULL
2020-12-13 | 1207.23 | 9.23 | -7.27 | 823 | 495 | 820 | 804 | 30.99 | 543.9 | 196 | 0 | NULL | NULL
2020-12-12 | 1207.6 | 9.6 | -6.7 | 819 | 393 | 820 | 822 | 31.76 | 543.9 | 196 | 0 | NULL | NULL
2020-12-11 | 1208.06 | 10.08 | -6.02 | 826 | 347 | 820 | 845 | 31.65 | 543.9 | 196 | 0 | NULL | NULL
2020-12-10 | 1208.57 | 10.57 | -5.43 | 828 | 440 | 820 | 849 | 31.9 | 543.9 | 196 | 0 | NULL | NULL
2020-12-09 | 1208.99 | 10.99 | -5.01 | 832 | 416 | 830 | 849 | 31.76 | 543.8 | 196 | 0 | NULL | NULL
2020-12-08 | 1209.43 | 11.45 | -4.45 | 826 | 380 | 830 | 859 | 31.08 | 543.9 | 196 | 0 | NULL | NULL
2020-12-07 | 1209.89 | 11.89 | -3.91 | 832 | 531 | 830 | 875 | 31.12 | 543.9 | 196 | 0 | NULL | NULL
2020-12-06 | 1210.21 | 12.19 | -3.51 | 816 | 688 | 810 | 894 | 31.06 | 543.8 | 198 | 0 | NULL | NULL
2020-12-05 | 1210.36 | 12.36 | -3.24 | 842 | 713 | 810 | 898 | 29.67 | 543.6 | 203 | 0 | NULL | NULL
2020-12-04 | 1210.5 | 12.5 | -3.3 | 831 | 777 | 810 | 896 | 30.1 | 543.4 | 198 | 0 | NULL | NULL
2020-12-03 | 1210.58 | 12.58 | -3.42 | 831 | 977 | 810 | 894 | 31.49 | 543.3 | 201 | 0 | NULL | NULL
2020-12-02 | 1210.45 | 12.45 | -3.65 | 964 | 1606 | 800 | 892 | 31.58 | 543.2 | 203 | 0 | NULL | NULL
2020-12-01 | 1209.84 | 11.87 | -4.13 | 803 | 1265 | 800 | 864 | 30.74 | 542.9 | 201 | 0 | NULL | NULL
2020-11-30 | 1209.4 | 11.43 | -4.37 | 778 | 799 | 800 | 855 | 30.23 | 542.6 | 198 | 0 | NULL | NULL
2020-11-29 | 1209.4 | 11.4 | -4.2 | 859 | 845 | 770 | 853 | 29.21 | 542.6 | 198 | 0 | NULL | NULL
2020-11-28 | 1209.28 | 11.26 | -4.14 | 773 | 1157 | 770 | 853 | 29.82 | 542.5 | 201 | 0 | NULL | NULL
2020-11-27 | 1208.92 | 10.94 | -4.16 | 776 | 1300 | 770 | 839 | 30.9 | 542.3 | 203 | 0 | NULL | NULL
2020-11-26 | 1208.4 | 10.4 | -4.6 | 779 | 1037 | 770 | 824 | 29.26 | 542 | 211 | 0 | NULL | NULL
2020-11-25 | 1208.16 | 10.18 | -4.62 | 787 | 1045 | 790 | 816 | 29.98 | 541.8 | 198 | 0 | NULL | NULL
2020-11-24 | 1207.91 | 9.89 | -4.81 | 800 | 1475 | 790 | 795 | 31.61 | 541.6 | 201 | 0 | NULL | NULL
2020-11-23 | 1207.23 | 9.21 | -5.49 | 793 | 791 | 790 | 759 | 30.08 | 541.1 | 217 | 0 | NULL | NULL
2020-11-22 | 1207.25 | 9.25 | -5.25 | 782 | 477 | 780 | 746 | 29.6 | 540.9 | 196 | 0 | NULL | NULL
2020-11-21 | 1207.6 | 9.62 | -4.68 | 779 | 448 | 780 | 747 | 30.36 | 540.9 | 196 | 0 | NULL | NULL
2020-11-20 | 1207.96 | 9.99 | -4.01 | 783 | 544 | 780 | 756 | 30.81 | 540.9 | 196 | 0 | NULL | NULL
2020-11-19 | 1208.23 | 10.26 | -3.64 | 780 | 682 | 780 | 772 | 30.05 | 540.9 | 196 | 0 | NULL | NULL
2020-11-18 | 1208.35 | 10.38 | -3.42 | 782 | 875 | 780 | 765 | 29.78 | NULL | NULL | NULL | NULL | NULL
2020-11-17 | 1208.28 | 10.28 | -3.52 | 783 | 1277 | 780 | 745 | 30.67 | 540.7 | 196 | 0 | NULL | NULL
2020-11-16 | 1207.79 | 9.79 | -3.81 | 778 | 1056 | 780 | 711 | 29.92 | 540.5 | 201 | 0 | NULL | NULL
2020-11-15 | 1207.52 | 9.55 | -3.95 | 781 | 591 | 780 | 686 | 30.74 | 540.3 | 193 | 0 | NULL | NULL
2020-11-14 | 1207.74 | 9.74 | -3.76 | 783 | 710 | 780 | 678 | 30.93 | 540.3 | 196 | 0 | NULL | NULL
2020-11-13 | 1207.84 | 9.87 | -3.73 | 779 | 1034 | 780 | 664 | 30.72 | 540.3 | 196 | 0 | NULL | NULL
2020-11-12 | 1207.6 | 9.62 | -3.88 | 780 | 1081 | 780 | 640 | 30.29 | 540.1 | 201 | 0 | NULL | NULL
2020-11-11 | 1207.3 | 9.33 | -4.07 | 784 | 455 | 780 | 612 | 30.91 | 539.6 | 193 | 1 | NULL | NULL
2020-11-10 | 1207.67 | 9.65 | -3.65 | 795 | 464 | 780 | 605 | 30.55 | 539.6 | 193 | 0 | NULL | NULL
2020-11-09 | 1208.04 | 9.99 | -3.11 | 777 | 703 | 780 | 599 | 30.2 | 539.6 | 193 | 1 | NULL | NULL
2020-11-08 | 1208.13 | 10.13 | -2.57 | 763 | 855 | 780 | 583 | 29.83 | 539.6 | 193 | 1 | NULL | NULL
2020-11-07 | 1208.06 | 10.06 | -2.74 | 770 | 1097 | 780 | 565 | 30.31 | 539.5 | 193 | 0 | NULL | NULL
2020-11-06 | 1207.74 | 9.74 | -2.86 | 766 | 811 | 780 | 536 | 29.37 | 539.3 | 196 | 1 | NULL | NULL
2020-11-05 | 1207.72 | 9.72 | -2.78 | 763 | 667 | 780 | 514 | 30.6 | 539 | 196 | 0 | NULL | NULL
2020-11-04 | 1207.84 | 9.87 | -2.63 | 393 | 719 | 780 | 498 | 30.39 | 538.8 | 196 | 1 | NULL | NULL
NY Power Authority Comments : The Canal Corporation authorized a return to the Operating Diagram discharge of 700 cfs, beginning at 4pm today.
2020-11-03 | 1207.52 | 9.52 | -2.78 | 261 | 907 | 780 | 480 | 26.81 | 538.7 | 196 | 1 | NULL | NULL
2020-11-02 | 1206.86 | 8.91 | -3.49 | 258 | 759 | 780 | 457 | 27.69 | 538.6 | 188 | 1 | NULL | NULL
2020-11-01 | 1206.35 | 8.35 | -4.05 | 261 | 1010 | 510 | 442 | 29.87 | 538.5 | 188 | 1 | NULL | NULL
2020-10-31 | 1206.01 | 8.01 | -4.49 | 268 | 739 | 510 | 420 | 29.52 | 538.5 | 188 | 1 | NULL | NULL
2020-10-30 | 1205.52 | 7.5 | -5.1 | 265 | 841 | 510 | 412 | 29.49 | 538.4 | 191 | 1 | NULL | NULL
2020-10-29 | 1204.91 | 6.91 | -5.79 | 263 | 744 | 510 | 393 | 28.76 | 538.3 | 188 | 1 | NULL | NULL
2020-10-28 | 1204.4 | 6.42 | -6.38 | 261 | 843 | 470 | 372 | NULL | 538.2 | 188 | 1 | NULL | NULL
2020-10-27 | 1203.76 | 5.79 | -6.91 | 259 | 789 | 470 | 348 | 29.23 | 538.1 | 191 | 1 | NULL | NULL
2020-10-26 | 1203.18 | 5.18 | -7.42 | 264 | 414 | 470 | 325 | 29.49 | 537.9 | 186 | 1 | NULL | NULL
2020-10-25 | 1203.03 | 5 | -7.6 | 280 | 409 | 470 | 313 | 30.41 | 537.9 | 186 | 1 | NULL | NULL
2020-10-24 | 1202.91 | 4.93 | -7.57 | 280 | 388 | 470 | 303 | 30.21 | 538 | 186 | 1 | NULL | NULL
2020-10-23 | 1202.81 | 4.81 | -7.69 | 279 | 510 | 470 | 293 | 29.21 | 538 | 186 | 1 | NULL | NULL
2020-10-22 | 1202.56 | 4.54 | -7.96 | 278 | 731 | 420 | 279 | 29.8 | 537.9 | 186 | 1 | NULL | NULL
2020-10-21 | 1202.05 | 4.1 | -8.3 | 275 | 1000 | 420 | 258 | 29.45 | 537.8 | 188 | 1 | NULL | NULL
2020-10-20 | 1201.2 | 3.2 | -9 | 272 | 494 | 420 | 228 | 29.12 | 537.5 | 188 | 0 | NULL | NULL
2020-10-19 | 1200.95 | 2.95 | -9.15 | 272 | 257 | 420 | 215 | 29.47 | 537.4 | 183 | 11 | NULL | NULL
2020-10-18 | 1201 | 2.98 | -9.02 | 272 | 277 | 420 | 209 | 29.66 | 537.5 | 183 | 11 | NULL | NULL
2020-10-17 | 1201.03 | 3.03 | -8.77 | 272 | 297 | 420 | 204 | 29.4 | 537.5 | 186 | 11 | NULL | NULL
2020-10-16 | 1201.03 | 3.03 | -8.77 | 272 | 336 | 420 | 197 | 29.34 | 537.5 | 186 | 11 | NULL | NULL
2020-10-15 | 1200.98 | 2.98 | -8.82 | 272 | 297 | 420 | 190 | 30.57 | 537.6 | 183 | 11 | NULL | NULL
2020-10-14 | 1200.98 | 2.75 | -8.75 | 271 | 316 | 420 | 183 | 31.02 | 537.6 | 186 | 11 | NULL | NULL
2020-10-13 | 1200.95 | 2.58 | -8.82 | 272 | 238 | 420 | 178 | 30.25 | 537.7 | 186 | 11 | NULL | NULL
2020-10-12 | 1201.03 | 2.53 | -8.87 | 272 | 258 | 420 | 173 | 29.85 | 537.7 | 183 | 11 | NULL | NULL
2020-10-11 | 1201.07 | 2.37 | -8.93 | 272 | 277 | 420 | 168 | 29.76 | 537.8 | 186 | 11 | NULL | NULL
2020-10-10 | 1201.1 | 2.2 | -8.9 | 272 | 238 | 420 | 162 | 30.77 | 537.8 | 183 | 11 | NULL | NULL
2020-10-09 | 1201.17 | 2.05 | -8.85 | 272 | 297 | 420 | 157 | 31.93 | 537.9 | 183 | 11 | NULL | NULL
2020-10-08 | 1201.17 | 1.97 | -8.83 | 273 | 219 | 420 | 150 | 31.34 | 538 | 186 | 11 | NULL | NULL
2020-10-07 | 1201.27 | 1.87 | -8.73 | 273 | 159 | 420 | 146 | 31.07 | 538 | 186 | 11 | NULL | NULL
2020-10-06 | 1201.44 | 1.84 | -8.56 | 274 | 199 | 420 | 145 | 32.74 | 538.1 | 186 | 11 | NULL | NULL
2020-10-05 | 1201.56 | 1.79 | -8.61 | 274 | 179 | 420 | 141 | 31.57 | 538.2 | 186 | 11 | NULL | NULL
2020-10-04 | 1201.71 | 1.83 | -8.57 | 275 | 220 | 400 | 143 | 29.87 | 538.3 | 186 | 11 | NULL | NULL
2020-10-03 | 1201.81 | 1.71 | -8.59 | 275 | 300 | 400 | 141 | 31.25 | 538.5 | 186 | 11 | NULL | NULL
2020-10-02 | 1201.81 | 1.51 | -8.69 | 275 | 340 | 400 | 136 | 31.09 | 538.5 | 186 | 11 | NULL | NULL
2020-10-01 | 1201.76 | 1.28 | -8.72 | 274 | 520 | 400 | 130 | 31.2 | 538.6 | 186 | 11 | NULL | NULL
2020-09-30 | 1201.49 | 0.89 | -9.11 | 274 | 262 | 400 | 117 | 31.18 | 538.7 | 186 | 11 | NULL | NULL
2020-09-29 | 1201.54 | 0.76 | -9.14 | 274 | 122 | 400 | 114 | 31.16 | 538.6 | 186 | 11 | NULL | NULL
2020-09-28 | 1201.76 | 0.76 | -8.84 | 264 | 111 | 400 | 117 | 31.68 | 538.7 | 186 | 11 | NULL | NULL
2020-09-27 | 1201.98 | 0.8 | -8.5 | 265 | 90 | 400 | 121 | 30.53 | 538.9 | 186 | 11 | NULL | NULL
2020-09-26 | 1202.22 | 0.85 | -8.25 | 266 | 49 | 400 | 125 | 32.21 | 539 | 186 | 11 | NULL | NULL
2020-09-25 | 1202.52 | 0.99 | -8.11 | 267 | 131 | 400 | 128 | 31.61 | 539.1 | 186 | 11 | NULL | NULL
2020-09-24 | 1202.71 | 1.04 | -7.96 | 276 | 77 | 400 | 128 | 32.26 | 539.3 | 186 | 11 | NULL | NULL
2020-09-23 | 1202.98 | 1.08 | -7.82 | 269 | 89 | 400 | 127 | 32.39 | 539.4 | 186 | 11 | NULL | NULL
2020-09-22 | 1203.22 | 1.12 | -7.48 | 270 | 109 | 400 | 125 | 31.91 | 539.5 | 171 | 11 | NULL | NULL
2020-09-21 | 1203.44 | 1.24 | -7.26 | 271 | 109 | 400 | 122 | 29.58 | NULL | 171 | NULL | NULL | NULL
2020-09-20 | 1203.66 | 1.26 | -7.04 | 272 | 87 | 400 | 120 | 28.97 | NULL | 171 | NULL | NULL | NULL
2020-09-19 | 1203.91 | 1.36 | -6.64 | 273 | 87 | 400 | 117 | 30.23 | NULL | 171 | NULL | NULL | NULL
2020-09-18 | 1204.15 | 1.35 | -6.45 | 274 | 108 | 400 | 116 | 30.48 | NULL | 173 | NULL | NULL | NULL
2020-09-17 | 1204.37 | 1.47 | -6.33 | 275 | 86 | 400 | 117 | 31.59 | 540.1 | 173 | 11 | NULL | NULL
2020-09-16 | 1204.62 | 1.52 | -6.08 | 276 | 129 | 400 | 117 | 30.48 | 540.2 | 173 | 11 | NULL | NULL
2020-09-15 | 1204.81 | 1.51 | -5.99 | 276 | 107 | 400 | 117 | 29.29 | 540.3 | 173 | 11 | NULL | NULL
2020-09-14 | 1205.03 | 1.53 | -5.87 | 254 | 150 | 400 | 117 | 29.66 | 540.4 | 166 | 11 | NULL | NULL
2020-09-13 | 1205.18 | 1.58 | -5.72 | 254 | 106 | 400 | 119 | 29.72 | 540.4 | 166 | 11 | NULL | NULL
2020-09-12 | 1205.37 | 1.57 | -5.53 | 254 | 105 | 400 | 121 | 30.7 | 540.4 | 166 | 11 | NULL | NULL
2020-09-11 | 1205.57 | 1.57 | -5.53 | 255 | 82 | 400 | 124 | 32.4 | 540.6 | 171 | 11 | NULL | NULL
2020-09-10 | 1205.79 | 1.59 | -5.51 | 256 | 82 | 400 | 128 | 32.31 | 540.7 | 191 | 11 | NULL | NULL
2020-09-09 | 1206.01 | 1.58 | -5.52 | 257 | 104 | 400 | 128 | 32.68 | NULL | NULL | NULL | NULL | NULL
2020-09-08 | 1206.2 | 1.7 | -5.6 | 257 | 104 | 400 | 128 | 31.25 | 540.9 | 193 | 11 | NULL | NULL
2020-09-07 | 1206.4 | 1.7 | -5.6 | 258 | 127 | 400 | 132 | 28.29 | 541.1 | 193 | 11 | NULL | NULL
2020-09-06 | 1206.57 | 1.69 | -5.61 | 259 | 81 | 400 | 135 | 29.83 | 541.2 | 193 | 11 | NULL | NULL
2020-09-05 | 1206.79 | 1.64 | -5.66 | 259 | 218 | 400 | 145 | 30.01 | 541.3 | 193 | 11 | NULL | NULL
2020-09-04 | 1206.86 | 1.66 | -5.74 | 260 | 173 | 400 | 156 | 31.26 | 541.4 | 193 | 11 | NULL | NULL
2020-09-03 | 1206.99 | 1.61 | -5.69 | 260 | 150 | 400 | 181 | 30.85 | 541.5 | 193 | 11 | NULL | NULL
2020-09-02 | 1207.13 | 1.53 | -5.77 | 261 | 173 | 400 | 183 | 31.36 | 541.6 | 193 | 23 | NULL | NULL
2020-09-01 | 1207.25 | 1.48 | -5.72 | 261 | 126 | 400 | 182 | 30.93 | 541.7 | 193 | 23 | NULL | NULL
2020-08-31 | 1207.43 | 1.53 | -5.57 | 265 | 159 | 400 | 180 | 29.6 | 541.9 | 196 | 23 | NULL | NULL
2020-08-30 | 1207.57 | 4.47 | -5.53 | 274 | 214 | 400 | 176 | 30.75 | 542 | 196 | 23 | NULL | NULL
2020-08-29 | 1207.67 | 4.35 | -5.55 | 275 | 239 | 400 | 173 | 32.66 | 542.1 | 196 | 23 | NULL | NULL
2020-08-28 | 1207.74 | 1.24 | -5.56 | 183 | 194 | 400 | 168 | 37 | 542.2 | 196 | 23 | NULL | NULL
2020-08-27 | 1207.77 | 1.14 | -5.86 | 272 | 141 | 400 | 166 | 32.59 | 542.3 | 196 | 23 | NULL | NULL
2020-08-26 | 1207.94 | 1.14 | -5.86 | 241 | 134 | 400 | 166 | 29.16 | 542.4 | 196 | 23 | NULL | NULL
2020-08-25 | 1208.08 | 1.13 | -5.97 | 251 | 48 | 400 | 167 | 29.15 | 542.5 | 196 | NULL | NULL | NULL
2020-08-24 | 1208.33 | 1.13 | -5.97 | 252 | 24 | 400 | 170 | 27.85 | 542.6 | 196 | NULL | 83 | 11
2020-08-23 | 1208.6 | 1.2 | -5.8 | 240 | 34 | 400 | 175 | 30 | 542.7 | 196 | NULL | 80 | 12
2020-08-22 | 1208.84 | 1.34 | -5.66 | 241 | 35 | 400 | 180 | 28.96 | 542.9 | 196 | NULL | 71 | 10
2020-08-21 | 1209.09 | 1.41 | -5.59 | 266 | 8 | 400 | 187 | 29.12 | 543 | 196 | NULL | 66 | 11
2020-08-20 | 1209.38 | 1.48 | -5.52 | 267 | 56 | 400 | 194 | 28.69 | 543.1 | 198 | NULL | 72 | 12
2020-08-19 | 1209.62 | 1.52 | -5.48 | 257 | 141 | 400 | 199 | 28.97 | NULL | NULL | NULL | 76 | 13
2020-08-18 | 1209.77 | 1.57 | -5.53 | 291 | 84 | 400 | 204 | 29.27 | 543.3 | 198 | NULL | 82 | 13
2020-08-17 | 1210.01 | 1.59 | -5.51 | 229 | 114 | 400 | 214 | 28.99 | 543.4 | 198 | NULL | 86 | 14
2020-08-16 | 1210.16 | 1.56 | -5.54 | 271 | 106 | 400 | 230 | 25.85 | 543.6 | 196 | NULL | 95 | 14
2020-08-15 | 1210.36 | 1.56 | -5.54 | 364 | 221 | 400 | 246 | 28.01 | 543.7 | 196 | NULL | 111 | 16
2020-08-14 | 1210.53 | 1.63 | -5.47 | 248 | 181 | 400 | 246 | 30.64 | 543.8 | 196 | NULL | 135 | 18
2020-08-13 | 1210.63 | 1.53 | -5.47 | 262 | 170 | 400 | 249 | 28.5 | 543.9 | 198 | NULL | 159 | 19
2020-08-12 | 1210.75 | 1.47 | -5.53 | 252 | 211 | 400 | 254 | 28.9 | 544 | 198 | NULL | 173 | 22
2020-08-11 | 1210.82 | 1.35 | -5.45 | 256 | 88 | 400 | 265 | 27.76 | 544 | 196 | NULL | 104 | 20
2020-08-10 | 1211.02 | 1.39 | -5.41 | 253 | 110 | 400 | 282 | 29.12 | 544.1 | 198 | NULL | 114 | 22
2020-08-09 | 1211.19 | 1.36 | -5.34 | 300 | 207 | 400 | 285 | 28.34 | 544.2 | 198 | NULL | 135 | 26
2020-08-08 | 1211.31 | 1.33 | -5.37 | 301 | 233 | 400 | 284 | 27.5 | 544.3 | 198 | NULL | 172 | 33
2020-08-07 | 1211.41 | 1.21 | -5.39 | 161 | 374 | 400 | 278 | 27.2 | 544.4 | 198 | NULL | 249 | 46
2020-08-06 | 1211.24 | 0.86 | -5.74 | 258 | 545 | 400 | 269 | 27.22 | 544.5 | 198 | NULL | 425 | 87
2020-08-05 | 1210.99 | 0.49 | -6.11 | 249 | 936 | 400 | 254 | 28.29 | 544.5 | 201 | NULL | 835 | 212
2020-08-04 | 1210.36 | -0.37 | -6.87 | 254 | 213 | 400 | 228 | 28.52 | 544.4 | 198 | NULL | 150 | 60
2020-08-03 | 1210.43 | -0.47 | -6.97 | 264 | 123 | 400 | 226 | 27.2 | 544.5 | 198 | NULL | 74 | 16
2020-08-02 | 1210.6 | -0.5 | -6.9 | 247 | 79 | 400 | 230 | 27.01 | 544.6 | 198 | NULL | 72 | 16
2020-08-01 | 1210.8 | -0.38 | -6.88 | 260 | 41 | 400 | 239 | 27.48 | 544.7 | 198 | NULL | 73 | 16
2020-07-31 | 1211.04 | -0.36 | -6.66 | 261 | 117 | 400 | 253 | 27.78 | 544.8 | 198 | NULL | 81 | 18
2020-07-30 | 1211.21 | -0.39 | -6.69 | 261 | 91 | 400 | 258 | 28.53 | 544.9 | 231 | NULL | 92 | 21
2020-07-29 | 1211.41 | -0.39 | -6.59 | 262 | 117 | 400 | 262 | 30.67 | 545 | 234 | NULL | 111 | 22
2020-07-28 | 1211.58 | -0.32 | -6.52 | 262 | 168 | 400 | 264 | 30.05 | 545.1 | 234 | NULL | 109 | 24
2020-07-27 | 1211.7 | -0.45 | -6.65 | 263 | 143 | 400 | 263 | 29.8 | 545.2 | 186 | NULL | 88 | 20
2020-07-26 | 1211.85 | -0.45 | -6.55 | 263 | 142 | 400 | 263 | 30.36 | 545.3 | 186 | NULL | 95 | 19
2020-07-25 | 1211.99 | -0.51 | -6.61 | 264 | 169 | 400 | 264 | 29.99 | 545.4 | 186 | NULL | 116 | 22
2020-07-24 | 1212.12 | -0.44 | -6.54 | 264 | 194 | 400 | 262 | 28.37 | 545.5 | 181 | NULL | 161 | 25
2020-07-23 | 1212.21 | -0.59 | -6.69 | 264 | 246 | 400 | 263 | 27.92 | 545.5 | 181 | NULL | 163 | 27
2020-07-22 | 1212.26 | -0.76 | -6.76 | 264 | 220 | 400 | 256 | 30.98 | 545.5 | 181 | NULL | 119 | 26
2020-07-21 | 1212.34 | -0.86 | -6.76 | 265 | 198 | 400 | 256 | 30.93 | 545.6 | 181 | NULL | 143 | 31
2020-07-20 | 1212.43 | -0.97 | -6.77 | 265 | 296 | 400 | 252 | 29.93 | 545.7 | 181 | NULL | 188 | 38
2020-07-19 | 1212.43 | -1.07 | -6.97 | 265 | 377 | 400 | 246 | 30.29 | NULL | 181 | NULL | 261 | 44
2020-07-18 | 1212.36 | -1.34 | -7.24 | 264 | 610 | 400 | 236 | 28.22 | NULL | 183 | NULL | 456 | 75
2020-07-17 | 1212.07 | -1.81 | -7.71 | 263 | 582 | 400 | 222 | 28.91 | 545.6 | 191 | NULL | 564 | 95
2020-07-16 | 1211.8 | -2.28 | -8.08 | 263 | 220 | 400 | 210 | 29.36 | 545.4 | 181 | NULL | 147 | 32
2020-07-15 | 1211.87 | -2.35 | -8.15 | 263 | 271 | 400 | 207 | 28.35 | 545.5 | 181 | NULL | 164 | 37
2020-07-14 | 1211.9 | -2.5 | -8.2 | 263 | 323 | 400 | 206 | 27.79 | 545.5 | 181 | NULL | NULL | 51
2020-07-13 | 1211.87 | -2.73 | -8.33 | 263 | 529 | 400 | 202 | 28.05 | 545.5 | 181 | NULL | 312 | 108
2020-07-12 | 1211.65 | -3.15 | -8.55 | 262 | 603 | 400 | 195 | 25.44 | 545.4 | 186 | NULL | 328 | 191
2020-07-11 | 1211.36 | -3.54 | -8.94 | 262 | 194 | 400 | 186 | 28.74 | 545.1 | 181 | NULL | 117 | 26
2020-07-10 | 1211.46 | -3.67 | -9.07 | 262 | 168 | 400 | 189 | 31.04 | 545.2 | 181 | NULL | 85 | 16
2020-07-09 | 1211.58 | -3.7 | -9 | 263 | 65 | 400 | 192 | 32.37 | 545.3 | 181 | NULL | 91 | 17
2020-07-08 | 1211.8 | -3.68 | -8.98 | 263 | 90 | 400 | 197 | 31.14 | 545.3 | 181 | NULL | 81 | 18
2020-07-07 | 1211.99 | -3.66 | -9.06 | 264 | 116 | 400 | 202 | 32.17 | 545.4 | 181 | NULL | 88 | 19
2020-07-06 | 1212.16 | -3.64 | -8.94 | 264 | 142 | 400 | 207 | 31.02 | 545.5 | 181 | NULL | 98 | 23
2020-07-05 | 1212.31 | -3.69 | -8.89 | 265 | 168 | 400 | 213 | 27.95 | 545.6 | 181 | NULL | 116 | 29
2020-07-04 | 1212.43 | -3.77 | -8.87 | 265 | 247 | 400 | 220 | 27.36 | 545.6 | 181 | NULL | 145 | 43
2020-07-03 | 1212.48 | -3.89 | -8.89 | 265 | 351 | 400 | 222 | 28.62 | 545.7 | 181 | NULL | 195 | 73
2020-07-02 | 1212.43 | -4.09 | -9.19 | 265 | 455 | 400 | 224 | 28.76 | 545.8 | 181 | NULL | 226 | 159
2020-07-01 | 1212.29 | -4.41 | -9.41 | 264 | 272 | 400 | 217 | 28.75 | 545.8 | 181 | NULL | 211 | 102
2020-06-30 | 1212.29 | -4.61 | -9.61 | 257 | 188 | 400 | 221 | 29.2 | 545.8 | 183 | NULL | 103 | 39
2020-06-29 | 1212.38 | -4.72 | -9.62 | 252 | 182 | 400 | 232 | 28.44 | 545.9 | 183 | NULL | 94 | 93
2020-06-28 | 1212.48 | -4.72 | -9.72 | 252 | 156 | 400 | 247 | 26.86 | 546 | 183 | NULL | 92 | 37
2020-06-27 | 1212.6 | -4.8 | -9.6 | 252 | 129 | 400 | 256 | 28.83 | 546 | 183 | NULL | 93 | 16
2020-06-26 | 1212.75 | -4.87 | -9.57 | 253 | 183 | 400 | 262 | 30.15 | 546.1 | 183 | NULL | 102 | 18
2020-06-25 | 1212.85 | -4.98 | -9.58 | 253 | 103 | 400 | 267 | 29.16 | 546.2 | 183 | NULL | 111 | 20
2020-06-24 | 1213.02 | -4.88 | -9.48 | 253 | 209 | 400 | 281 | 31.51 | 546.3 | 183 | NULL | 97 | 20
2020-06-23 | 1213.09 | -4.96 | -9.56 | 254 | 50 | 400 | 291 | 34.08 | 546.4 | 183 | 0 | 85 | 14
2020-06-22 | 1213.31 | -5.01 | -9.41 | 254 | 209 | 400 | 307 | 31.89 | 546.5 | 183 | 0 | 88 | 15
2020-06-21 | 1213.39 | -5.09 | -9.29 | 255 | 76 | 400 | 319 | 29.54 | 546.6 | 183 | 0 | 94 | 16
2020-06-20 | 1213.58 | -5.02 | -9.32 | 255 | 129 | 400 | 342 | 28.92 | 546.6 | 183 | 0 | 99 | 18
2020-06-19 | 1213.73 | -5.05 | -9.25 | 371 | 83 | 400 | 363 | 31.58 | 546.7 | 183 | 0 | 105 | 21
NY Power Authority Comments : The Canal Corporation authorized a discharge of 250 cfs to begin at 7pm June 19.
2020-06-18 | 1214.02 | -4.98 | -9.18 | 405 | 169 | 400 | 394 | 32.13 | 546.8 | 183 | 0 | 115 | 19
2020-06-17 | 1214.26 | -4.94 | -9.04 | 412 | 229 | 400 | 433 | 31.62 | 546.9 | 183 | 0 | 127 | 20
2020-06-16 | 1214.46 | -4.92 | -8.82 | 408 | 142 | 400 | 473 | 30.59 | 547 | 183 | 0 | 139 | 23
2020-06-15 | 1214.73 | -4.82 | -8.62 | 405 | 220 | 400 | 513 | 28.28 | 547 | 183 | 0 | 151 | 25
2020-06-14 | 1214.92 | -4.78 | -8.38 | 467 | 226 | 460 | 587 | 26.76 | 547.1 | 186 | 0 | 164 | 28
2020-06-13 | 1215.17 | -4.71 | -8.21 | 460 | 301 | 460 | 591 | 26.53 | NULL | NULL | NULL | 193 | 34
2020-06-12 | 1215.34 | -4.76 | -8.16 | 463 | 357 | 460 | 602 | 27.42 | NULL | NULL | NULL | 257 | 48
2020-06-11 | 1215.46 | -4.74 | -8.14 | 457 | 268 | 460 | 610 | 30.28 | 547.4 | 186 | 0 | 230 | 53
2020-06-10 | 1215.66 | -4.77 | -8.07 | 493 | 248 | 490 | 625 | 31.04 | 547.5 | 186 | 0 | 149 | 28
2020-06-09 | 1215.9 | -4.7 | -7.9 | 493 | 218 | 490 | 638 | 29.26 | 547.6 | 188 | 0 | 163 | 27
2020-06-08 | 1216.17 | -4.63 | -7.63 | 533 | 257 | 490 | 650 | 28.53 | 547.7 | 188 | 0 | 178 | 29
2020-06-07 | 1216.44 | -4.44 | -7.44 | 510 | 260 | 510 | 660 | 27.08 | 547.8 | 188 | 0 | 200 | 34
2020-06-06 | 1216.68 | -4.42 | -7.32 | 509 | 315 | 510 | 671 | 29.16 | 547.9 | 188 | 0 | 229 | 40
2020-06-05 | 1216.88 | -4.45 | -7.25 | 518 | 380 | 510 | 682 | 30.64 | 547.9 | 188 | 0 | 250 | 45
2020-06-04 | 1217.02 | -4.48 | -7.18 | 514 | 319 | 510 | 693 | 28.59 | 548 | 188 | 0 | 260 | 50
2020-06-03 | 1217.22 | -4.4 | -7.1 | 527 | 389 | 520 | 709 | 27.85 | 548.1 | 188 | 0 | 271 | 53
2020-06-02 | 1217.37 | -4.43 | -6.83 | 400 | 244 | 520 | 730 | 27.12 | 548.1 | 188 | 0 | 282 | 42
2020-06-01 | 1217.51 | -4.49 | -6.69 | 472 | 391 | 520 | 762 | 26.95 | 548.2 | 188 | 0 | 320 | 51
2020-05-31 | 1217.61 | -4.39 | -6.59 | 562 | 536 | 550 | 800 | 27.38 | 548.3 | 188 | 0 | 401 | 77
2020-05-30 | 1217.66 | -4.36 | -6.56 | 594 | 626 | 550 | 826 | 28.4 | 548.3 | 191 | 0 | 487 | 132
2020-05-29 | 1217.66 | -4.32 | -6.52 | 557 | 414 | 550 | 835 | 28.77 | 548.2 | 193 | 0 | 272 | 44
2020-05-28 | 1217.81 | -4.19 | -6.49 | 553 | 322 | 550 | 854 | 32.43 | 548.2 | 192 | 0 | 276 | 37
2020-05-27 | 1218.03 | -3.97 | -6.27 | 624 | 333 | 620 | 886 | 30.87 | 548.3 | 192 | 0 | 304 | 42
2020-05-26 | 1218.3 | -3.75 | -6.05 | 539 | 512 | 620 | 915 | 29.77 | NULL | NULL | NULL | 340 | 49
2020-05-25 | 1218.34 | -3.68 | -6.08 | 624 | 509 | 620 | 925 | 29.36 | 548.4 | 241 | 0 | 358 | 55
2020-05-24 | 1218.47 | -3.56 | -5.96 | 663 | 547 | 670 | 934 | 30.99 | 548.5 | 241 | 0 | 399 | 66
2020-05-23 | 1218.59 | -3.44 | -5.84 | 665 | 579 | 670 | 943 | 30.85 | 548.6 | 241 | 0 | 461 | 81
2020-05-22 | 1218.69 | -3.34 | -5.74 | 666 | 758 | 670 | 956 | 30.38 | 548.6 | 248 | 0 | 533 | 96
2020-05-21 | 1218.64 | -3.31 | -5.81 | 668 | 759 | 670 | 966 | 30.54 | 548.7 | 248 | 0 | 636 | 120
2020-05-20 | 1218.59 | -3.44 | -5.94 | 727 | 996 | 720 | 977 | 29.75 | 548.7 | 259 | 0 | 798 | 167
2020-05-19 | 1218.39 | -3.58 | -6.08 | 728 | 1348 | 720 | 986 | 27.8 | 548.7 | 266 | 0 | 1040 | 249
2020-05-18 | 1217.9 | -4.07 | -6.57 | 722 | 1423 | 720 | 976 | 27.76 | 548.5 | 747 | 0 | 1110 | 302
2020-05-17 | 1217.34 | -4.66 | -7.16 | 813 | 1364 | 800 | 967 | 26.64 | 548.7 | 707 | 0 | 1010 | 265
2020-05-16 | 1216.9 | -5.1 | -7.6 | 1161 | 2413 | 800 | 964 | 25.82 | NULL | 724 | 0 | 1330 | 555
2020-05-15 | 1215.85 | -6.15 | -8.75 | 420 | 368 | 800 | 944 | 28.19 | 548.7 | 255 | 0 | 511 | 139
NY Power Authority Comments : The Canal Corporation authorized a discharge of 400 cfs due to a line outage on May 15.
2020-05-14 | 1215.93 | -6.07 | -8.67 | 807 | 616 | 800 | 1024 | 28.19 | 548.8 | 255 | 0 | NULL | 66
2020-05-13 | 1216.12 | -5.88 | -8.38 | 953 | 617 | 950 | 1164 | 27.37 | 548.8 | 690 | 0 | NULL | 79
2020-05-12 | 1216.44 | -5.59 | -7.99 | 951 | 698 | 950 | 1215 | 27.37 | 549.2 | 421 | 0 | 591 | 96
2020-05-11 | 1216.68 | -5.37 | -7.77 | 955 | 643 | 950 | 1236 | 26.39 | 549.3 | 231 | 0 | NULL | 78
2020-05-10 | 1216.98 | -5 | -7.3 | 1085 | 568 | 1080 | 1260 | 25.6 | 549.3 | 231 | 0 | 460 | 71
2020-05-09 | 1217.44 | -4.56 | -6.76 | 1087 | 562 | 1080 | 1309 | 25.98 | 549.3 | 231 | 0 | 475 | 73
2020-05-08 | 1217.9 | -4.12 | -6.42 | 1088 | 592 | 1080 | 1360 | 28.09 | 549.4 | 231 | 0 | NULL | 76
2020-05-07 | 1218.34 | -3.66 | -5.96 | 1083 | 642 | 1080 | 1404 | 26.95 | 549.4 | 231 | 0 | 545 | 77
2020-05-06 | 1218.73 | -3.27 | -5.67 | 1209 | 704 | 1210 | 1443 | 27.78 | 549.4 | 231 | 0 | 624 | 86
2020-05-05 | 1219.17 | -2.83 | -5.23 | 1215 | 826 | 1210 | 1489 | 27.45 | 549.4 | 231 | 0 | 739 | 101
2020-05-04 | 1219.52 | -2.48 | -4.88 | 1210 | 1000 | 1210 | 1538 | 27.06 | NULL | NULL | NULL | 892 | 119
2020-05-03 | 1219.71 | -2.29 | -4.69 | 1380 | 1200 | 1380 | 1574 | 26.05 | 549.4 | 238 | 0 | 1090 | 156
2020-05-02 | 1219.88 | -2.09 | -4.39 | 1389 | 1542 | 1380 | 1601 | 26.6 | 549.3 | 241 | 0 | 1340 | 211
2020-05-01 | 1219.79 | -2.24 | -4.34 | 1384 | 1325 | 1380 | 1625 | 26.93 | 549.1 | 925 | 0 | 1210 | 213
NY Power Authority Comments : On May 1, the Elevation Triiger became active, requiring Routine Communications of the Core Agencies on a weekly basis.
2020-04-30 | 1219.86 | 1219.86 | -4.04 | 1711 | 882 | 1380 | 1759 | 26.26 | 549.3 | 1050 | 0 | 856 | 122
NY Power Authority Comments : The Canal Corporation authorized NYPA to revert to the 2012 OD discharge of 1380 cfs at 7pm on April 17.
2020-04-29 | 1220.54 | 1220.54 | -3.26 | 1804 | 996 | 1400 | 1851 | 28.66 | 549.8 | 673 | 0 | 964 | 157
2020-04-28 | 1221.2 | 1221.23 | -2.37 | 1560 | 1275 | 1400 | 1918 | 25.72 | 550.1 | 309 | 0 | 1100 | 217
NY Power Authority Comments : The Canal Corporation authorized a discharge of 1800 cfs at 3pm on April 28.
2020-04-27 | 1221.45 | 1221.45 | -1.95 | 1404 | 1211 | 1400 | 1935 | 27.74 | 550 | 278 | 0 | 1040 | 241
2020-04-26 | 1221.62 | 1221.62 | -1.58 | 1401 | 797 | 1400 | 1948 | 26.78 | 550 | 252 | 0 | 672 | 99
2020-04-25 | 1222.11 | 1222.11 | -0.69 | 1399 | 791 | 1400 | 1964 | 27.46 | 550 | NULL | 0 | 673 | 104
2020-04-24 | 1222.59 | 1222.59 | 0.19 | 1400 | 818 | 1400 | 1972 | 27.67 | 550 | 289 | 0 | 728 | 119
2020-04-23 | 1223.06 | 1223.06 | 1.26 | 1436 | 946 | 1400 | 1980 | 27.75 | 550.1 | 313 | 0 | 803 | 136
2020-04-22 | 1223.45 | 1223.42 | 2.42 | 1490 | 1061 | 1510 | 1995 | 28.62 | 550.1 | 360 | 0 | 948 | 171
2020-04-21 | 1223.79 | 1223.79 | 3.49 | 1507 | 1109 | 1510 | 2020 | 27.11 | 550.2 | 392 | 0 | 962 | 180
2020-04-20 | 1224.11 | 1224.11 | 4.31 | 1513 | 1244 | 1510 | 2081 | 28.03 | 550.2 | 421 | 0 | 1020 | 207
2020-04-19 | 1224.33 | 1224.35 | 5.15 | 1544 | 1076 | 1540 | 2211 | 25.49 | 550.1 | 356 | 0 | 910 | 185
2020-04-18 | 1224.69 | 1224.69 | 5.89 | 1543 | 1138 | 1540 | 2257 | 27.44 | 550.1 | 356 | 0 | 1020 | 204
2020-04-17 | 1225.01 | 1225.01 | 6.81 | 1728 | 1284 | 1540 | 2258 | 26.75 | 550.1 | 309 | 0 | 1190 | 222
NY Power Authority Comments : The Canal Corporation authorized NYPA to revert to the 2012 OD discharge of 1540 cfs at 10am on April 17.
2020-04-16 | 1225.35 | 1225.33 | 8.03 | 2344 | 1799 | 1540 | 2245 | 27.75 | 550 | 266 | 0 | 1500 | 265
2020-04-15 | 1225.77 | 1225.82 | 9.42 | 3114 | 2768 | 1400 | 2224 | 26.7 | 549.9 | 205 | 0 | 2170 | 427
2020-04-14 | 1226.04 | 1226.04 | 10.44 | 2418 | 4817 | 1400 | 2189 | 26.63 | 549.6 | 526 | 0 | 4000 | 703
2020-04-13 | 1224.3 | 1224.33 | 9.43 | 1786 | 2141 | 1400 | 2116 | 28.03 | 548.9 | 509 | 0 | 2040 | 330
2020-04-12 | 1224.06 | 1224.04 | 9.84 | 1797 | 1331 | 1400 | 2196 | 25.56 | 548.9 | 498 | 0 | 1230 | 213
2020-04-11 | 1224.43 | 1224.43 | 10.93 | 1298 | 1358 | 1400 | 2256 | 24.57 | 549 | 498 | 0 | 1560 | 270
2020-04-10 | 1224.4 | 1224.43 | 11.63 | 1213 | 2060 | 1400 | 2303 | 22.74 | 548.9 | 493 | 0 | 2130 | 366
2020-04-09 | 1223.79 | 1223.79 | 11.49 | 1553 | 2094 | 1400 | 2459 | 24.29 | 548.9 | 186 | 0 | 1840 | 284
NY Power Authority Comments : The Canal Corporation authorized a discharge of 1800 cfs at 1:25pm on April 9.
2020-04-08 | 1223.4 | 1223.4 | 11.7 | 1410 | 1889 | 1400 | 2438 | 26.49 | 548.8 | 186 | 0 | 1630 | 237
2020-04-07 | 1223.06 | 1223.06 | 12.16 | 1406 | 1818 | 1400 | 2387 | 29.19 | 548.7 | 186 | 0 | 1580 | 224
2020-04-06 | 1222.77 | 1222.79 | 12.69 | 1410 | 2074 | 1400 | 2356 | 28.13 | 548.6 | 169 | 0 | 1780 | 268
2020-04-05 | 1222.28 | 1222.25 | 13.05 | 1407 | 2317 | 1400 | 2322 | 26.38 | 548.5 | 172 | 0 | 1870 | 305
2020-04-04 | 1221.59 | 1221.62 | 13.42 | 1408 | 2059 | 1400 | 2205 | 27.18 | 548.3 | 175 | 0 | 1690 | 318
2020-04-03 | 1221.1 | 1221.15 | 14.05 | 1409 | 2024 | 1400 | 2201 | 27.69 | 548.1 | 175 | 0 | 1640 | 327
2020-04-02 | 1220.64 | 1220.64 | 14.44 | 1407 | 2261 | 1400 | 2192 | 27.41 | 547.9 | 175 | 0 | 1730 | 381
2020-04-01 | 1219.98 | 1219.98 | 14.68 | 1407 | 5339 | 1400 | 2148 | 27.67 | 547.6 | 208 | 0 | 2070 | 565
2020-03-31 | 1218.71 | 1218.71 | 14.31 | 1410 | 3650 | 1400 | 1969 | 24.28 | 547.3 | 411 | 0 | 2450 | 739
2020-03-30 | 1216.85 | 1216.85 | 13.35 | 1412 | 3018 | 1400 | 1875 | 25.73 | 546.4 | 397 | 0 | 2130 | NULL
2020-03-29 | 1215.49 | 1215.49 | 12.79 | 1406 | 1786 | 1400 | 1805 | 25.36 | 546.1 | 397 | 0 | 1340 | 380
2020-03-28 | 1215.22 | 1215.22 | 13.42 | 1404 | 1593 | 1400 | 1770 | 23.2 | 546 | 397 | 0 | 1250 | 297
2020-03-27 | 1215.07 | 1215.05 | 14.05 | 1401 | 1285 | 1400 | 1741 | NULL | 545.8 | 402 | 0 | 1070 | 260
2020-03-26 | 1215.19 | 1215.19 | 14.59 | 1402 | 1008 | 1400 | 1713 | NULL | 545.5 | 397 | 0 | 859 | 195
2020-03-25 | 1215.56 | 1215.56 | 15.36 | 1405 | 1064 | 1400 | 1691 | 28.08 | 545.5 | 392 | 0 | 972 | 202
2020-03-24 | 1215.88 | 1215.88 | 15.88 | 1406 | 1401 | 1400 | 1664 | 27.45 | 545.5 | 753 | 0 | 1140 | 236
2020-03-23 | 1215.9 | 1215.9 | 16 | 1403 | 1818 | 1400 | 1626 | 28.77 | 545.6 | 788 | 0 | 1370 | 293
2020-03-22 | 1215.56 | 1215.51 | 15.81 | 1740 | 2923 | 1400 | 1577 | 27.2 | 545.8 | 794 | 0 | 1860 | 525
NY Power Authority Comments : The Canal Corporation authorized NYPA to revert to the 2012 OD discharge of 1400 cfs at 8pm on March 22.
2020-03-21 | 1214.53 | 1214.53 | 14.93 | 1813 | 5143 | 1400 | 1491 | 26.21 | 545.9 | 1560 | 0 | 3310 | 888
2020-03-20 | 1211.48 | 1211.46 | 12.06 | 1808 | 2466 | 1400 | 1333 | 27.91 | 545.7 | 1570 | 0 | 1960 | 603
2020-03-19 | 1210.87 | 1210.85 | 11.35 | 2400 | 1170 | 1400 | 1267 | 26.99 | 546.1 | 1550 | 0 | 868 | 209
NY Power Authority Comments : The Canal Corporation authorized a discharge of 1800 cfs at 4:10pm on March 19.
2020-03-18 | 1212.07 | 1212.07 | 12.77 | 2433 | 903 | 1400 | 1240 | 29.79 | 546.9 | 1560 | 0 | 916 | 196
2020-03-17 | 1213.51 | 1213.51 | 14.41 | 2065 | 1171 | 1400 | 1223 | 26.31 | 547.6 | 1560 | 0 | 1090 | 226
NY Power Authority Comments : The Canal Corporation authorized a discharge of 2500 cfs at 6pm on March 17.
2020-03-16 | 1214.34 | 1214.31 | 15.21 | 1402 | 1696 | 1400 | 1196 | 27.9 | 548.3 | 1580 | 0 | 1310 | 282
NY Power Authority Comments : The Canal Corporation authorized a discharge of 1800 cfs to begin at 9am March 16.
2020-03-15 | 1214.09 | 1214.12 | 15.12 | 1078 | 2648 | 1070 | 1150 | 28.8 | 549 | 1600 | 0 | 1750 | 454
2020-03-14 | 1212.68 | 1212.68 | 13.88 | 1083 | 4526 | 1070 | 1074 | 28.34 | 549.4 | 1600 | 0 | 2820 | 774
2020-03-13 | 1209.38 | 1209.36 | 10.66 | 1078 | 3147 | 1070 | 938 | 28.95 | 549.2 | 1590 | 0 | 2270 | 568
2020-03-12 | 1207.28 | 1207.3 | 8.7 | 1072 | 2752 | 1070 | 819 | 29.88 | 549.5 | 1570 | 0 | 1750 | 528
2020-03-11 | 1205.5 | 1205.5 | 6.8 | 886 | 6747 | 890 | 761 | 27.9 | 549.7 | 313 | 0 | 2500 | 742
2020-03-10 | 1198.44 | 1198.41 | -0.29 | 902 | 1465 | 890 | 568 | 15.1 | NULL | 305 | 0 | 1150 | 350
2020-03-09 | 1197.7 | 1197.73 | -0.97 | 889 | 354 | 890 | 538 | 24.12 | NULL | 278 | 0 | 658 | 203
2020-03-08 | 1198.46 | 1198.46 | -0.24 | 730 | 886 | 720 | 549 | 22.4 | NULL | 274 | 0 | 700 | 211
2020-03-07 | 1198.29 | 1198.29 | -0.41 | 727 | 1056 | 720 | 540 | 19.24 | NULL | 278 | 0 | 848 | 266
2020-03-06 | 1197.87 | 1197.87 | -0.63 | 729 | -1203 | 720 | 520 | 18.64 | NULL | 289 | 0 | 1070 | 389
2020-03-05 | 1200.44 | 1200.39 | 1.89 | 728 | 1961 | 720 | 572 | 20.22 | NULL | 301 | 0 | 1350 | 558
2020-03-04 | 1198.88 | 1198.88 | 0.08 | 769 | 1751 | 760 | 519 | 20.28 | NULL | 321 | 0 | 1260 | 596
2020-03-03 | 1197.58 | 1197.58 | -1.52 | 762 | 944 | 760 | 475 | 19.73 | NULL | 274 | 0 | 485 | 274
2020-03-02 | 1197.36 | 1197.36 | -2.04 | 762 | -35 | 760 | 457 | 19.71 | NULL | 263 | 0 | 364 | 200
2020-03-01 | 1198.48 | 1198.48 | -1.12 | 797 | 820 | 800 | 472 | 18.44 | NULL | 263 | 0 | 394 | 212
2020-02-29 | 1198.48 | 1198.48 | -1.22 | 795 | 906 | 800 | 459 | 18.06 | NULL | 266 | 0 | 424 | 249
2020-02-28 | 1198.36 | 1198.36 | -1.44 | 803 | 754 | 800 | 442 | 18.84 | NULL | 282 | 0 | 490 | 322
2020-02-27 | 1198.46 | 1198.51 | -1.39 | 800 | 715 | 800 | 434 | 17.69 | NULL | 297 | 0 | 446 | 305
2020-02-26 | 1198.61 | 1198.63 | -1.47 | 861 | 460 | 860 | 431 | 33.45 | NULL | 259 | 0 | 326 | 176
2020-02-25 | 1199.17 | 1199.17 | -1.23 | 834 | 330 | 860 | 439 | 34.54 | NULL | 252 | 0 | 294 | 142
2020-02-24 | 1199.83 | 1199.83 | -0.77 | 867 | 257 | 860 | 452 | 36.46 | NULL | 248 | 0 | 271 | 114
2020-02-23 | 1200.64 | 1200.64 | -0.06 | 888 | 263 | 890 | 463 | 33.8 | NULL | 248 | 0 | NULL | NULL
2020-02-22 | 1201.44 | 1201.44 | 0.64 | 889 | 350 | 890 | 473 | 32.5 | NULL | 252 | 0 | 361 | 116
2020-02-21 | 1202.13 | 1202.15 | 1.05 | 890 | 341 | 890 | 479 | 34.77 | NULL | 252 | 0 | 328 | 129
2020-02-20 | 1202.81 | 1202.78 | 1.28 | 892 | 416 | 890 | 490 | 34.95 | NULL | 252 | 0 | 327 | 160
2020-02-19 | 1203.4 | 1203.4 | 1.6 | 934 | 472 | 930 | 495 | 34.77 | NULL | 252 | 0 | 334 | 182
2020-02-18 | 1203.96 | 1204.01 | 2.01 | 933 | 354 | 930 | 501 | 28.47 | NULL | 252 | 0 | 287 | 106
2020-02-17 | 1204.64 | 1204.64 | 2.54 | 937 | 414 | 930 | 515 | 30.22 | NULL | 248 | 0 | 306 | 104
2020-02-16 | 1205.25 | 1205.28 | 2.88 | 980 | 336 | 970 | 526 | 28.61 | NULL | 252 | 0 | 335 | 114
2020-02-15 | 1205.98 | 1205.96 | 3.26 | 976 | 319 | 970 | 541 | 24.08 | NULL | 252 | 0 | 329 | 109
2020-02-14 | 1206.72 | 1206.72 | 3.62 | 975 | 376 | 970 | 575 | 29.26 | NULL | 248 | 0 | 315 | 117
2020-02-13 | 1207.38 | 1207.38 | 3.88 | 974 | 459 | 970 | 622 | 27.27 | 542.8 | 252 | 0 | 344 | 133
2020-02-12 | 1207.94 | 1207.94 | 4.14 | 973 | -448 | 970 | 701 | 18.91 | 542.8 | 252 | 0 | 363 | 141
2020-02-11 | 1209.5 | 1209.5 | 5.3 | 977 | 1013 | 970 | 900 | 26.3 | 542.8 | 255 | 0 | 398 | 164
2020-02-10 | 1209.5 | 1209.53 | 4.93 | 978 | 977 | 970 | 1102 | 26.3 | 542.7 | 255 | 0 | 432 | 161
2020-02-09 | 1209.53 | 1209.53 | 4.53 | 996 | 552 | 990 | 1047 | 24 | 542.7 | 255 | NULL | 467 | 185
2020-02-08 | 1209.99 | 1210.01 | 4.61 | 999 | 700 | 990 | 1023 | 25.46 | 542.7 | 255 | NULL | 580 | 237
2020-02-07 | 1210.31 | 1210.31 | 4.51 | 986 | 609 | 990 | 1008 | 24.13 | 542.7 | 259 | NULL | 434 | 174
2020-02-06 | 1210.7 | 1210.7 | 4.6 | 1090 | 460 | 990 | 1011 | 24.87 | NULL | NULL | NULL | 307 | NULL
2020-02-05 | 1211.24 | 1211.26 | 4.76 | 1025 | 357 | 1020 | 1027 | 27.54 | 542.6 | 252 | NULL | 309 | 74
2020-02-04 | 1211.9 | 1211.92 | 5.22 | 1025 | 373 | 1020 | 1054 | 28.42 | 542.7 | 252 | NULL | 319 | 74
2020-02-03 | 1212.53 | 1212.53 | 5.63 | 1020 | 412 | 1020 | 1100 | 34.99 | NULL | NULL | NULL | 328 | 76
2020-02-02 | 1213.12 | 1213.12 | 6.02 | 1061 | 418 | 1050 | 1125 | 28.38 | 542.8 | 252 | NULL | 338 | 80
2020-02-01 | 1213.73 | 1213.75 | 6.35 | 1055 | 403 | 1050 | 1138 | 28.38 | 542.8 | 252 | NULL | 359 | 85
2020-01-31 | 1214.34 | 1214.34 | 6.74 | 1058 | 424 | 1050 | 1150 | 28.38 | 542.8 | 252 | NULL | 395 | 90
2020-01-30 | 1214.92 | 1214.92 | 7.02 | 1052 | 410 | 1050 | 1172 | 12.02 | 542.8 | 252 | NULL | 377 | 94
2020-01-29 | 1215.51 | 1215.51 | 7.41 | 1067 | 502 | 1060 | 1209 | 28.45 | NULL | NULL | NULL | 367 | 112
2020-01-28 | 1216.02 | 1216 | 7.7 | 1066 | 636 | 1060 | 1240 | 27.67 | 543.5 | 255 | NULL | 410 | 141
2020-01-27 | 1216.41 | 1216.41 | 8.01 | 1063 | 687 | 1060 | 1248 | 29.32 | 525.1 | 259 | NULL | 454 | 179
2020-01-26 | 1216.76 | 1216.76 | 8.26 | 1086 | 736 | 1080 | 1256 | 26.85 | NULL | 259 | NULL | 490 | 208
2020-01-25 | 1217.07 | 1217.1 | 8.5 | 1081 | 584 | 1080 | 1251 | 29.16 | NULL | 248 | NULL | 426 | 123
2020-01-24 | 1217.51 | 1217.51 | 8.81 | 1080 | 549 | 1080 | 1253 | 28.56 | 543.8 | 248 | NULL | 449 | 117
2020-01-23 | 1217.98 | 1217.95 | 9.35 | 1083 | 547 | 1080 | 1255 | 29.39 | NULL | 252 | NULL | 445 | 132
2020-01-22 | 1218.44 | 1218.37 | 9.77 | 1095 | 673 | 1090 | 1259 | 30.44 | NULL | 252 | NULL | 496 | 164
2020-01-21 | 1218.81 | 1218.81 | 9.91 | 1134 | 559 | 1090 | 1258 | 30.19 | NULL | 255 | NULL | 455 | 189
2020-01-20 | 1219.3 | 1219.3 | 10.2 | 1096 | 667 | 1090 | 1264 | 27.52 | 542.5 | 259 | NULL | 541 | 213
2020-01-19 | 1219.66 | 1219.64 | 10.34 | 1044 | 764 | 1040 | 1264 | 26.91 | 542.5 | 266 | NULL | 636 | 234
2020-01-18 | 1219.91 | 1219.88 | 10.48 | 1046 | 734 | 1040 | 1262 | 37.72 | 542.5 | 270 | NULL | 553 | 200
2020-01-17 | 1220.18 | 1220.18 | 10.48 | 1059 | 806 | 1040 | 1263 | 29.52 | 542.5 | 263 | NULL | 673 | 159
2020-01-16 | 1220.4 | 1220.42 | 10.52 | 1046 | 1314 | 1040 | 1277 | 29.52 | 542.5 | 1300 | NULL | 1070 | 215
2020-01-15 | 1220.2 | 1220.22 | 10.12 | 984 | 1797 | 970 | 1282 | 29.28 | 543.2 | 1540 | NULL | 1360 | 272
2020-01-14 | 1219.57 | 1219.57 | 9.17 | 983 | 2822 | 970 | 1290 | 28.69 | 543.9 | 1540 | NULL | 1960 | 462
2020-01-13 | 1218.08 | 1218.1 | 7.4 | 1799 | 5519 | 970 | 1306 | 28.48 | 544.6 | 1540 | NULL | 3710 | 873
2020-01-12 | 1214.9 | 1214.9 | 4 | 1482 | 7078 | 1000 | 1182 | 26.39 | 544.5 | 1560 | NULL | 6240 | 878
2020-01-11 | 1209.67 | 1209.65 | -1.55 | 1820 | -656 | 1000 | 992 | 26.65 | 543.6 | 1540 | NULL | 811 | 228
2020-01-10 | 1212.09 | 1212.07 | 0.57 | 2638 | -166 | 1000 | 1081 | 28.28 | 544.4 | 1520 | NULL | -999999 | 169
2020-01-09 | 1214.68 | 1214.68 | 2.98 | 1755 | 222 | 1000 | 1211 | 29.16 | 545.4 | 955 | NULL | 462 | 138
2020-01-08 | 1216.05 | 1216.05 | 4.15 | 1797 | 710 | 980 | 1315 | 27.8 | 545.8 | 935 | NULL | 682 | 136
2020-01-07 | 1217 | 1217 | 5 | 1467 | 942 | 980 | 1317 | 27.55 | 546.3 | 940 | NULL | 810 | 177
2020-01-06 | 1217.46 | 1217.46 | 5.26 | 989 | 1156 | 980 | 1303 | 29.65 | 546.6 | 940 | NULL | 986 | 233
2020-01-05 | 1217.34 | 1217.29 | 4.99 | 990 | 1760 | 980 | 1286 | NULL | 546.9 | 950 | 0 | 1280 | 348
2020-01-04 | 1216.71 | 1216.73 | 4.43 | 992 | 1158 | 980 | 1248 | NULL | 546.8 | 347 | 0 | 928 | 246
2020-01-03 | 1216.59 | 1216.59 | 4.29 | 988 | 811 | 980 | 1233 | NULL | 546.6 | 303 | 0 | 590 | 140
2020-01-02 | 1216.76 | 1216.76 | 4.46 | 986 | 780 | 980 | 1229 | NULL | NULL | NULL | NULL | 644 | 180
2020-01-01 | 1216.95 | 1216.95 | 4.65 | 988 | 1068 | 0 | 1230 | NULL | NULL | NULL | NULL | 736 | 240